
NOTICE INVITING LIMITED TENDER FOR CIVIL REPAIRING, PLUMBING SANITATION, ELECTRICAL WORK OF BOKARO STEEL CITY BRANCH CHIEF MANAGER RESIDENCE , UNDER RANCHI ZONE  
 

	NAME OF THE PROJECT 
	CIVIL REPAIRING, PLUMBING SANITATION, ELECTRICAL WORK on Limited Tender Basis

	LOCATION BRANCH 
	UCO Bank, Bokaro Steel CIty Branch, Chief Manager’s Residence

	Estimated Cost
	Up to 5Lakh

	PROJECT COMPLETION PERIOD 
	10 DAYS 

	EARNEST MONEY 
	RS-5,000/- (Rupees Five Thousand Only) 
Earnest Money Must be submitted with Technical BID in the form of Pay Order/Demand Draft in favour of UCO BANK payable at RANCHI MAIN, 
{Not Applicable for registered MSME, Document for Registered MSME. To be furnished with part 1}

EMD of unsucessful bidders will be released (without any interest) against their request letter after acceptance of L.O.I by the identified bidders 

EMD of L-1 bidders will be released (without any interest) after submission of Performance Bank Guarantee or Security Money

However, if Successful tenderer withdraws their acceptance of our L.O.I before submission of Performance Bank Guarantee/Security Money, UCO Bank will have the right to forfeit the Earnest Money Deposit without making reference.

	LAST DATE & TIME OF TENDER SUBMISSION 
	21/08/2026 (UP TO 04:30 PM) 

	DATE & TIME OF TENDER OPENING 
	24/08/2026 (UP TO 05:00 PM) 

	PLACE OF TENDER SUBMISSION AND TENDER OPENING 
AND PRE BID MEETING 
	UCO BANK, ZONAL OFFICE, SAINIK MARKET CUM  RAJENDRA JAWAN BHAVAN, MAIN ROAD, RANCHI, JHARKHAND-834001.  

	
	Pre Bid Meeting may be held if required on 18.08.2026 at 4.00PM in UCO Bank, GAD, Zonal Office, Sainik Market where issues relating to the tender will be discussed and clarifications, if any, will be furnished. Bidders are requested to attend the pre-bid meeting at their cost. The decision taken on Pre Bid meeting regarding any changes in BOQ (if any) will be uploaded in Bank‟s website in form of corregendum which will be the part of tender document (If required)




General Conditions of the Tender:- 
 
UCO Bank invites sealed tenders on item rate basis from Bank’s Empanelled Contractors having sound technical and financial capacity for above said work of UCO Bank. 
Tender complete in all respects along with relevant documents, information & in Bank’s format duly Super scribing of Financial bid in sealed envelope should reach at the following address :- The Zonal Head, UCO Bank, Zonal Office,1st  Floor, Sainik Market cum Rajendra Jawan Bhavan, Main Road, Ranchi, Jharkhand-834001.  
 
GENERAL CONDITIONS OF THE TENDER:- 
1.     Sealed tenders are invited from Current empanelled Contractor/Agency of UCO Bank, Jharkhand Zone for the job CIVIL REPAIRING, PAINTING, PLUMBING-SANITATION, ELECTRICAL WORK at UCO BANK BOKARO STEEL CITY – CHIEF MANAGER RESIDENCE UNDER RANCHI ZONE. 
 
2.       Sealed tender - envelopes should be addressed to The Zonal Head, Zonal Office, UCO Bank, Ranchi & should be super scribed – “CIVIL REPAIRING, PAINTING, PLUMBING-SANITATION, ELECTRICAL WORK at UCO BANK BOKARO STEEL CITY – CHIEF MANAGER RESIDENCE” and should be sent to the office of the Zonal Head on or before 04.30 PM on 21/08/2026 in One bid system. Tender shall be opened on same day on 24/08/2026 at 5:00 PM. 
 
Sealed Envelope-1: Tender Documents along with acceptance & any other documents related to the firm.  
Sealed Envelope-2: Price Bid 
Sealed Envelope-3: Envelope-1 + Envelope-2
Documents to be submitted with Part 1 i.e Technical Bid:
 a) Original Demand Draft of Tender Cost and EMD (Not Applicable for MSME (Document 
             related MSME to be furnished b). Bidder’s Covering letter c). Application Format as stipulated 
             in RFP (Annexure-I) d). Documents in support of all eligibility criteria e. All pages of this RFP as 
             downloaded from the website or From Zonal Office at Sainik Market, should be duly signed by 
             the authorized representative of the company on all pages including all Annexures. f. Duly 
             filled Integrity Pact as per Bank’s format   
 
3.       Tender document may be obtained from following address: 

              UCO Bank, Zonal Office,1st  Floor, Sainik Market cum Rajendra Jawan Bhavan, Main Road, Ranchi, Jharkhand -834001 or may be downloaded from UCO BANK Website – Tender and Notices on www.uco.bank.in

 
4.       The Tenderer must obtain for himself on his own responsibility and at his own expenses all the information that may be necessary for the purpose of filling of this tender and before entering into a contract for execution of the same and must scrutinize the drawings and inspect the site of work and acquaint himself with all local conditions & matters pertaining thereto. 

 
5.       Conditional Tenders will be rejected. Canvassing in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable to rejection. 

 
6.       Each page of the tender documents is required to be signed by the person/duly authorized persons submitting the tender in token of his/their having acquainted himself/themselves with the general conditions etc. as laid down. 

 
7.       The tender forms must be filled in English and all entries must be made by hand and written in ink. If any of the documents is missing or unsigned, the tender may be considered invalid. All erasures and alterations made while filling the tender must be attested by the initials of the tenderer. Over writing of figures is not permitted. Failure to comply with either in any change in rates or conditions after submitting of the tender will not be entertained. 

 
8.       Bank is not concerned with any rise or fall in the prices of any materials or labour. The rates quoted shall include all costs, allowances, excise, duties, sales tax, central taxes, Royalties or any other taxes, or any other charges including any enhanced labour/material rates etc. which may be enacted from time to time by the State and/or the Central Government and shall remain valid till Virtual Completion of the work. Under no circumstances shall Bank be held responsible for compensation or loss to the contractor due to any increase in the cost of labour and/or material etc. 

 
9.       EMD-L1 Bidder/Tenderer shall deposit the Earnest Money amount  of the  in the form of Bank Demand Draft/Banker’s Cheque in favour of UCO BANK, and Payable at RANCHI along with the Tender document or MSME registration certificate. 

 
10.   Retention Money:- Retention Money shall be deducted from Progressive Running & Final Account Bills at 10% of the gross value of the work done and claimed in each Running Accountbill. 

 
11.   Within two days of the receipt of intimation from the Architect/ Employer of the acceptance of tender, the successful Tenderer shall be bound to implement the contract by signing agreement in accordance with the Terms & Conditions of the contract on the written acceptance by the employer and the person so tendering, whether such formal contract is subsequently entered into/or not. 

 
12.   The tender drawings, if any, have been included in the tender document for general guidance of the contractor for basic reference and evaluation at our office. Detailed working drawings, details of construction features etc. shall be supplied from time to time for execution of works, which shall be deemed to be with provision of contract and scope of work. 

 
13.   Tenders not giving the full particulars as mentioned above or as called for in the Special Conditions or not complying with any of the conditions set forth above or therein are liable to summary rejection. 

 
14.   The whole of the works included in the Contract shall be executed by the Contractor and the Contractor shall not directly or indirectly transfer, assign or underlet the Contract or any part/ share thereof or interest therein, nor shall he take a new partner, without the written consent of the Architect/Consultant/ Bank and no undertaking shall relieve the Contractor from the full and entire responsibility of the Contract or from active superintendence of the works during their progress. 

 
15.   No work shall be done on national holidays that may be notified by the Bank without the specific sanction in writing of the Bank/ Architect/Consultant/Bank 
 
16.   The Contractor shall be responsible for the safety of persons employed by him on the works. The Contractor shall comply all required Insurance and other legislative enactment application of their worker during execution of the construction work. 
 
17.   The Contractor shall take all precautions necessary and shall be responsible for the safety of the work and shall maintain all safe guards, including providing for guards, proper lights, signs, temporary passages, or other protection necessary for the purpose. All work shall be done at the Contractor’s risk, and if any loss or damage shall result from fire or from other cause, the Contractor shall promptly repair or replace such loss or damage free from all expenses to the Bank. The Contractor shall be responsible for any loss or damage to materials, tools or other articles used or held for use in connection with the work. The work shall be carried on and completed without damage to any work or property of the Bank or of others and without interference with the operation of existing machinery or equipment, if any. 
 
18.   From commencement to completion of works, the Contractor shall take full responsibility for the care of the work and for taking precautions to prevent loss or damage to the work to the maximum extent possible and shall be liable for any damage or loss that may arise to the works or any part thereof from any cause whatsoever including causes of fire, lightening, explosion, fire, earthquake, storm, hurricane, floods, inundation, subsidence, landslides, rock slides, riots (excluding civil war, rebellion, revolution and insurrection) or any latent defect or damage and shall at his own cost repair and make good the same so that at all times the work shall be in good order and condition and in conformity in every respect with the requirements of the Contract. 
 
19.   The contractor shall be responsible for all injury to persons, Neighbouring Properties, animals or things, and for all structural and decorative damage to property which may arise from the operation or neglect of himself or of any nominated employees, whether such injury damage arise from carelessness, accident or any other cause whatever in any way connected with the carrying out of this contract. This clause shall be held to include internal any damage to buildings, whether immediately adjacent or otherwise, and any damage to roads, streets, foot-paths, bridges or ways as well as all damage caused to the building and works forming the subject of this contract, by frost or other inclemency or whether. The Contractor shall indemnify the Bank from any such injury or damage to persons or property as aforesaid and also in any award of compensation or damages consequent upon such claims. 
 
20.   Bank has right to alter the nature of work and to add or omit any items of work without prejudice to this contract. 

 
21.   If the contractor abandons the work or fails to commence/complete the work in time, Bank has right to terminate the contract, claim compensation and contractor will abide with. In case of any dispute between Bank and the contractor, Arbitrator’s decisions appointed by the bank shall be final. 

 
22.   Tender document in which tender is submitted by a Tenderer shall become the property of the Employer and the Employer shall have no obligation to return the same to the Tenderer. 

 
23.   Contractor shall not directly or indirectly transfer, assign or underlet the Contract or any part/ share thereof or interest therein, nor shall he take a new partner, without the written consent of the Bank/Consultant. 

 
24.   The Contractor shall comply with and give all notices required under any law, rule, regulations, or byelaw of parliament, State Legislature or Local Authority relating to works 

 
25.   Bank do not bind themselves to accept the lowest or any tender and reserve to themselves the right to accept or reject any or all tenders, either in whole or in part, without assigning any reasons whatsoever for doing so. 
26.   For any clarification of drawings and technical details Tenderer may contact M/S Ram Laxman and Sky Associates, Address: Falt No 101- Beta Block, Srinath Residency, Marine Drive Kadma,Jamshedpur -831005, EMAIL – yasharch18@yahoo.com 
27.   Contractor has to submit Annexure-1 & Annexure-2 with final Bill. 

 
28.   Regarding location and inspection of the project site the Tenderers may contact in the Office of the of UCO BANK, Bokaro Steel City Branch, City Centre or UCO BANK, Zonal Office, Rajendra Jawan Bhavan, Sainik Market Complex, Ranchi.

29. Eligibility Criteria for Bid Participation:

 i) The bidder must be a Firm/Company/Govt Dept having valid license issued by the Local Body (Govt of West Bengal), authorized to issue such certificate. ii) The bidder must have a minimum Annual turnover of twice the estimated cost for the last three financial years ending 31.03.2023. Certificate of audited balance sheet for last three years must be enclosed. Vendor should be a profitable organization. iii) The bidder must be registered under GST. iv) The bidder should have PAN. v) The bidder must have experience in executing the similar work as under at Public Sector Banks/RBI/Govt Organizations/PSU/Reputed Private Organization: a. Three similar completed works each costing not less than the amount equal to 40% of the estimated cost within seven years ending last day of the month previous to the one in which applications are invited in execution of similar works. or b. Two similar completed works each costing not less than the amount equal to 50% of the estimated cost within seven years ending last day of the month previous to the one in which applications are invited in execution of similar works. or c. One similar completed work costing not less than the amount equal to 80% of the estimated cost within seven years ending last day of the month previous to the one in which applications are invited in execution of similar works . vi) The bidder should have registered office in Ranchi or Bokaro-Jharkhand


       30. Miscellaneous Items:
1) All the information relating to corrigendum if any, result of pre-bid meeting, selection of bidders to participate in Price Bid, name of L-1 bidders etc. will be uploaded in Bank‟s website which may please be noted. Separate news paper advertisement will not published 2) Vendor‟s authorized representatives will be allowed to be present during opening of bids at their cost. 3) In case date of pre-bid meeting, last date of receipt or opening of tender are declared as holiday, the respective date shall be treated as deferred and will be re-scheduled to next working day correspondingly. 4) It may be noted that the requirement given in this RFP is indicative only . 5) Tenders/offers through email will not be accepted. 5) Bank reserves the right to accept or cancel any or all tenders without assigning any reason. 6) All tenders in which any of the prescribed conditions are not fulfilled or are incomplete in any respect or there is any correction in Price Bid is not duly signed and dated by the bidder are liable to be rejected.

       31. Reasons for Rejection of BID :

The bid is liable to be rejected summarily if: i) Tenders are not received in two parts in separate envelopes. ii) It is not in conformity with the instruction mentioned in this tender document. iii) If it is not accompanied by requisite tender cost and EMD as stated above. iv) It is received after expiry of the due date and /or time. v) It is evasive and contains incorrect information. vi) If there is canvassing of any kind. vii) It is submitted anywhere other than the tender box or to the addressee. viii) If any indication of price/rate/charges is being found in Part-I of the tender. ix) If the tender/R.F.P is conditional. x) If there is any conflict of Interest between Bank and Tendorer at any stage.



Note:- Bank reserves the right to reject any or all the RFPs received in response to this RFP document at any state without assigning any reason whatsoever and without being liable for any loss/injury that bidder might suffer due to such reason. The decision of the Bank shall be final, conclusive and binding on all the parties directly or indirectly connected with the bidding process.  
 
 
Zonal Head 
Zonal Office, Ranchi 
Date:07.08.2026
Encl:- BOQ and Application, Tender Form, Integrity Pact  


































APPLICATION FORMAT


1. Name of Applicant : 


2. Registered Address of the Applicant with Telephone No., FAX & E-mail ID: 





3.  Address and contact details of local Office: 





4. Status of the Applicant(whether Proprietary/Private Ltd./Public Limited/ Co-operative Society/Public sector/ Autonomous body/Govt. Department): (Enclose copies of relevant documents) 



5.  Whether the applicant have necessary license(s) / permit / sanction from the respective authority (ies) in respect of civil work in ……….. (Enclose copies of relevant documents) 



6.  Whether registered for GST. If so, please mention the GST registration number and furnish a copy of such registration certificate: 


7.  Details of Permanent Account Number: (Enclose photocopy of PAN Card) 


8. Detailed Particulars of the work done : Name of organization Value of work (Enclose copies of relevant work orders )
a)

b)

c)

d)
 
9.  Detailed Particulars for having a minimum annual turnover and audited balance sheet for the last three financial years ending 31.03.2025. Yes/No 

(Enclose copies of Audited Profit & Loss A/c and Balance Sheet for 31.03.2023, 31.03.2024 and 31.03.2025.) 

Declaration:

The particulars furnished in the application are true to the best of my/our knowledge & belief. I/we understand that if any of the particulars is found incorrect, even at a later stage, my/our contract is liable to be cancelled by the Bank. 



Signature of Applicant 
Seal / Stamp
Date: 

































FORM OF TENDER


 To 
The Zonal Manager,
UCO Bank 
Zonal Office Ranchi,


 Sir, 

1. We have carefully examined all the contents incorporated in the various parts of this Tender Document no. …………………….. dated ………….. and taken note of all the terms &conditions stated in the Tender Document in its various parts. 

2. We hereby agree to abide by and fulfil all other Terms and Conditions of the Tender and in default thereof, to forfeit and pay to you or your successors, or Authorised Nominees such sums of money as are stipulated in the conditions contained in the tender together with the written acceptance of the work order. 

3. We also agree to keep the Performance Bank Gaurantee as per terms of the tender. However, as per terms & conditions of tender document you shall have the right to forfeit the Performance Bank Gaurantee without reference to us.


 For and on behalf of ____________________
 (With seal) Signature _________________ 
Name ____________________ 
Designation _______________ 
DULY AUTHORIZED SIGNATORY 

__________ day of ________ 2026













	 
	 BOQ/ ESTIMATE FOR  CIVIL REPAIRAING, PAINTING , PLUMBING & SANITATION ELECTRICAL WORK IN UCO BANK STAFF QUARTER BOKARO SECTOR -5
	 

	 
	 
	 
	 
	 

	 
	Section l - Civil repairing work (CM Residence- Area 1655Sq Ft.)
	 
	 
	 
	 

	SL No
	             Discription of work
	Unit 
	Quantity
	Rate 
	Amount

	1
	Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after. The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge. The elevational area of the scaffolding shall be measured for payment purpose. The payment will be made once irrespective of duration of scaffolding.
	Sqm
	110.00
	 
	 

	2
	12 mm cement plaster of mix :
	 
	 
	 
	 

	 
	1:6 (1 cement: 6 coarse sand)
	Sqm
	10.00
	 
	 

	3
	Providing and laying in position ready mixed or site batched design mix cement concrete for plain cement concrete work; using coarse aggregate and fine aggregate derived from natural sources and using recycled concrete aggregate (RCA) as coarse aggregate and fine aggregate within the permissible utilization, Portland Pozzolana / Ordinary Portland/Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering and finishing as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the minimum specified cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.
	 
	 
	 
	 

	 
	Concrete of M15 grade with minimum cement content of 240 kg /cum. (Note: The permissible utilization of Recycled Concrete Aggregate (RCA) as coarse aggregate and fine aggregate is 25% each).
	Cum
	1.70
	 
	 

	4
	Removing white or colour wash by scrapping sand paper  and preparing the surface smooth including necessary repair scratches etc. complete
	Sqm
	779.24
	 
	 

	5
	Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content.
	 
	 
	 
	 

	 
	With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre
	Sqm
	308.00
	 
	 

	6
	Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
	 
	 
	 
	 

	 
	Old work (one or more coats applied @ 0.83 ltr/10 sqm).
	Sqm
	308.00
	 
	 

	7
	Painting (one or more coats) on rain water, soil waste and vent pipes and fittings with black anticorrosive bitumastic paint of approved brand and manufacture on old work :
	 
	 
	 
	 

	 
	100 mm diameter pipes
	M
	34.00
	 
	 

	8
	Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete.
	Sqm
	471.24
	 
	 

	9
	Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour.
	 
	 
	 
	 

	 
	One coat
	Sqm
	471.24
	 
	 

	10
	Labour for scrapping old paint with paint remover as required on  steel surface includrng cost of all labour and materials and scaffolding all complete as per building specification and direciion of Architect/Bank.
	Sqm
	51.00
	 
	 

	11
	Applying priming coat:
	 
	 
	 
	 

	 
	With ready mixed red oxide zinc chromate primer of approved brand and manufacture on steel galvanised iron/ steel works
	Sqm
	51.00
	 
	 

	12
	Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content.
	 
	 
	 
	 

	 
	With ready mixed pink or grey primer on wood work (hard and soft wood) having VOC content less than 50 grams/ litre
	Sqm
	70.00
	 
	 

	13
	Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
	 
	 
	 
	 

	 
	One or more coats on old work
	Sqm
	70.00
	 
	 

	14
	Renewing glass panes, with putty and nails wherever necessary including racking out the old putty:
	 
	 
	 
	 

	 
	Float glass panes of nominal thickness 5 mm (weight not less than 12.5kg/sqm)
	Sqm
	2.00
	 
	 

	15
	Grading roof for water proofing treatment with
	 
	 
	 
	 

	 
	Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size)
	Cum
	8.34
	 
	 

	 
	Total Section l- 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Section ll-Plumbing & Sanitation work  (CM Residence)
	 
	 
	 
	 

	SL No
	             Discription of work
	Unit 
	Quantity
	 
	 

	1
	Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:
	 
	 
	 
	 

	a
	White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap.
	Each
	1.00
	 
	 

	b
	White Vitreous China Flat back wash basin size 450x 300 mm with single 15 mm C.P. brass pillar tap
	Each
	2.00
	 
	 

	2
	Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito
proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required :
	 
	 
	 
	 

	 
	W.C. pan with ISI marked black solid plastic seat and lid
	Each
	2.00
	 
	 

	3
	Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
	 
	 
	 
	 

	 
	32 mm dia
	Each
	3.00
	 
	 

	4
	Providing and fixing 100 mm sand cast Iron grating for gully trap.
	Each
	3.00
	 
	 

	5
	Demolish exising Cast iron pipe & Supply & fixing PVC Waist water pipe /Soil water pipe /Rain water pipe with PVC e bent , Clamp & Joint required as per site and connect it up to neareast existing drainage line.Make-Suprem/Asribad
	 
	 
	 
	 

	 
	a)100 MM Dia 2mm Th PVC Waist water & Solil water pipe .4Kg/Pice.
	RM
	23.00
	 
	 

	 
	b)75 mm Dia 2mm Th  PVC Rain water pipe.
	RM
	20.00
	 
	 

	6
	Supply & Connecting 25mm Dia PVC water supply pipe for connection flushing cistern & Wash basing with bent as per required  from existing water supply point. 
	Lump
	Limp
	 
	 

	 
	Total Section ll--
	 
	 
	 
	 

	 
	Total (Section l+ll)
	 
	 
	 
	 

	 
	Add 5% Contigency-
	 
	 
	 
	 

	 
	Grand total for Civil & Plumbing work (CM Residence):-
Three lacs , Eighty thousand , Seven  hundred thirty seven rupees & sixty three paisa only
	 
	 

	
	
	
	
	
	

	 
	 REVISED  ESTIMATE OF ELECTRICAL  WORK IN UCO BANK
  
	 
	 
	 
	 

	 
	Section l (CM Residence) Discription
	Unit
	Quantity
	 
	 

	1.14
	Wiring  for  circuit/  submain   wiring  along with  earth  wire  with  the following  sizes  of  FRLS  PVC  insulated  copper  conductor,  single core cable in surface/ recessed medium class PVC conduit as required.
	 
	 
	 
	 

	1.14.6
	2x16 Sq.mm+ 1x6Sq.mm earth wire
	RM
	8.00
	 
	 

	1.14.2
	2x2.5 Sq.mm+ 2.5Sq.mm earth wire
	RM
	70.00
	 
	 

	1.12
	 Wiring  for light/  power  plug  with  2X4 sq.  mm  FRLS  PVC  insulated copper  conductor  single  core  cable  in  surface/  recessed  medium class PVC  conduit  along with  1 No. 4 sq.  mm  FRLS  PVC insulated copper conductor single core cable for loop earthing as required.
	RM
	118.00
	 
	 

	1.10
	Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in  surface  /  recessed  medium  class  PVC  conduit,  with  modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor  single core cable etc.
	 
	 
	 
	 

	1.10.1
	Group A
	Each
	12.00
	 
	 

	1.10.2
	Group B
	Each
	6.00
	 
	 

	1.10.3
	Group C
	Each
	11.00
	 
	 

	1.27
	 Supplying  and  fixing  following  size/   modules,  GI  box  alongwith modular  base & cover  plate for modular  switches  in recess  etc. as
	 
	 
	 
	 

	1.27.2
	 3 Module (100mmX75mm)
	Each
	8.00
	 
	 

	1.24
	Supplying and fixing following modular switch/ socket on the existing modular  plate  &  switch  box  including
modular plate etc. as required.
	 
	 
	 
	 

	1.24.3
	15/16 A switch
	Each
	8.00
	 
	 

	1.24.5
	6 pin 15/16 A socket outlet
	Each
	8.00
	 
	 

	1.25
	 Supplying   and   fixing   two  module   stepped   type  electronic   fan regulator   on   the   existing   modular   plate   switch   box   including  connections but excludig modular plate etc. as required.
	Each
	6
	 
	 

	1.33
	Supplying and fixing 3 pin, 5 A ceiling  rose on the existing  junction box/ wooden block including connections etc. as required
	Each
	16
	 
	 

	1.34
	Supplying and fixing brass batten/ angle holder including connection etc. as required.  
	Each
	13
	 
	 

	 
	Cutting  the existing  wall for Concealed  circuit /Point wiring/Modular switch boar as required  and making surface plane with 1:6 Cement mortar.
	RM
	200.00
	 
	 

	2.3
	Supplying  and  fixing  following  way,  single  pole  and  neutral,  sheet steel,  MCB  distribution  board,  240 V,  on surface/  recess,  complete with  tinned  copper  bus  bar,  neutral  bus  bar,  earth  bar,  din  bar, interconnections, powder painted including earthing etc. as required.(But without MCB/RCCB/lsolator)
	 
	 
	 
	 

	2.3.4
	    16 way, Double door
	Each
	1
	 
	 

	2.10
	Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in  the  existing  MCB  DB  complete with connection , Testing & Commissioning as required
	 
	 
	 
	 

	2.10.3
	Double  pole
	 
	 
	 
	 

	2.12.2
	63A DP MCB
	Each
	1
	 
	 

	2.10.1
	Single  pole
	 
	 
	 
	 

	 
	20A SP MCB
	Each
	8
	 
	 

	 
	10A SP MCB
	Each
	3
	 
	 

	 
	Total Section l-
	 
	 




	SL No
	SUMMARY OF BOQ
	 
	 
	 
	AMOUNT

	1
	CM Residence - Civil Work, Painting
	 
	 
	 
	

	2
	CM Residence - Plumbing, Sanitation
	 
	 
	 
	

	3
	CM Residence - Electricals
	 
	 
	 
	

	4
	Total CM Residence
	 
	 
	 
	

	6
	Add 5% contigency -
	

	7
	Grand Total- 
	 
	

	 
	Note:- G.S.T applicable as per rules
















Integrity Pact
(To be executed on non-judicial stamp paper of requisite value)


 UCO Bank, a body corporate, constituted under the Banking Companies (Acquisition & Transfer of Undertakings) Act, 1970 as amended from time to time having its Head Office at No.10, BTM Sarani, Kolkata-700001 hereinafter referred to as “Bank” (which expression shall unless excluded by or repugnant to the subject or context be deemed to mean and include its assigns, administrators and successors) of the “ONE PART And ………………………. Hereinafter referred to as “The Bidder/Contractor”. Preamble The Bank intends to award, under laid down organizational procedures, contract/s for……………………………….The Bank values full compliance with all relevant laws of the land, rules, regulations, economic use of resources and of fairness/transparency in its relation with its Bidder (s) and / or contractor (s). In order to achieve these goals, the Bank will appoint an independent External Monitor (IEM), who will monitor the tender process and the execution of the contract for compliance with the principles mentioned above. 

Section 1 – Commitments of the Bank. 
1.The Bank commits itself to take all measures necessary to prevent corruption and to observe the following principles:- a. No employee of the Bank, personally or through family members, will in connection with the tender for, or the execution of a contract, demand, take a promise for or accept, for self or third person, any material or immaterial benefit which the person is not legally entitled to. b. The Bank will during the tender process treat all Bidder(s) with equity and reason. The Bank will in particular, before and during the tender process, provide to all Bidders (s) the same information and will not provide to any Bidders (s) confidential/additional information through which the Bidder(s) could obtain an advantage in relation to the process or the contract execution. c. The Bank will exclude from the process all known prejudiced persons. 2. If the Bank obtains information on the conduct of any of its employees which is criminal offence under the IPC/PC Act, or it/if there be a substantive suspicion in this regard, the Bank will inform the Chief Vigilance Office and in addition can initiate disciplinary actions. 

Sections 2 – Commitments of the Bidder (s)/Contractor(s) 
1.The bidder(s) /contractor(s) commit himself to take all measures necessary to prevent corruption. He commits himself to observe the following principles during his participation in the tender process and during the contract execution. a. The Bidder(s) contractor(s) will not directly or through any other persons of firm, offer promise or give to any of the Bank‟s employees involved in the tender process of the execution of the contract or to any third person any material or other benefit which he/she is not legally entitled to in order to obtain in exchange any advantage or during the execution of the contract. b. The Bidder(s) /Contractor(s) will not enter with other Bidders into any undisclosed agreement of understanding, whether formal or informal. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non submission of bids or any other actions to restrict competitiveness or to introduce cartelization in the bidding process . c. The Bidder(s)/Contractor(s) will not commit any offence under the relevant IPC/PC Act, further the Bidder(s) / contractors will not use improperly for purposes of competition or personal gain, or pass on to others, any information or document provided by the Bank as part of the business relationship, regarding plans, technical proposals and business details, including information contained or transmitted electronically. d. The Bidder(s) / Contractor (s) of foreign origin shall disclose the name and address of the Agent/representatives in India, if any. Similarly the bidder(s)/contractor(s) of Indian Nationality shall furnish the name and address of the foreign Banks, if any. Further details as mentioned in the “Guidelines on Indian Agents of Foreign Suppliers” shall be disclosed by the Bidder(s)/Contractor(s). Further, as mentioned in the Guidelines all the payments made to the Indian agent/representative have to be in Indian Rupees only. e.The Bidder(s)/Contractor(s) will when presenting his bid, disclose any and all payments he has made is committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the contract. 2. The Bidder (s) /Contractor(s) will not instigate third persons to commit offences outlined above or be an accessory to such offences. 

Section 3: Disqualification from tender process and exclusion from future contracts If the Bidder(s)/Contractor(s), before award or during execution has committed transgression through a violation of Section 2, above or in any other form such as to put his reliability or credibility in question, the Bank is entitled to disqualify the Bidder (s)/Contractor(s) from the tender process or take action as per the procedure mentioned in the “Guidelines on Banning of business dealings”. Copy of the “Guidelines on Banning of business dealings” is annexed and marked as Annex-B”. 

Section 4 : Compensation for Damages 1. If the Bank has disqualified the Bidder(s) from the tender process prior to the award according to Section 3, the Bank is entitled to demand and recover the damages equivalent to Earnest Money Deposit/Bid Security. 2. If the Bank has terminated the contract according to Section 3, or if the Bank is entitled to terminate the contract according to Section 3, the Bank shall be entitled to demand and recover from the Contractor liquidated damages of the Contract value of the amount equivalent to Performance Bank Guarantee. 

Section 5 : Previous Transgression 1. The Bidder declares that no previous transgressions occurred in the last three years with any other company in any country conforming to the anti corruption approach or with any other public sector enterprise in India that could justify his exclusion from the tender process. 2. If the bidder makes incorrect statement on this subject he can be disqualified from the tender process and action can be taken as per the procedure mentioned in “Guidelines on Banning of business dealings”. 

Section 6 : Equal treatment of all Bidders/Contractors/subcontractors. 1. The Bidder (s)/Contractor(s) undertake(s) to demand from all subcontractors a commitment in conformity with this Integrity Pact, and to submit it to the Bank before signing the contract. 2. The Bank will enter into agreements with identical conditions as this one with all bidders, contractors and subcontractors. 3. The Bank will disqualify from the tender process all bidders who do not sign this Pact or violate its provisions. 

Section 7 : Criminal charges against violated Bidder(s)/Contractor(s)/Sub contractor(s). If the Bank obtains knowledge of conduct of a Bidder, Contractor or subcontractor, or of an employee or a representative or an associate of a Bidder, Contractor or Subcontractor which constitutes corruption, or if the Bank has substantive suspicion in this regard, the Bank will inform the same to the Chief Vigilance Officer. 

Section 8 : Independent External Monitor/Monitors 1. The Bank appoints competent and credible Independent External Monitor for this Pact. The task of the Monitor is to review independently and objectively, whether and to what extent the parties comply with the obligations under this agreement. 2. The Monitor is not subject to instructions by the representatives of the parties and performs his functions neutrally and independently. He reports to the Managing Director & CEO, UCO Bank. 3. The Bidder(s)/Contractor (S) accepts that the Monitor has the right to access without restriction to all project documentation of the Bank including that provided by the Contractor. The Contractor will also grant the Monitor, upon his request and demonstration of a valid interest, unrestricted and unconditional access to his project documentation. The same is applicable to subcontractors. The Monitor is under contractual obligation to treat the information and documents of the Bidder (s)/Contractor(s)/Subcontractor(s) with confidentiality. 4. The Bank will provide to the Monitor sufficient information about all meetings among the parties related to the Project provided such meetings could have an impact on the contractual relations between the Bank and the Contractor. The parties offer to the Monitor the option to participate in such meetings. 5. As soon as the Monitor notices, or believes to notice, a violation of this agreement he will so inform the Management of the Bank and request the Management to discontinue or take corrective action, or to take other relevant action. The monitor can in this regard submit non-binding recommendations. Beyond this, the Monitor has no right to demand from the parties that they act, in a specific manner refrain from action or tolerate action. 6. The Monitor will submit a written report to the Managing Director & CEO, UCO Bank within 8 to 10 weeks from the date of reference or intimation to him by the Bank and should be occasion arise, submit proposals for correction of problematic situations. 7. Monitor shall be entitled to compensation on the same terms as being extended to / provided to Independent Directors on the UCO Bank. 8. If the Monitor has reported to the Managing Director & CEO, UCO Bank a substantiated suspicion of an offence under relevant IPC/PC Act, and the Managing Director & CEO, UCO Bank has not, within the reasonable time taken visible action to proceed against such offence or reported it to the Chief Vigilance Officer, the Monitor may also transmit this information directly to the Central Vigilance Commissioner. 9. The word “Monitor” would include both singular and plural. 

Section 9 – Pact Duration : This pact begins when both parties have legally signed it, and expires for the contractor is 10 months after the last payment under the contract. If any claim is made lodged during this time, the same shall be binding and continue to be valid despite the lapse of this pact as specified above, unless it is discharged / determined by Chairman and Managing Director, UCO Bank. 

Section 10 – Other provisions  : This agreement is subject to Indian Law, Place of performance and jurisdiction is the Registered Branch Office of the Bank i.e. Ranchi.  Changes and supplements as well as termination notices need to be made in writing.  If the Contractor is partnership or a consortium, this agreement must be signed by all partners or consortium members.  Should one or several provisions of this agreement turn out to be invalid, the remainder of this agreement remains valid. In this case, the parties will strive to come to an agreement to their original intentions.

 ___________________________ 
(For & on behalf of the Bank)

(Office Seal) 
Place ____________

Date____________

___________________________ 
 (For & On behalf of Bidder/Contractor) 

(Office Seal) 
Place____________

Date____________


Witness : (Name & Address)

 Witness : (Name & Address)

