## OEM Criteria
OEM Criteria
1. Made in India products are preferred - BIS & UL mandatory
2. OEM should have a registered office in India and local service center in India
3. Product quoted should be UL, CE, FCC, BIS certified and product wise certificate to be provided by OEM and FIPS certified, Cyber essential and GDPR document to be provided.
4. Organization needs to be ISO 9001, 27001, 14001, 45001 certified for environment and cyber security reasons.
5. OEM needs to have local service team with local branch and service center so that bank can call anytime OEM for audit - OEM service center details required.
8. Product quoted for camera, recorder, Cable, monitor should be of same Make for seamless integration and also should be able to integrate existing hardware with the bank.
9. OEM to provide local audit support anytime in region without any additional cost.

## XVR-4,8,16ch
eXtended Video Recorder(XVR)-4, 8, 16, 32ch
This product shall be manufactured by a firm whose quality system is in compliance with the ISO-9001
Products quoted should be of international repute & from any of Top global OEM as per latest IHS report .
All systems and components must be in compliance with FCC/CE/UL/RoHS requirements.
The Offered Cameras, Recorder, VMS, Analytic shall be from the same OEM to ensure seamless integration & better support. However keeping in mind the future scalability, the offered VMS & Cameras should be ONVIF S compliant.
S.N | Parameter | Specification | Compliances
1 | Compatibility | Analog cameras (mandatory), AHD, CVI, TVI (minimum one out of the three other than itself)
2 | Main Processor / Operating System | Embedded
3 | System Resources | Pentaplex function: recording, playback, live view, backup, remote access over IP network
4 | Recorder Control Options | Video Front panel, Virtual Keyboard (Both RS485 and IP), IP Network, USB mouse
5 | Analog / HD Camera Input | Minimum 4/8/16 Video channel; BNC
6 | IP Camera Input | 04 Ch. HD + 2 IP Ch. (Total 6 IP Channel each upto 6 MP) 08 Ch. HD + 4 IP Ch. (Total 12 IP Channel each upto 6 MP) 16 Ch. HD + 8 IP Ch. (Total 24 IP Channel each upto 6 MP) 32 Ch. HD + 16 IP Ch. (Total 48 IP Channel each upto 6 MP)
7 | Recorder Video Output | Minimum 1 VGA, 1 HDMI
8 | Recorder Audio Input | Minimum 1 audio channel, BNC or RCA
9 | Recorder Audio Output | Minimum 1 audio channel, BNC or RCA
10 | Recorder Bidirectional Talk | 1 channel RCA
11 | Display Screen Mode | 1,4,8,9,16,32 ALL (Window) as per recorder channels
12 | Camera Scheduling | Supported (Continuous/Motion/Event based)
13 | On Screen Display | Date, Time , Camera Title, Video loss alert, motion detection alert, recording, camera lock alert, camera tampering, camera masking.
14 | Video/Audio Compression | H.265/H.264/G.711 respectively (One Channel) or higher
15 | Image Resolution | 4 MP/1080p/720p/VGA/WD1/4CIF/CIF or better with selectable fps.
16 | Encoding Stream | 4 MP lite/3 MP@15 fps; 1080p lite/720p lite/VGA/WD1/4CIF/CIF@25 fps (P)/30 fps (N) in all channels with selectable fps
17 | Video Encoding Bit Rate | Analog video: 32~2048Kb/s or higher, IP video: 32~4096Kb/s or higher
18 | Image Quality | 6 levels (VBR/ CBR)
19 | Recording Mode | Manual, Schedule, Regular, Motion detection, Camera blank, Video loss. Stop Recording
20 | Recording Priority | Manual; Alarm; Motion Detection & Regular
21 | Recording Interval | Prerecord: 1sec to 30 sec., Post-record: 10sec ~ 5 minutes
22 | Alarm Input | Supported Minimum 4
23 | Relay Output | Supported Maximum 1
24 | Water Marking | Supported
25 | Playback Channel | Synchronous Playback 1,2,4 (for 4ch recorder); 1,2,4,8 (for 8ch recorder); 1,2,4,16 (for 16ch recorder)
26 | Recorded Data Search Mode | Video Time & Date, Exact search (with Date, Hour, Minute / Second accuracy), Motion Detection, Alarm
27 | Video Intelligence | Deep learning-based motion detection, perimeter protection (line crossing and intrusion detection),OR facial recognition. [Face picture comparison, face picture search (1-ch face picture comparison alarm for HD analog camera)]. Face comparision/recognition should support in either 4ch/8ch/16ch recorder
28 | Playback Options | Play, Digital zoom (any size), Pause, Rewind, Slow motion, shift to Next file, shift to Previous file, one click Previous camera, one click Next camera, Full screen mode, Replay, Backup selection, Fast forward, Shuffling
29 | Operation Over Network | Monitor, Playback, File download, Log information, System setting,
30 | Hard Drive Storage Option | For 4 Channel – 2 SATA , 8 Channel – 4 SATA , 16 Channel – 8 SATA. 32 Channel - 8 SATA Should support up to 10 TB per SATA port
31 | USB Interface | Minimum 2 Ports
32 | Power Supply | 12 VDC /AC 100~240 V, 50/60 Hz
33 | Working Environment | All Indoor weather conditions
34 | Duplex type | Recorder should be able to playback recoded footage without having to stop recording
35 | Certificate | UL/BIS,CE,FCC
36 | HDD quality | Surveillance Hard Disk: Sea Gate/Western Digital/Sky Hawk( 2 TB / 4 TB/6 TB/8TB)

## ATM DVR
4CH ATM recorder
This product shall be manufactured by a firm whose quality system is in compliance with the ISO-9001
Products quoted should be of international repute & from any of Top global OEM as per latest IHS report .
All systems and components must be in compliance with FCC/CE/UL/RoHS requirements.
The Offered Cameras, Recorder, VMS, Analytic shall be from the same OEM to ensure seamless integration & better support. However keeping in mind the future scalability, the offered VMS & Cameras should be ONVIF S compliant.
4CH ATM recorder ( with inbuild Screen )
Specifications |  |  | Compliance Yes/No
1 | Operating system | Embedded RTOS / Linux / Windows
2
3 | Analog / HD Camera Input | 4 Channel recorder
4 | Video surveillance Hard disk | Surveillance Grade recorder HDD
5 | HDD Slots | 2 SATA (upto 20 TB per slot )
6 | Video Input | 4 Ch (Only for ATMs)
7 | Display speed | 100 fps for 4 channel (Only for ATMs) (25 fps for each channel)
8 | Compression method | H.265 Pro+/H.265 Pro/H.265/H.264+/H.264
9 | Display split screen (Screen mode) | 1,4 for 4 channel
10 | Encoding Resolution | 4 MP lite@15 fps; 1080p lite/720p lite/VGA/WD1/4CIF/CIF@25 fps (P)/30 fps (N)
11 | Audio Input | 1-ch, RCA (2.0 Vp-p, 1 KΩ)
12 | Audio Output | 1-ch, RCA (Linear, 1 KΩ)
13 | Synchronous Playback | 4 Ch
14 | IP Camera Input | 2 Channel IP Camera in addition to HD channels; up to 6ch at the expense of HD channels
15 | Independent Recording setting Per channel | Continuous, motion detection sensor activated, flexible day /time daily Schedule.
16 | Monitoring | 4 channel real time Monitoring. Single mode & 2x2 Mode Sequential switching mode Switching out monitoring
17 | Searching / Playback | Date & Time based 1 channel searching and all channel simultaneous searching Replay up to 25 fps in each channel
18 | Video Intelligence | Should support Motion detection, Intrusion Detection
19 | Smart ATM Features | 1-ch human face mode and 1-ch panel mode for analog channel Panel Mode : Human entrance, operation timeout, sticking scrip, and installing scanner Human Face Mode : Normal human face, abnormal human face, multiple human faces, wearing sunglasses, and using mobile phone
20 | Back Up facility | In built & provision for External portable HDD/Pen drive/through USB port. Player software to play back recorded video should automatically be loaded on to the external back up media so that it can be played back on any PC directly.
21 | User Interface | On screen graphic User Interface(GUI)
22 | System recovery after power failure | Auto Re booting
23 | Operation for setting and searching | User friendly
24 | Multiple functionality | Should support pentaflex functions to perform all recorder functions at the same time, i.e., record, live view/playback, network (view remotely), administrative and backup. Client software for remote view shall be provided free of any charge if required.
25 | Compatibility | Should support all types of cameras
26 | Certifications | UL/BIS,CE,FCC
27 | System operation | Micro processor based Password operated

## 2MP HD Fixed Dome
HD Fixed Dome
This product shall be manufactured by a firm whose quality system is in compliance with the ISO-9001
Products quoted should be of international repute & from any of Top global OEM as per latest IHS report .
All systems and components must be in compliance with FCC/CE/UL/RoHS requirements.
The Offered Cameras, Recorder, VMS, Analytic shall be from the same OEM to ensure seamless integration & better support. However keeping in mind the future scalability, the offered VMS & Cameras should be ONVIF S compliant.
S.No | Parameters | Specification | Compliance Yes/No
1 | HD Technology | AHD, CVI, TVI, CVBS
2 | Image Sensor | 2MP CMOS Sensor
3 | Signal System | PAL
4 | Effective Pixels | 1920(H)x1080(V)) or better
5 | Mini. Illumination | Color: 0.0005 Lux @ (F1.0, AGC ON), 0 Lux with white light
6 | Video Output | 1080P or higher @ 25 fps
7 | Display Resolution | 1080P or higher @ 25 fps
8 | Recording Resolution | 1080P or higher @ 25 fps
9 | Frame Rate | 50Hz:1080p or higher @25fps
10 | SNR | ≥52dB(AGC OFF)
11 | Sync System | Internal
12 | White Balance | Automatic
13 | Day & Night | 24/7 Color Imaging
14 | Shutter | Automatic
15 | Slow Shutter | 16X
16 | Auto Gain Control (AGC) | Automatic
17 | Noise Reduction (NR) | 3DNR
18 | White Light | Up to 20 mtr
19 | Functions | Brightness, Sharpness, 3D DNR, Mirror, Smart light
20 | Lens | 3.6mm, 2.8mm
21 | Field of view | 2.8 mm: 119° x 101° x 54° (diagonal x horizontal x vertical) 3.6 mm: 100° x 84° x 45° (diagonal x horizontal x vertical)
22 | WDR | 130 db WDR ( DWDR not acceptable)
23 | Input Voltage | DC12V±10%
24 | IP Rating | IP67
25 | Operation Temp | -30o to +50o C
26 | Storage Humidity | 90% or less
27 | Certification | UL/BIS,CE,FCC
28 | Image Enhancement | BLC, HLC Supported
29 | Built-in Microphone | Yes
30 | Material | Metal

## 2MP HD Fixed Bullet
HD Fixed Bullet
This product shall be manufactured by a firm whose quality system is in compliance with the ISO-9001
Products quoted should be of international repute & from any of Top global OEM as per latest IHS report .
All systems and components must be in compliance with FCC/CE/UL/RoHS requirements.
The Offered Cameras, Recorder, VMS, Analytic shall be from the same OEM to ensure seamless integration & better support. However keeping in mind the future scalability, the offered VMS & Cameras should be ONVIF S compliant.
S.No | Parameters | Specification | Compliance Yes/No
1 | HD Technology | AHD, CVI, TVI, CVBS
2 | Image Sensor | 2MP CMOS Sensor
3 | Signal System | PAL
4 | Effective Pixels | 1920(H)x1080(V)) or better
5 | Mini. Illumination | Color: 0.0005 Lux @ (F1.0, AGC ON), 0 Lux with white light
6 | Video Output | 1080P or higher @ 25 fps
7 | Display Resolution | 1080P or higher @ 25 fps
8 | Recording Resolution | 1080P or higher @ 25 fps
9 | Frame Rate | 50Hz:1080p or higher @25fps
10 | SNR | ≥52dB(AGC OFF)
11 | Sync System | Internal
12 | White Balance | Automatic
13 | Day & Night | 24/7 Color Imaging
14 | Shutter | Automatic
15 | Slow Shutter | 16X
16 | Auto Gain Control (AGC) | Automatic
17 | Noise Reduction (NR) | 3DNR
18 | White Light | Up to 30m
19 | Functions | Brightness, Sharpness, 3D DNR, Mirror, Smart light
20 | Lens | 3.6mm, 2.8mm
21 | Field of view | 2.8 mm: 119° x 101° x 54° (diagonal x horizontal x vertical) 3.6 mm: 100° x 84° x 45° (diagonal x horizontal x vertical)
22 | WDR | 130 db WDR ( DWDR not acceptable)
23 | Input Voltage | DC12V±10%
24 | IP Rating | IP67
25 | Operation Temp | -30o to +50o C
26 | Storage Humidity | 90% or less
27 | Certification | UL/BIS,CE,FCC
28 | Image Enhancement | BLC, HLC Supported
29 | Built-in Microphone | Yes

## 2MP HD Varifocal Dome
HD Varifocal Dome
This product shall be manufactured by a firm whose quality system is in compliance with the ISO-9001
Products quoted should be of international repute & from any of Top global OEM as per latest IHS report .
All systems and components must be in compliance with FCC/CE/UL/RoHS requirements.
The Offered Cameras, Recorder, VMS, Analytic shall be from the same OEM to ensure seamless integration & better support. However keeping in mind the future scalability, the offered VMS & Cameras should be ONVIF S compliant.
S.No | Parameters | Specification | Compliance Yes/No
1 | HD Technology | AHD, CVI, TVI
2 | Image Sensor | 1/3“ 1080P CMOS Sensor /CCD or better
3 | Signal System | PAL
4 | Effective Pixels | 1920(H)x1080(V)) or better
5 | Mini. Illumination | Mini. 0.01Lux@F1.2, AGC Illumination ON, 0 Lux with IR
6 | Video Output | 1080P or higher @ 25 fps
7 | Display Resolution | 1080P or higher @ 25 fps
8 | Recording Resolution | 1080P or higher @ 25 fps
9 | Frame Rate | 50Hz:720p or higher @25fps
10 | SNR | ≥52dB(AGC OFF)
12 | Sync System | Internal
13 | White Balance | Automatic
14 | Day & Night | Automatic
15 | Shutter | Automatic
16 | Auto Gain Control (AGC) | Automatic
17 | Noise Reduction (NR) | 3DNR
18 | IR Range | Up to 30m
19 | Lens | 2.8-12mm (verifocal)
20 | WDR | 120 db WDR ( DWDR not acceptable)
21 | Input Voltage | DC12V±15%
22 | IP Rating | IP67 ,IK10
23 | Ingress Protection - Vandal Proof | IK10 ( outer glass cover ) - Turret Shape not acceptable
24 | Operation Temp | 0o to +50o C
25 | Storage Humidity | 90% or less
26 | Certification | UL/BIS,CE,FCC

## IP CAMERA
Specifications: 2 MP IR Fixed Turret Network Camera(IP Camera)
Sl No | Camera
1 | Image Sensor | 1/2.8" Progressive Scan CMOS
2 | Min. Illumination | 0.002 lux@F1.6 (Color, 30 IRE) 0.0002 lux@F1.6 (B/W, 30 IRE) 0 lux (Illuminator on
4 | Shutter Speed | 1/3 s to 1/100,000 s
5 | Slow Shutter | Yes
6 | Auto-Iris | No
7 | Day & Night | IR Cut Filter
8 | Digital Noise Reduction | 3D DNR
9 | WDR | 120 dB
10 | 3-Axis Adjustment | Pan: 0°to 360°, tilt: 0°to 75°, rotate: 0°to 360°
Lens
11 | Focal Length | 3.6mm, 2.8mm
12 | Aperture | F2.0
13 | Focus | Fixed
14 | FOV | 2.8 mm: 119° x 101° x 54° (diagonal x horizontal x vertical) 3.6 mm: 100° x 84° x 45° (diagonal x horizontal x vertical)
15 | Lens Mount | M12
IR
16 | IR, white light Range | Up to 30m
17 | Wavelength | 850nm
Compression Standard
18 | Video Compression | Main stream: H.265/H.264
Sub-stream: H.265/H.264/MJPEG
Third stream: H.265/H.264
19 | H.264 Type | Baseline Profile/Main Profile/High Profile
20 | H.264+ | Main stream supports
| H.265 Type | Main Profile
| H.265+ | Main stream supports
21 | Video Bit Rate | 32 Kbps to 8 Mbps
Smart Feature-set
23 | Behavior Analysis | Line crossing detection, intrusion detection
24 | Region of Interest | 1 fixed region for main stream
Image
25 | Max. Resolution | 1920 × 1080
26 | Main Stream | 50Hz: 25fps (1920 × 1080, 1280 × 960, 1280 × 720)
60Hz: 30fps (1920 × 1080, 1280 × 960, 1280 × 720)
27 | Sub-Stream | 50Hz: 25fps ( 640 × 480, 352 × 288, 320 × 240)
60Hz: 30fps ( 640 × 480, 352 × 240, 320 × 240)
28 | Third Stream | 50Hz: 1fps (352 x 240, 320 x 240)
60Hz: 1fps (352 x 240, 320 x 240
29 | Image Enhancement | BLC, 3D DNR, HLC
30 | Image Settings | Rotate mode, saturation, brightness, contrast, sharpness adjustable by client software or web browser
31 | Day/Night Switch | Day/Night/Auto/Schedule
Network
32 | Network Storage | Support Micro SD/SDHC/SDXC card slot (256 G), NAS (NFS, SMB/CIFS)
33 | Alarm Trigger | Motion detection, video tampering, illegal login, HDD full, HDD error
34 | Protocols | IPv4; IPv6; HTTP; TCP; UDP; ARP; RTP; RTSP; RTCP; RTMP; SMTP; FTP; SFTP; DHCP; DNS; DDNS; NTP; Multicast; ICMP; IGMP
35 | General Function | Anti-flicker, heartbeat, mirror, password protection, privacy mask, watermark, IP address filter
36 | API | ONVIF (PROFILE S, PROFILE G), ISAPI
37 | Simultaneous Live View | Up to 6 channels
38 | User/Host | Up to 32 users, 3 levels: Administrator, Operator and User
49 | Web Browser | IE10,11, Chrome 57.0+,, Firefox 52.0+
Interface
50 | Audio | 1 built-in mic
51 | Communication Interface | 1 RJ45 10M/100M self-adaptive Ethernet port
52 | On-board Storage | Built-in micro SD/SDHC/SDXC slot, up to 256 GB
General
53 | Operating Conditions | -30 °C to +60 °C (-22 °F to +140 °F), humidity 95% or less (non-condensing)
54 | Power Supply | 12 VDC ± 25%, PoE (802.3af, class 3)
55 | Power Consumption and Current | Basic: 1.9 W (12 VDC); 2.5 W (PoE) Max. (ICR + H.265 + WDR + max. Illumination + intelligence on): 4.7 W (12 VDC); 5.6 W (PoE)
56 | Protection Level | IP67
57 | Material | Shell: plastic, camera body: metal

## 2MP HD varifocal Bullet
HD varifocal Bullet
This product shall be manufactured by a firm whose quality system is in compliance with the ISO-9001
Products quoted should be of international repute & from any of Top global OEM as per latest IHS report .
All systems and components must be in compliance with FCC/CE/UL/RoHS requirements.
The Offered Cameras, Recorder, VMS, Analytic shall be from the same OEM to ensure seamless integration & better support. However keeping in mind the future scalability, the offered VMS & Cameras should be ONVIF S compliant.
S.No | Parameters | Specification | Compliance Yes/No
1 | HD Technology | AHD, CVI, TVI
2 | Image Sensor | 1/3“ 1080P CMOS Sensor /CCD or better
3 | Signal System | PAL
4 | Effective Pixels | 1920(H)x1080(V)) or better
5 | Mini. Illumination | Mini. 0.01Lux@F1.2, AGC Illumination ON, 0 Lux with IR
6 | Video Output | 1080P or higher @ 25 fps
7 | Display Resolution | 1080P or higher @ 25 fps
8 | Recording Resolution | 1080P or higher @ 25 fps
9 | Frame Rate | 50Hz:720p or higher @25fps
10 | SNR | ≥52dB(AGC OFF)
12 | Sync System | Internal
13 | White Balance | Automatic
14 | Day & Night | Automatic
15 | Shutter | Automatic
16 | Auto Gain Control (AGC) | Automatic
17 | Noise Reduction (NR) | 3DNR
18 | IR Range | Up to 30m
19 | Lens | 2.8-12mm (verifocal)
20 | WDR | 120 db WDR ( DWDR not acceptable)
21 | Input Voltage | DC12V±30%
22 | IP Rating | IP67
23 | Operation Temp | 0o to +50o C
24 | Storage Humidity | 90% or less
25 | Certification | UL/BIS,CE,FCC

## Pin Hole camera
Pinhole Camera
This product shall be manufactured by a firm whose quality system is in compliance with the ISO-9001
Products quoted should be of international repute & from any of Top global OEM as per latest IHS report .
All systems and components must be in compliance with FCC/CE/UL/RoHS requirements.
The Offered Cameras, Recorder, VMS, Analytic shall be from the same OEM to ensure seamless integration & better support. However keeping in mind the future scalability, the offered VMS & Cameras should be ONVIF S compliant.
Sr No | Feature | specification | Compliance Yes/No
1 | Image Sensor | 1/3'' CMOS /CCD
2 | Effective pixels | 1920(H)x1080(V))
3 | Resolution | 1920(H)x1080(V))
5 |  | Color: 0.004LuxLux/F2.4 Black & White: 0.0004 Lux/F2.4
6 | S/N ratio | 52 dB
7 | Electronic shutter | 1/3s–1/100000s
8 | Lens | 3.7mm Pin Hole (2.8mm optional)
9 | WDR | 120 db WDR ( DWDR not acceptable)
10 | BLC | On/Off ( Auto)
11 | Motion detection | Yes
12 | White balance | Supported
13 | AGC | Supported
14 | Day & Night | Color/B/W/Auto level adjust
15 | Communication Interface | 1 RJ45 10 M/100 M self-adaptive Ethernet port
16 | Power supply | DC12V
17 | Power consumption | 5 Watts max
18 | Certification | UL/BIS,CE,FCC
19 | Perimeter Protection | Line crossing, intrusion. Support alarm triggering by specified target types (human and vehicle)
20 | Built-in Microphone | Supported
21 | Built-in Speaker | Supported
22 | HLC | Supported
23 | IR Range | Up to 10 m

## VMS
VMS Software Specifications
All software and licenses for end to end IP based video surveillance system
Proposed CCTV system shall be based on Non Proprietary open standard based integrated system with network centric functionality complied to ONVIF profile-S and management architecture, aimed at providing high-speed manual/automati
Failure of one camera shall not affect other cameras.
The video management system shall be an enterprise class IP enabled fully distributed solution, designed for limitless multi-site and multiple server installations requiring 24/7 surveillance with support for devices from different location.
The video management system shall allow a minimum 20,000 number of cameras, recording servers and clients to be connected to management server across multiple sites.
Single server should connect upto 50 ANPR cameras
The video management system shall include a distributed architecture, allowing clients on the host system with the user rights to view video sources belonging to multiple independent video management systems simultaneously.
The video management system shall contain a management server that shall be the central manager of the system and control recording servers, cameras, devices and users.
The video management system shall incorporate a fully integrated video-sharing functionality for distributed viewing of video from any camera in the system on any computer with the viewing client.
The video management system shall support encryption of video for export purposes.
Cameras, which shall show a minimum list of the following items. 1) Camera status (connected or disconnected)
An individual camera is recording or not
The name of the camera, the hardware device and the IP address of the hardware device
The recording server, the camera is connected
What storage the camera is using
Live video format, for example H.264 or M-JPEG
Recording video format, for example H.264 or M-JPEG
Viewing Client
The viewing client shall enable operators to connect to the management server for initial authorization. Up on authorization, the viewing client shall be able to connect to the recording server(s), for access to live and record
The Client operator shall be able to drag and drop a camera from a tree of available cameras or a camera sequence into any video tile for live viewing.
The viewing client shall allow the user to be able to:
View live video from cameras;
Playback recordings from cameras with a selection of advanced navigation controls, including an intuitive time line browser.
Switch between a number of views, each able to display videos from 1 up to 16 cameras from multiple servers at a time. The system shall make it possible to create views based on different layouts optimized for 4:3 and 16:9 displ
Access views of cameras on any PC with a viewing client installed.
Use multiple screens as well as floating windows for displaying different views simultaneously.
Quickly replace one or more views of cameras with other cameras.
View images from several cameras in sequence in a single camera position in a designated carousel position.
View video from selected cameras in greater magnification and/or higher quality in a designated special view position.
Control PTZ cameras.
Use digital zoom on live as well as recorded video.
Get a quick overview of sequences with detected motion.
Quickly search for motion in selected areas of a video recording.
Maps
The viewing client shall include a built-in map function which shall provide an intuitive overview of the system and shall offer integrated access to all system components.
The map function shall be able to use standard graphical file formats.
It shall be possible to use any number of layered maps and to easily drag- and-drop and point-and-click icons representing cameras.
The viewing client shall support a map function which shall support instant camera preview when moving the mouse pointer over a specific camera.
The map function shall support real-time status monitoring indication from all system components like camera, recording server, storage etc.
The map function shall support graphical at-the-glance visualization of the system status through color coding. Graphical tool illustrating health status of various equipment on a single screen, such as graphical representati
Storage
VMS should Support edge storage and central storage.
VMS should support Central storage: Extend storage via iSCSI.
Server disk configuration for picture storage involving face detection and recognition, alarms, and object detection
Create record plan by time template: All day template, weekday template, weekend template and custom template
Back up the video by schedule from the edge storage, like EVS, NVR, DVR, etc.
Disk quota: Group the disks, and cameras can be allocated to different disk groups
Vehicle Restricted List Management
Set start time and end time for vehicle restricted list
Arm and disarm vehicle restricted list.
Import and export vehicle restricted list.
Parking Management
Overview of entrance and exit information: Number of parking spaces and remaining parking spaces, traffic statistics, parking turnover, parking utilization rates
Support dual-camera capture for higher recognition rate.
Edit parking-lot, includes total and available spaces, parking name etc
Support configuration of barrier control rules, and support configuration of barrier control rules for zero-space-left cases
VMS should supportupport searching for vehicle records, on-site vehicles, and ANPR details
VMS should support traffic Violation & search function by time, vehicle number, and traffic violation information type.
Support querying for data of passing-by vehicles by section, time period, plate number, plate color, average speed, and type
Supports Violation Penalty
Violators can be penalized.
Supports printing traffic tickets
Violation records can be reviewed.
Violation records can be searched for, including ANPR captured violations, and road section and traffic restriction violations.
Gives Overview of traffic flow
Supports searching for the traffic flow at intersections and road sections from specific periods.
Stand Alone Viewing Client
The standalone viewing client shall make it possible to view exported video.
The standalone viewing client shall run from an. exe file, and no installation of software shall be required in order to view exported sources.
Mobile Viewing Client
It shall be possible to access and view cameras and views on a Smart phone or a tablet (a mobile device). Mobile Client should have live and Playback functionality. It must support android, windows, iOS platform

## 16 & 32 CH NVR
16 & 32 Channel NVR with 8 Sata Port
S. No. | Features | Description | Compliance (Yes/No)
1 | Main Processor | Industrial Grade Processor
2 | Operating System | Embedded LINUX
3 | SATA Ports | 8 SATA ports for 16 / 32 channel NVR, Each SATA port should support 16TB HDD
4 | Interface | 1VGA, 1HDMI
5 | Video Output | VGA:1920 × 1080, 1280 × 1024, 1280 × 720 HDMI:3840 × 2160, 1920 × 1080, 1280 × 1024, 1280 ×720
6 | Resolution | 16 MP; 12 MP; 8 MP; 6 MP; 5 MP; 4 MP; 3 MP; 1080p; 960p; 720p; D1; CIF
7 | Multi-screen Mode (Display Split Screen) | 1/4/8/9/16
8 | Trigger Events | Recording, PTZ, Tour, Alarm Out, Video Push, Email, FTP, Snapshot, Buzzer and Screen Tips
9 | Video Detection | Motion Detection, MD Zones: 396 (22 X 18), Video Loss and Tampering, Scene Change Detection
10 | Alarm input | 16 Ports
11 | Alarm output | 4 Ports
12 | Sync Playback | 1/4/9/16
13 | Search Mode | Time /Date, Alarm, MD and Exact Search (accurate to second)
14 | Playback Function | Play, Pause, Stop, Rewind, Fast play, Slow Play, Next File, Previous File, Next Camera, Previous Camera, Full Screen, Repeat, Shuffle, Backup Selection, Digital Zoom
15 | Backup Mode | USB Device/Network/Internal SATA burner/e-SATA Device
16 | Internal HDD | All SATA ports should support 16TB
17 | USB | 3(2 USB 2.0 port, 1 USB 3.0 ports)
18 | RS232 | 1 Port, for PC Communication and keyboard
19 | RS485 | 1 Port, for PTZ Control
20 | IP Camera Input | 16
21 | Audio Compression | G.711a; G.711u; PCM; G726
22 | Two-way Talk | 1 Channel Input, 1 Channel Output
23 | Compression | High Efficiency Video Coding (HEVC), H.265+ or more
24 | Resolution | 1080P or more at 25 FPS
25 | Frames per Second | 25 FPS
26 | Record Rate | 256 Mbps Incoming
27 | Record Mode | Manual, Schedule (Regular, Continuous), MD, Alarm, Stop
28 | Record Interval | 1-120 min (default: 60 min), Pre-record: 1-30 sec, Post record: 10-300 sec
29 | Interface | 2 RJ-45 port (10/100/1000 Mbps)
30 | Network Function | HTTP; HTTPS; TCP/IP; IPv4/IPv6; UDP; SNMP; NTP; DHCP;DNS; SMTP; UPnP; IP Filter; PPPoE; FTP; DDNS; Alarm Server; IP Search, Multicast; P2P; Auto Registration
31 | Interoperability | ONVIF (Profile T; Profile S; Profile G), CGI Conformant
32 | Certifications | UL/ FCC, CE and BIS approved

## Cable
3+1 Coaxial and power cable
Coaxial Cable
Conductor | Material | Bare copper
| Wire Gauge | 26AWG
| Diameter | 0.41±0.01mm
Insulation | Material | FPE
| Diameter | 2.0±0.1mm
Tape | Material | Copper foil
Braid | Material | Copper clad aluminum magnesium
| Braiding Standard | 5*16*0.12mm ±0.008mm
| Braiding Density | ≥80%
Jacket | Material | PVC
Impedance |  | 75ohms
Power Cable
Conductor | Material | Bare copper
| Quantity | 3
| Diameter | 11*0.16±0.008mm
Insulation | Material | SR-PVC
| Diameter | 1.2±0.1mm
Jacket | Material | PVC
Make & Type | Acceptable type | ISI Marked (IS-694, 1990)
Make – Finolex, Polycab or similar quality,

## 19" LCD Monitor
19" HD LCD Monitor
S.No | Category | Parameters | Specification | Compliance Yes/No
1 | Monitor | Backlight | LED Backlight
2 |  | Screen Size | 19.5 inch
3 |  | Pixel Pitch | 0.300mm×0.300mm
4 |  | Max Resolution | 1600×900
5 |  | Brightness | 200cd/m2
6 |  | Contrast | 1000:1
7 |  | Response Time | 5ms
8 |  | Color | 16.7M
9 |  | Active Area | 409.8mm × 230.4mm
10 |  | Viewing Angle | Horizontal 90°, Vertical 80°
11 | Interface | VGA Input | 1
|  | HDMI Input | 1
12 | General | VESA | 75 mm × 75 mm

## CAT6 cable
CAT 6 Cable
S. No. | Parameter | Minimum Specifications
1 | Type | U/UTP 4Pairs cable-category 6- PVC Sheath
2 | Size | 23 AWG
3 | Material | Solid Bare Copper
4 | Test Standard | ISO/IEC11801, TIA-568-C.2
5 | Ambient Temperature | -20℃ - 75℃
6 | Insulation Material | Polyethylene (HDPE)
7 | Shealth material | PVC Polyvinyl chloride
8 | Tensile Strength before aging | >13.5
9 | Aging Period | 100 Deg C x 24h x 10d
10 | Colour Chart | 1 White- Blue /Blue
2 White-Orange /Orange
3 White-Green /Green
4 White- Brown /Brown