PERFORMA OF ELECTRICAL AUDIT

1. Electrical Auditor is required to take the attendance certificate from the Branch Head at the time of visiting the branch.

2. Electrical Auditor must consist of non-scaled sketch of layout of the branch including showing the denomination of the areas used by you in the report.

3. Electrical Auditor report must consist of single line diagram of existing electrical system including marking the position of critical faults needs immediate attention.

4. Inspection / recommendation report of existing electrical system with your observations and remarks.

5. Photocopy of last three electrical bills of the branch/office/ATM, including marking any discrepancy, if any.

Branch/office Overview

| Sl No | Description | Particulars |
| --- | --- | --- |
| 1 | Zone | UCO BANK JORHAT |
| 2 | Name of Branch |  |
| 3 | Branch Code |  |
| 4 | Address |  |
| 5 | Contact Person- BH/ABH/OTHER |  |
| 6 | Mobile no. |  |
| 7 | Email id |  |
| 8 | Date of audit |  |

- Branch Inventory details

| Sl No | Description | Wattage | Nos. installed floor wise |  |  | Electrical load | Suggestions for Improvement |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | ATM | Floor no | Floor No |  |  |
| 1 | Change over Switch |  |  |  |  |  |  |
| 2 | MCCB |  |  |  |  |  |  |
| 3 | Fuse |  |  |  |  |  |  |
| 4 | MAX wire fuse |  |  |  |  |  |  |
| 5 | MCB 4 Pole 100A |  |  |  |  |  |  |
| 6 | MCB 2 Pole 63 A |  |  |  |  |  |  |
| 7 | MCB 4 Pole 63 A |  |  |  |  |  |  |
| 8 | MCB 2 Pole 32 A |  |  |  |  |  |  |
| 9 | MCB 1Pole 32A |  |  |  |  |  |  |
| 10 | MCB 1Pole 16A |  |  |  |  |  |  |
| 11 | MCB 1Pole 10A |  |  |  |  |  |  |
| 12 | MCB 1Pole 6A |  |  |  |  |  |  |
| 13 | MCB 1Pole 25A |  |  |  |  |  |  |
| 14 | RCCB 63A |  |  |  |  |  |  |
| 15 | Stabilizer |  |  |  |  |  |  |
| 16 | M.C.B 2 Pole 40 A |  |  |  |  |  |  |
| 17 | A.C Window |  |  |  |  |  |  |
| 18 | A.C Split 1.5 TR |  |  |  |  |  |  |
| 19 | A.C Split 2 TR |  |  |  |  |  |  |
| 20 | A.C Split 1 TR |  |  |  |  |  |  |
| 21 | Wall Fan |  |  |  |  |  |  |
| 22 | Ceiling Fan |  |  |  |  |  |  |
| 23 | Water Cooler |  |  |  |  |  |  |
| 24 | Exhaust Fan |  |  |  |  |  |  |
| 25 | T8 2 Fit 18 W |  |  |  |  |  |  |
| 26 | T8 36 W |  |  |  |  |  |  |
| 27 | CFL 2 pin 18 W |  |  |  |  |  |  |
| 28 | T12 40 W |  |  |  |  |  |  |
| 29 | T8 36 W |  |  |  |  |  |  |
| 30 | CFL 40 W |  |  |  |  |  |  |
| 31 | CFL 30 W |  |  |  |  |  |  |
| 32 | Fire Machine |  |  |  |  |  |  |
| 33 | Camera |  |  |  |  |  |  |
| 34 | LCD |  |  |  |  |  |  |
| 35 | Fax M/C |  |  |  |  |  |  |
| 36 | Coffee M/C |  |  |  |  |  |  |
| 37 | Computer CRT |  |  |  |  |  |  |
| 38 | Printer |  |  |  |  |  |  |
| 39 | Master CPU 10A |  |  |  |  |  |  |
| 40 | Scanner |  |  |  |  |  |  |
| 41 | Money Counting Machine |  |  |  |  |  |  |
| 42 | Micro wave |  |  |  |  |  |  |
| 43 | Heater |  |  |  |  |  |  |
| 44 | T.V |  |  |  |  |  |  |
| 45 | ATM M/c |  |  |  |  |  |  |

B.  Electrical Load analysis

| SN | Description | Status | Suggestions for Improvement |
| --- | --- | --- | --- |
| 1 | Total Sanctioned Load |  |  |
| 2 | Total Connected Load |  |  |
| 3 | Is Sanctioned load less than Connected load |  |  |
| 4 | Has branch applied for additional load |  |  |
| 5 | Electrical Load Utilization |  |  |
| 6 | Electrical Load on UPS |  |  |
| 7 | Inverter provided: YES/NO |  |  |
| 8 | Inverter Capacity |  |  |

C. ELECTRICAL DISTRIBUTION SYSTEM:

| Sl No | Description | Status | Suggestions for Improvement |
| --- | --- | --- | --- |
| 1 | Is distribution of load satisfactory |  |  |
| 2 | Condition of Electrical Wiring |  |  |
| 3 | Type of Wiring Used |  |  |
| 4 | No. of MCB's and ELCB |  |  |
| 5 | Whether MCB's and ELCB are of required rating |  |  |
| 6 | Whether cables and connection are good and of adequate capacity |  |  |
| 7 | Whether electrical equipments are operating at specified voltage /current (within tolerance range) |  |  |
| 8 | Rating of Fuses/Junction Box |  |  |
| 9 | Are the ratings correct? |  |  |
| 10 | Are Fire Box Switch Inserts used |  |  |
| 11 | Whether single isolating switch is available for the whole premises |  |  |
| 12 | Are Earth Pits identified |  |  |
| 13 | Earth Connection to equipments: Proper/Not proper |  |  |
| 14 | No. of earth pits available |  |  |
| 15 | Whether earthing is done properly to equipments |  |  |
| 16 | Voltage between neutral and earth |  |  |
| 17 | Whether Inverter is provided with neutral earthling |  |  |
| 18 | Whether ELCB provided |  |  |
| 19 | ATM Earth pits identified |  |  |
| 20 | Earthing check of each pit |  |  |
| 21 | UPS room exhaust fan installed |  |  |
| 22 | UPS room Condition |  |  |
| 23 | UPS battery Connections |  |  |
| 24 | Whether adequate capacity timer used in timer of AC/Glow sign board |  |  |
|  | Whether lightening arrestor provided in Branch/ATM |  |  |
| 25 | Whether water seepage near electric equipments |  |  |
| 26 | Whether there is any provision to isolate electric supply of equipments used in night from entire Electrical System |  |  |

D. Measurement of Electrical Parameters

| Meter no. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SN | Description | Voltage | Current | Power factor | Power | Remarks |
|  | R |  |  |  |  |  |
|  | Y |  |  |  |  |  |
|  | B |  |  |  |  |  |
|  | Neutral |  |  |  |  |  |

E. Assessment of UPS

| No of UPS | Capacity of (KVA) | P-P Voltage of each UPS |  |  | P-N Voltage each UPS |  |  | Phase Currents |  |  | Total electrical load consumption |  | Neutral Earthing & its adequacy | Protective earthing & its adequacy | Remarks (Condition of machine acceptable or Not | Suggestions on improvement, if any |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | R | Y | B | R | Y | B | R | Y | B | KW | A |  |  |  |  |

F. Lux levels

| Sl No | Area | Lux |
| --- | --- | --- |
| 1 | Branch head cabin |  |
|  | Customer area |  |
|  | Cash counter |  |
|  | Store room |  |
|  | Strong room |  |
|  | ATM room |  |

G.  Adequacy & conditions of fire safety measure in branch/ office premises.

| Sl No | Head | Capacity of FE (Kgs) | Quantity held | Condition of cylinder (serviceable or not) | Date of last refilling |
| --- | --- | --- | --- | --- | --- |
| 1 | Portable fire extinguisher ABC type |  |  |  |  |
| 2 | Portable fire extinguisher Co2 type |  |  |  |  |
| 3 | Automatic fire extinguisher fixed above UPS, batteries |  |  |  |  |
| 4 | Automatic fire extinguisher fixed above the electric panel |  |  |  |  |
| 5 | Automatic fire extinguisher fixed in ATM room. |  |  |  |  |

H. Electric Meter detail:-

| Month | Service provider | Type ( three or single phase) | Consumption unit per month for last three months | Electric bill amount for last three months | Have you notice any pilferage in electric connection to branch? | Is there any penal recovery by electricity deptt. through monthly bill |
| --- | --- | --- | --- | --- | --- | --- |

I.  Bill of quantity of items required for normalization of electricity arrangement in branch/ office. (Separate sheet may be attached if required)

| Sl No | Details of the electric accessory, job work required for normalize the electric arrangement in branch/ office | Specification of items | Quantity required |
| --- | --- | --- | --- |

J. Observation/ Recommendation

Report is based on actual finding/ observation of electrical /fire safety installations in the branch/ office premises. Deficiencies/ irregularities in the electric system and procedure of their rectification are briefed to branch head.

Signature & stamp of Electric auditor.

Authorized representative of the above Electric auditor agency visited and checked the electric installations in the premises; submit the audit report to us. We understand the nature of irregularities and their recommendations/ suggestions to rectify theses irregularities.

Signature of Branch head/ ABH                                                                                                   Branch’s stamp