## finally final
BILLS OF QUANTITY FOR FURNISHING WORK TO BE CARRIED OUT AT THE EXISTING
PREMISES OF ATM AT UCO BANK (V. S. HOSPITAL BRANCH), AHMEDABAD
ITEM | DESCRIPTION OF ITEMS | QUANTITY | RATE | PER | AMOUNT
NO. |  |  | Rs. |  | Rs.
1 | PLAIN GYPSUM BOARD FALSE CEILING :
| Providing and fixing 12.50 mm thick Gyp Board false ceiling | 6.81 |  | 1
| fixed at 2.45 height in ATM including two coats of flat | smt |  | smt
paint of approved make and shade etc. complete.
2 | FULLY GLAZED ENTRANCE DOOR :
Providing & Fixing fully glazed main door at the main entrance of ATM. The Item includes fixing of 12 mm th. Toughened glass with the help of top patch & bottom patch fittings. The door will have patch lock, pti pivot, floor spring & 400 mm long handles both sides, (Approved Make), fixed with the glass by making necessary cutouts & holes. The glass edges shall be polished on all sides. The entire door shall be erected in complete line & level. The door will have S. S. brush finished Signage for pull & push.
The patch fittings (Approved make) shall be of aluminum with s.s. matt finish coating & signage shall be of kitch make. The entire door, complete in all respect should be installed in positions as req.
| Banks Logo shall be embossed on the glass door | 2.54 |  | 1
| Size : ATM door - 1200mm x 2120mm x 1no, | smt |  | smt
| Fixed partition with same specification as above | 1.72 |  | 1
| 810mm x 2120mm x 1no | smt |  | smt
3 | ALUMINUM COMPOSITE PANEL FOR ATM ROOM IN SIDE WALLS AND ROLLING SHUTTER BOXES OF BRANCH AND ATM : | 26.24 |  | 1
| Providing and fixing 3 mm thick aluminum composite panel of Flexi Bond / Euro Bond with 0.25 mm foil with 50mm x 25mm x 1.20 mm thick aluminum hollow section tray system with minimum 20 mm bending with silicon Dow Coming of GE seal proof - ACP of approved Indian make complete as per selection and direction of Architect for three sides of atm room & rolling shutters for the building. This item will be carried out as per manufacturer specifications. Rate shall also include trap door shutter including hinges stoppers etc. complete as directed. | smt |  | smt
ATM inside wall : 2.01m x 2.45m x 1 no., 3.39m x 2.45m x 2no.,
2.01m x 1.13m x 1 no., 1.80m x 1.13m x 1no,
0.45m x 0.23m x 4 no.
|  |  | Total Rs |  | 0
| Rounded off to |  | Rs
(Rupees Only)
(SIGNATURE AND SEAL OF CONTRACTOR)