**PRICE BID: PART- 1 Rate Quotation format**

NON COMPREHENSIVE AMC CHARGES FOR EXISTING CCTV & ALARM SYSTEM AS IT IS: VALID FOR 03 YEARS

|  |  |  |  |
| --- | --- | --- | --- |
| S N | ANNUAL AMC CHARGES | UNIT RATE: PER YEAR/PER BRANCH\* | REMARKS |
| 1. | 4/8/16 CH CCTV SYSTEM |  | Mandatory quarterly visit |
| 2. | ALARM SYSTEM |  |
| 3. | FOR BOTH: CCTV & ALARM SYSTEM |  |

\*Quantity - 15 (\*Bank Committee may amend in quantity): unit rate\*15- for calculation price bid

**PRICE BID: PART-2 Rates & Models for Alarm System:-**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **SN** | **Items with 1 year warranty- CE/FCC/UL Certified** | **Model No. With specification** | **Quantity\*** | **Unit Rates** | **Qty\*Unit rate** |
| 01 | Security alarm Panel with Auto **dialer12+1 Zone** fully programmable. Compatible with GSM / IP/ PSTN communicators and on board LCD display with inbuilt SMPS, Enclosure and battery option (12 Volt 7Amp).  **8 Zone Alarm Panel-** same specifications, mentioned as above | **12 Zone:** Securico Prefer /Other similar Panel  **8 Zone:** Securico Prefer /Other similar Panel | 1  1 |  |  |
| 02 | Supply & install of TCP/ IP Communicator for CMS and remote Configuration |  | 1 |  |  |
| 03 | Smoke sensor |  | 5 |  |  |
| 04 | Heat Detector |  | 1 |  |  |
| 05 | Magnetic contact (C.E. Certified) |  | 1 |  |  |
| 06 | PIR sensor (C.E. Certified) |  | 2 |  |  |
| 07 | Vibration Sensors |  | 1 |  |  |
| 08 | Shutter contact sensors |  | 1 |  |  |
| 09 | Flame detectors |  | 1 |  |  |
| 10 | Panic switch |  | 5 |  |  |
| 11 | Hooter |  | 2 |  |  |
| 12 | Motorized Siren |  | 1 |  |  |
| 13 | 12V Battery- 7AH | **EXIDE** | 1 |  |  |
| 14 | MCP |  | 1 |  |  |
| 15 | Response Indicator |  | 1 |  |  |
| 16 | Cabling – FRLS PER METRES (in PVC Conduit pipe) | | 50 |  |  |
| 17 | Cabling – in PVC Conduit pipe Preferably Polycab/Finolax | | 50 |  |  |
| 18 | Buy back rate of existing Alarm System (less this amount) | | -2 |  |  |
| 19 | Shifting of Alarm Panel within same premises | | 1 |  |  |
| 20 | Shifting of Alarm Panel other premises | | 1 |  |  |
| 21 | **Total cost of all above items** | | **Grand Total=** | | |

**\*Bank Committee may amend in quantity**

**Signature & Seal of the Vendor**

**PRICE BID: PART-3 Rates & Models for CCTV System:-**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S.N.** | **ITEMS with 01 YEAR WARRENTY** | **MAKE/MODEL with specification** | **Quantity\*** | **UNIT RATE** | **Qty\*Unit rate** |
| 01 | 16 Channel XVR: 4 SATA port and 8 SATA Port: |  | 1  1 | Rs.  Rs. |  |
| 02 | 8 Channel XVR: 2 SATA port and 4 SATA Port |  | 3  3 | Rs.  Rs. |  |
| 03 | 4 Channel XVR: Single SATA Port  Two SATA |  | 1  1 |  |  |
| 04 | 4 Channel ATM XVR: Single SATA Port |  |  |  |  |
| 05 | 19” and 24” TV Monitor with spot/auxillery input: LG/ SAMSUNG -Prefer | 19”:  22”: | 1  1 | Rs.  Rs. |  |
| 06 | HD fixed Dome Camera: |  | 5 |  |  |
| 07 | HD fixed Bullet Camera: |  | 5 |  |  |
| 08 | Pin hole Camera |  | 5 |  |  |
| 09 | HD Varifocal Dome Camera |  | 5 |  |  |
| 10 | HD Varifocal Bullet Camera |  | 5 |  |  |
| 11 | 2Mega Pixel IP IR Dome/Bullet camera |  | 2 |  |  |
| 12 | 128 GB High speed Micro HD Card |  | 1 |  |  |
| 13 | 64 GB High speed Micro HD Card |  | 2 |  |  |
| 14 | 1 TB Hard Disk- Sky Hawk/Western Digital |  | 1 |  |  |
| 15 | 2 TB Hard Disk- Sky Hawk/Western Digital |  | 2 |  |  |
| 18 | 4 TB Hard Disk- Sky Hawk/Western Digital |  | 5 |  |  |
| 19 | DVR Rack |  | 2 |  |  |
| 20 | HDMI CABLE |  | 10 |  |  |
| 21 | VGA Cable |  | 10 |  |  |
| 22 | SITC of RG6 Video Cable - in PVC Conduit |  | 50 |  |  |
| 23 | SITC of 2 Core x 1.5 sq. mm. Power Cable- in PVC Conduit |  | 50 |  |  |
| 24 | Wireless mouse |  | 1 |  |  |
| 25 | Power supply , 12V, 6 AMP |  | 5 |  |  |
| 26 | Power supply for DVR |  | 5 |  |  |
| 27 | Power supply , 12V, 10 AMP |  | 5 |  |  |
| 28 | Additional items or accessories: (If any common) |  | 1 |  |  |
| 29 | Shifting Charges within premises |  | 1 |  |  |
| 30 | Shifting Charges – other premises |  |  |  |  |
| 31 | Buy back rate of existing Alarm System (less this amount) |  | -2 |  |  |
| 32 | **Total Cost of all above items** | **Grand total Price =** | | | |

\*Bank Committee members may amend in quantity

**Final cost to the bank will decide L-I Vendor: Sum of Part 1 + Part-2 + Part-3**

**Signature & Seal of the Vendor**

**Date:**