UCO BANK

ZONAL OFFICE, BHUBANESWAR

THE GENERAL MANAGER

UCO BANK

ZONAL OFFICE,

BHUBANESWAR.

TENDER DOCUMENTS

CIVIL & PH WORK OF ZONAL OFFICE

BHUBANESWAR.

OWNER

UCO  Bank –BHUBANESWAR  ZONAL OFFICE

ISSUED BY ZONAL OFFICE

GENERAL MANAGER

BHUBANESWAR.

CONSULTING ARCHITECT –M/S Techno Arch

Plot No. 71/7 ,Jadupur ,

Bhubaneswar-751013

ARCHITECT -9437189632

Notice Inviting Tenders

“Repairing of Civil & PH work at UCO  Bank Zonal office, Bhubaneswar.”

UCO Bank invites sealed tenders from reputed contractors for the Civil and Plumbing, works at Zonal office at Bhubaneswar, Odisha .The reputed Civil Contractors /Companies /Firm Registered with PWD/CPWD / MES,Semi Government, State Government ,Central Government Department ,Public Sector Banks etc & who have successfully executed such types of works need only apply.

Details of tenders are as under:

| 1. | Name of Work;- |  |  |  | Civil and Plumbing repairing work at Zonal office at Bhubaneswar. |
| --- | --- | --- | --- | --- | --- |
| 2. | Time allowed for |  |  |  | 1 months from the date of commencement |
|  | completion |  |  |  |  |
| 3. | Earnest Money |  |  |  | Rs17,900 by NEFT/RTGS/DD drawn in favor of UCO Bank, Zonal office at Bhubaneswar |
|  |  | Deposit |  |  |  |
| 4. | Initial Security |  |  |  | 2% of the accepted value of the contract including Earnest Money. |
|  |  | Deposit |  |  |  |
| 5. | Cost of tender |  |  |  | Rs. 1000/- (Non Refundable) by NEFT/RTGS/DD drawn in favor of UCO Bank Bhubaneswar. |
|  | documents |  |  |  |  |
| 6. | Last date and time |  |  |  | 27.01.2022 4.00P.M |
|  | of | receipt |  | of |  |
|  | tenders |  |  |  |  |
| 7. | Address at |  | which |  | Zonal Manager |
|  | the tenders |  | are to |  | UCO Bank Zonal office, Bhubaneswar |
|  | be submitted |  |  |  |  |
|  |  |  |  |  | . |
| 8. | Date | and time |  | of | 28.01.2022 3.30 P.M |
|  | opening tender |  |  |  |  |
| 9. | Place of opening |  |  |  |  |
|  |  |  |  |  | UCO Bank Zonal office, Bhubaneswar. |
| 10. | Defects Liability |  |  |  | 12 months from date of virtual completion. |
|  |  | Period |  |  |  |
| 11. | Validity of offer |  |  |  | 90 days from the date of opening the tenders. |
| 12. | Liquidated |  |  |  | At the rate of 1.0 % of the contract value per week of delay subject to |
|  |  | Damages |  |  | a maximum of 10% of the accepted contract |

NOTICE INVITING TENDERS

UCO Bank , Zonal  Office Bhubaneswar invites sealed bids from eligible  & experienced Firms/Companies in a “TWO BID  CONCEPT” for the work of “ Repairing of Office building Ashok nagar Bhubaneswar comprising of Civil,Plumbing, Sanitary and Water supply  works including  obtaining  service connections.

- Details of the Tender :

| Estimated cost of the works | Rs. 18.00 Lakhs ( approx) |
| --- | --- |
| Earnest Money deposit | Rs17900.00 |
| Period of completion | One month. |
| Date of Pre bid meeting | 11.01.2022 at 4.30 PM |
| Cost of Tender documents | Rs 1000/- |
| Issue of Tender documents | 01.01.2022 to 27/01/2022 during Office hours at our office. also available in UCO Bank website. |
| Last date and time for submission of the tender | 27/ 01/ 2022 upto 4 PM |
| Date and time of Opening of the Tenders - Technical bids | 28/ 01/ 2022 at 3.30 PM |

- Eligibility  Criteria : Contractors who fulfill the following requirements are  eligible to apply  :

| Sl No | Criteria | Documents Required |
| --- | --- | --- |
| 1 | The contractor should be a registered Civil contractor with CPWD or state PWD or MES or Railways and such other Government organizations or registered /Empanelled in Public sector units or public sector Bank’s or financial institutions. | A copy of valid registration certificate from respective authorities. |
| 2 | The Contractor should have minimum of 05 ( Five ) years experience in the field as on 31.01.2021. | Copies of Work orders from the Clients prior to 31.01.2021. |
| 3 | Bidder should have a minimum of Rs 50 lakh annual average turnover per year during last three financial years. i.e 2017-18, 2018-19,2019-20from the construction related business. | Audited balance sheet and P&L account for years mentioned. |
| Sl No | Criteria | Documents Required |
| 4 | The Tenderer should have executed any of the following construction work in a single contract during the last Seven (7) years ending with 31.01.2021 for at least, One (1) similar work costing Rs14.3 Lakh. OR Two (2) similar works each costing Rs 10.7 Lakh. OR. Three (3) similar works each costing Rs7.2 Lakh. Similar work means construction of Office /residential /institutional building. | Order copies and satisfactory completion certificates clearly indicating the cost & nature of work handled, date of commencement & completion issued by the Clients . Note: The amount of works executed during previous years shall be increased by 5 % every year from the date of actual completion to bring it to the present value. |
| 5. | The contractor must have, GST and PAN number | Copies of the registration certificate and PAN copy shall be enclosed. |

- Tenders documents can  be  collected on payment  of  stipulated cost between the dates mentioned in the Notice Inviting  Offer (NIO) during the working hours every day except on  Sundays  and Public Holidays, at  General Administration Department , UCO Bank Zonal  office Ashok nagar Bhubaneswar. The cost of tender documents shall be paid by way of Demand Draft for  Rs. 1000/- (One thousand only) of a Scheduled Bank issued in favour of  UCO Bank Zonal  office payable at  Bhubaneswar.

- Alternatively tender documents can be down loaded from the banks web site and tender cost to be deposited in technical bids in the form of DD. Tenderers who down load the tender documents from the web site need to pay the cost of the Tender documents.  The Tender documents shall be down loaded in A-4 size paper and neatly bounded (hard bound/ spiral bound) in two separate books (i.e. Technical bid and Financial bid) and submitted as detailed in clause 10 below.

- Tenders documents consists of Notice Inviting the Offer ( NIO ) , Eligibility criteria, General rules and Directions to Tenderers, Schedules  A to F, Conditions of contract, Clauses of Contract, Special conditions, Technical specifications, Safety code, Model rules for protection of Health & sanitary arrangements, List of preferred  makes, Annexures 1 to 18, Tender Drawings, Schedule of Quantity (SOQ)

- Tenders shall be on prescribed Form for item rate tenders as issued by the Bank/ hosted by the Bank in web site.

- The time allowed for carrying out of the work will be 1.0 (One) month from the, fifteenth day after the date of written orders to commence the work or from the first date of handing over of the site, whichever is later.

- The site for the work is available.

- Nature of the document: TWO BID CONCEPT. This Tender document comprises of the following :

A. TECHNICAL BID: (first envelope) consisting of following should be hardbound /spiral bound and submitted as in Sl. No. 10 below in a separate envelope-

  - EMD – Earnest Money  Deposit

  - Notice inviting tender (NIT).

  - General Rules & directions to contractor.

  - Schedules.

  - Conditions of contract.

  - Clauses of contract.

  - Special conditions

  - Safety code.

  - Model rules for protection of health and sanitary arrangements for workers employed by contractors.

  - Technical specifications for electrical works.

  - Preferred makes/brand of materials

  - Annexures.

  - Integrity pact.

  - Tender Drawings.

B.FINANCIAL BID (second envelope): Schedule of quantity (SOQ).                          Financial bid should be hardbound /spiral bound and submitted in separate envelop as in Sl. No. 10 below.

- Submission and opening of Tenders :

- Tenders on prescribed form should be placed in two envelops one sealed envelope consisting  of  “Technical bid”  duly superscribed as “Technical bid”  and  other sealed envelope consisting  “Financial bid” duly superscribed  as “Financial Bid” and  both envelopes shall be kept in one bigger sealed single envelope, with the name of work, Name of Tenderer  and  due date  written   on   the envelopes.

- Sealed Tenders shall be addressed to  General Manager, UCO Bank Zonal  office Bhubaneswar.

- Sealed Tenders shall be dropped in the TENDER BOX kept at the above said address up to 04.00 P.M. on 27.01.2022.

- The first part of tenders i.e Technical bid will be opened on the same day (i.e. 28.01.2022) and at the same location at 03.30 PM. If last day of submission of tender is declared a holiday under NI Act by the Government subsequent to issuance of tender the next working day will be deemed to be the last day for submission of the tender.

- The Financial bid of only the qualified /shortlisted applicants will be opened on a pre-notified time & date, under intimation to such qualified / shortlisted applicants.

- The tender shall be accompanied by earnest money deposit of Rs17,900. 00 by way of Demand Draft of a Scheduled commercial Bank issued in favour of  UCO Bank Zonal  office payable at Bhubaneswar.EMD shall be submitted in the Technical bid only.

No interest shall be allowed on the Earnest Money.  Tenders without Earnest Money shall be summarily rejected. However MSEs are exempted from paying Tender fee, EMDs as per MSME Act 2012. For getting the benefits in case of MSE firms, contractors /agencies should submit exemption certificate issued from the relevant authorities.

- Copies of other drawings and documents pertaining to the works will be open for inspection by the tenderers at the office of the above mentioned Office of the Bank /Architect.

- Tenderers  are  advised  to  inspect and  examine  the  site  and  its surroundings and satisfy themselves before submitting their tenders as to  the nature of the ground and sub-soil, the form and nature of  the site,  the  means of access to the site, the  accommodation  they  may require   and  in  general  shall  themselves obtain  all   necessary information as to risks, contingencies and other circumstances  which may  influence or affect their tender. A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and not extra charges consequent on any misunderstanding or otherwise shall be allowed. Submission of a tender by a tenderers implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done, site details  and local conditions and other factors bearing on the execution of the work.

- The  tenderer  shall  be  responsible  for  arranging   and maintaining  at his own cost all materials, labour, tools and  plants,  water, electricity,  access,  facilities for workers and all  other  services required for executing the work unless otherwise specifically provided for  in the contract documents.

To

The General  Manager,

UCO Bank ,

Zonal office ,

Bhubaneswar.

I / We have read and understood the press notice and the notification in Bank’s web-site for Pre-qualification and instructions to the Applicants. I/We do hereby declare that the information furnished by me / us are correct to the best of my/our knowledge and belief.

Yours faithfully,

Signature:

Name:

Designation:

Address:

Seal:

CRITERIA FOR PREEQUALIFICATION

Eligibility Criteria:

The Companies / Firms that fulfill the criteria as given below shall be eligible:

The Company / Firm should have registration with PWD / Railways / /MES /CPWD /any other Public Sectors unlimited class.

  - The Company / Firm should have average financial turnover of Rs. 50 Lakh on construction work during the last three years ending 31st March 2021.The Balance sheet certified by CA to be produced.

  - Reports on financial standing of the Company / Firm, annual turnover of the Company / Firm, profit and loss statement and auditors report for last three years.( Audited Balance sheets to be submitted)

  - The company / firm should have proper office structure in Odisha.

  - The  Contracting  Company  /  Firm  should  have  satisfactorily  completed

during last 7 years ending 31st March 2021 at least three (3) similar type of work of individual contract value not less than Rs.7.2 lac or two (2) similar type of works of individual contract value not less than Rs.10.7 lac or One (1) similar type of work of contract value not less than Rs.14.3 Lac.

Out of the projects submitted, at least one (1) such work should be for Government / Public Sector undertaking  of value not less than Rs.7.2 lac

The company should have completed at least one project of value not less than Rs.5.20 lac in  Odisha.

Note =The contractors should provide proper documentary proof in support of satisfactory completion of similar works in terms of Letter of award, Completion certificate from the clients indicating the date of commencement, date of completion & estimated & actual cost of execution failing which it may be treated that they have not completed such works. In case the experience certificate is issued by a private Architect / the employer, that certificate should be supported by TDS certificate by the employer.

Similar Work meaning: Construction and repairing work involving Civil & Plumbing.

- Bank Solvency Certificate of Rs. 50 lac and authority to seek references from

Company’s / Firm’s bankers and evidence of adequacy of working capital for this contract.

7.	Should possess adequate experienced Civil Engineer/s (with at least 03 years for Civil 	Engineer Degree holder and 05 years for Civil Engineer Diploma Holders); supervisors 	with at least 03 years of relevant experience,.

- Should possess valid license (C class ) for executing Civil & PH works.

- Joint Venture is not allowed.

- Confidential reports from previous employers will be sought by client.

- A committee comprising Bank’s representative, Architects representative would inspect the work executed by the firms. The visit is to ascertain quality, workmanship & ability of the contracting firm.

- The firm / company should have local office or GST registration in the state of Orissa. for the tender prequalification of criteria .

- The firm should produce returns of IT for the last three years.

INSTRUCTIONS TO APPLICANTS

- While deciding upon the pre-qualification of contractor emphasis will be given on the ability and competence of applicants to do good quality work within the specified time schedule.

- Applications containing false and/or inadequate information will be liable for rejection.

- Clarifications if any required, may be obtained from Uco Bank , Zonal  Office, Premises Department,

- Mere fulfillment of minimum eligibility criteria will not entitle Pre-qualification as pre-qualification will be done after taking into account various parameters including receipt of satisfactory reports from clients.

- Decision of the Bank in regard to pre-qualification of contractor shall be final. The Bank reserves the right to reject any or all applications without assigning any reason thereto.

Basic Information

NOTES:

- Information has to be filled up specifically in this form only. Do not write remark

“As indicated in Brochure or as enclosed” unless asked for by the UCO Bank .

- Information shall be limited to the Applicant. If any relevant data concerning the Group of Companies to which the Applicant belongs is desired to be given, the same shall be given separately in a supplementary sheet.

- Documentary evidence etc. have to be enclosed

APPLICATION FORM

PRE-QUALIFICATION OFCONTRACTORS FOR REPAIRING OF CIVIL & PH WORK OF UCO Bank ZONAL  OFFICE BHUBANESWAR.

| 1. | Name of the Applicant and address of the |  |  |  |
| --- | --- | --- | --- | --- |
|  | Registered office. |  |  |  |
|  | Phone No. : | Fax. No. : |  |  |
|  | E-mail address |  |  |  |
|  | Mobile No. : |  |  |  |
|  | Website, if any : |  |  |  |
| 2. | Year of establishment |  |  |  |
| (a) | (Enclose documentary evidence) |  |  |  |
|  | No. of years of experience in the relevant field |  |  |  |
| (b) | (Minimum experience required is 7 years in |  |  |  |
|  | relevant |  |  |  |
| 3 | Type of the organization (Whether sole |  |  |  |
|  | Proprietor ship, Partnership, Private Ltd. or |  |  |  |
| 4. | Name of the Proprietor/Partners/Directors of |  |  |  |
|  | Applicant with address and phone Numbers. |  |  |  |
|  | (a) |  |  |  |
|  | (b) |  |  |  |
|  | (c) |  |  |  |
|  | (d) |  |  |  |
| 5. | Details of registration – Whether Partnership firm, |  |  |  |
|  | Company, etc. |  |  |  |
|  | Name of Registering Authority, Date and |  |  |  |
|  | Registration number. |  |  |  |
| 6. | Whether the firm has worked for the |  |  |  |
|  | Government/semi | government | /Municipa |  |
|  | authorities or any other public organization Bank |  |  |  |

| 7. | No of year experience in the relevant field .(Enclose |  |
| --- | --- | --- |
|  | CA Certificates ) |  |
| 8. | Address of office through which the proposed work |  |
|  | of the bank will be handled and name and |  |
|  | designation of the officer in charge. |  |
| 9. | Adequate and satisfactory evidence to indicate |  |
|  | financial capacity of the Applicant to undertake |  |
|  | the said works with names of Bankers and their ful |  |
|  | addresses.(Solvency certificate from a bank & |  |
|  | Income tax |  |
| 10. | Yearly turnover of the Organization during last | Rs. For 2018-19 |
|  | Three years. (year wise) – As certified by the | Rs. For 2019-20 |
|  | Chartered Accountant (C.A‟s certificate has to | Rs. For 2020-21 |
| 11. | . Number of supplementary sheets attached |  |
| 12. | Ability to provide Bank Guarantee or other | Rs. |
|  | equivalent form of security from a Nationalized |  |
|  | Bank (Specify the amount maximum). |  |
| 13. | Enclose Performance Certificates from |  |
|  | previous clients during last 7 years. |  |
| 14 | Whether any Civil Suit/litigation arisen in contracts executed during the last 10 years. If yes, please furnish the name of the project, employer, nature of work, contract value, work order and brief details of litigation. Give name of the Court, place, and status of pending litigation. |  |

- Give reference of two Respectable Consulting Engineers, Architects Officers with Designations from Govt., /Semi Govt.,/ Public Sector Corporation Office with address and phone numbers, who may be directly contacted by the Bank, so as to enquire about your ability, competence, capability of your organization in confidence.

| Sr.no | Name of | Nature of | Work order | Present | Value of | Brief details |
| --- | --- | --- | --- | --- | --- | --- |
|  | the | the work | No and | stage | the | of the dispute |
|  | project |  | date | of the | contract |  |
|  | and |  |  | work |  |  |
|  | Employer |  |  |  |  |  |
| 1. | 2 | 3 | 4 | 5 | 6 | 7 |

Part 2:-Work capability and previous experience

- List of important Projects executed by the organization during last 7 years costing Rs.54.00 lac and above.

(Supporting documentary proofs such as copies of work order, satisfactory completion certificate of the work from clients etc. to be enclosed failing which the application will be liable for rejection)

| S | Name of | Name &full | Total | Completion period |  | Whether work | Any |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| r. | the project | postal | final | with dates |  | was | other |  |
| n | mentionin | address of | value of |  |  | left | relev |  |
| o | g all | the owner | work | Stipulated | Actua |  | ant |  |
|  |  |  |  |  |  | incomplete |  |  |
|  | features | & |  |  | l |  | Infor |  |
|  |  |  | (Rs) |  |  |  |  |  |
|  | scope of | consultant |  |  |  | or contract | mati |  |
|  | services | .Also |  |  |  |  | on |  |
|  |  |  |  |  |  | was |  |  |
|  | and | indicate |  |  |  |  |  |  |
|  | location | whether |  |  |  | terminated |  |  |
|  |  | Govt.or |  |  |  | from either |  |  |
|  |  | Private |  |  |  |  |  |  |
|  |  | body with |  |  |  | side. Give |  |  |
|  |  | full |  |  |  | Full |  |  |
| 1. | 2. | 3. | 4. | 5. | 6. | 7. | 8. |  |

Signature of Applicant

NOTES:1. Information has to be filled up specifically in this format. Please do not write remark “As indicated in Brochure / as enclosed‟ unless unavoidable.

- Information shall be limited to the Applicant. If any relevant data concerning the Group of Companies to which the Applicant belong is desired to be given, the same shall be given separately in a supplementary sheet.

  - Details of Machinery

| Sr.no | Description | of | Nos | Ages in Years |
| --- | --- | --- | --- | --- |
|  | Machinery |  |  |  |

C) DETAILS OF RMC PLANT/WORKSHOP, IF AVAILABLE

Encl: FORMAT OF PERFORMANCE CERTIFICATE TO BE GIVEN BY THE

PREVIOUS CLIENTS OF THE APPLICANT CONTRACTOR .

(*)  Contractual	service	would	include	–The  term  "contractor"  means  an

individual, or body corporate, which by profession undertakes to execute or executes a building or civil engineering project (including the commissioning of labour only) against a specified sum or percentage remuneration or against any other lawful consideration except for a salary or for his own exploit or for any other use or purpose. The contractual service would include

- the construction, reconstruction, erection, re-erection and restoration of a building;

- any building work, which constitutes, or includes, the construction, erection, addition, alteration, arrangement, repair, improvement or demolition of a building or part thereof or any work of extension, repair or alteration to the load-bearing structure or which affects the load-bearing structure of a building, or any other building work which affects the public's safety;

- the wall cladding, the floorings, the construction of formwork, the roofing of a building including the foundation work, all building-related earthworks, the construction of retaining walls, fencing and all attachments or ancillary constructions of a building;

- every preliminary or preparatory work including building or construction work for electrical, plumbing installations, air conditioning, ventilation, water supply, sewage or other complementary work of a building and the term "building works" shall be construed respectively.

Part 3 : Technical personnel and special experience.

- . List of technical personnel employed under Applicant’sFirm , giving details about their technical qualifications & experience in the

|  |  | Applicant’s |  |  | establishment. |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sr. |  | Name |  |  |  |  | Age | Qualifications |  | Experience | Nature of | No. of | Indicate special |  |
| No |  |  |  |  |  |  |  |  |  |  | works | years | experience and |  |
| . |  |  |  |  |  |  |  |  |  |  | handled | in the | achievement, if |  |
|  |  |  |  |  |  |  |  |  |  |  |  | organi | any |  |
| 1. | 2 |  |  |  |  |  | 3 | 4. |  | 5. | 6. | 7. | 8. |  |
| 1. |  | Main Office |  |  |  |  |  |  |  |  |  |  |  |  |
|  | any |  |  |  |  |  |  |  |  |  |  |  |  |  |

NOTES:

- Information has to be filled up specifically in this format. Please do not write remark “As indicated in Brochure / as enclosed’ unless unavoidable.

- Information shall be limited to the Applicant. If any relevant data concerning the Group of Companies to which the Applicant belongs is desired to be given, the same shall be given separately in a supplementary sheet.

- References

1. Please give references of two persons (Engineers, Architects or top officials of

an  organization)  for  whom

you

have  executed

similar  Projects

of importance,

who

may

be

in a position to advise and confirm the Bank about the ability,

competence and  capability of your organization.

- 3. Number of supplementary sheets attached with Sr. Nos.

Signature of the Applicant with full name

FORMAT OF PERFORMANCE CERTIFICATE TO BE GIVEN BY

THE PREVIOUS CLIENTS ON THEIR LETTER HEADTO THE APPLICANT

- Name of work executed: with scope of work in brief

- Client’s name and address:

- Architects for the project:

- PMC of the Project, if any:

  - a)   Tendered cost ;

      - Value of work executed:

- a)   Time allowed for completion

      - Actual time taken for completion

      - If delayed, reasons for the same and whether extension granted

    - Whether liquidated damages levied on the contractor

- General attitude and approach of the Contractor in the work:

- Assessment of work:

| Excellent | GoodSatisfactoryPoor |
| --- | --- |

Workmanship

Competence

Integrity and reliability

Attitude and approach

Quality of work

- Any Litigation involving Arbitration / Court of Law with details.

Annexure-I

To,

Dear Sir,

Confidential Report of

M/s …………………………………………………………

M/s ……………………………………..have their registered office at ……….....

………………have applied for prequalification as a Contractor for the

proposed “ Repairing civil &Ph work of Zonal  office at Bhubaneswar .

The above referred contractor in their application have stated that they have carried out the following project for you.

a)……………………………………..(Value Rs…………………….)

b) …………………………………….(Value Rs…………………….)

- In order to enable us to consider their prequalification as Turnkey Contractor for our Above project , we request you to furnish us a report on them in the prescribed format enclosed)

- Please be assured that the information provided by you will be treated in strict confidence. We will be thankful for an early reply, say within a week‟s time.

Thanking you,	Yours faithfully,

CONFIDENTIAL REPORT

- Contractors Name and Address as per your records.

- Name and Details of the construction project carried out for you.

- Work order No and value of Work Order .

- Final Value of the work executed .

- Date of commencement.

- Schedule date of completion .

- Actual date of completion.

- Whether any sort of penalty imposed on them.

- Any disputes /arbitration and the result thereon .

- Rating of the contractor.

|  | Sr.no | Area of Activity | Excellent | Good | Fair | Poor |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | A | Integrity |  |  |  |  |  |
|  |  | /reliability of the |  |  |  |  |  |
|  |  | Contractor |  |  |  |  |  |
|  | B | Promptness in |  |  |  |  |  |
|  |  | attending to the |  |  |  |  |  |
|  |  | instructions |  |  |  |  |  |
|  | C | Adherence to the |  |  |  |  |  |
|  |  | time schedule |  |  |  |  |  |
|  | D | Adherence to the |  |  |  |  |  |
|  |  | quality of work |  |  |  |  |  |
|  | E | Deployment of |  |  |  |  |  |
|  |  | adequate |  |  |  |  |  |
|  |  | technical staff |  |  |  |  |  |
|  |  | (Engineers and |  |  |  |  |  |
|  |  | Supervisory |  |  |  |  |  |
|  |  | Staff) |  |  |  |  |  |
|  | F | Overall |  |  |  |  |  |
|  |  | performance till |  |  |  |  |  |
|  |  | the date of |  |  |  |  |  |
|  |  | opening |  |  |  |  |  |
| 11. Any other information that may be relevant |  |  |  |  |  |  |  |
|  |  |  |  | REPORTING OFFICER NAME |  |  |  |

CLARIFICATIONS

- The Tenderers shall take care to price their tender rationally. Extreme under pricing or overpricing of individual items will be considered adversely in the assessment of tenders.

The tenderer shall provide rate analysis of all items within five working days of a demand made by the Architect/PMC within the period of validity of tenders failing which EMD submitted along with the tender will be forfeited.

- The owner is not bound to accept the lowest or any tender and reserves the right to accept or reject any or all tenders, either in whole or in party without assigning any reason for doing so.

QUANTITIES

The quantities set out in the Schedule of Quantities are the estimated quantities of the work and they are not to be taken as the actual and correct quantities of the Work to be executed by the Vendor in fulfilment of his obligations under the Contract. The quantities in Schedule of Quantities can vary to any extent & this shall not affect the accepted unit rates.

INDEMNIFICATION AND INSURANCE:-

The owner at all times stands indemnified by the contractor for any loss what so ever to the Bank ( The Employer ) / to its property by theft, fire and / or earthquake, injury / death of the workers, Bank’s Employees and third party and the contractor shall obtain C.A.R. policy in joint name first being that of the owner.

Unless otherwise instructed the Contractor shall insure the works and keep them insured until the virtual completion of the contract against loss or damage by theft, fire and / or earthquake, flood etc. The insurance must be taken from a company approved by the Owner, in the joint names of the Owner and the Contractor for such amount and for any further sum if called to do so by the Owner,

WRITTEN GUARANTEE FOR THE SPECIALISED WORKS:-

Wherever provision for submission of a written guarantee has been advised, the same shall be submitted from the specialized agency along with a counter guarantee by the main Contractor engaged for the work before receiving any payment from the employer, against such items of work and be furnished on a non-judicial stamp paper of appropriate value. The guarantee shall however come into the force from the date of the completion of the entire contracted work.

TECHNICAL EXAMINATIONS:-

The proposed work covered under this tender during its progress or after completion is subject to inspection/examination by the Chief Technical Examiner / Technical Examiner, Central Vigilance Commission, Govt. of India or by an Auditor, Officer of the vigilance Cell of the Authority, on behalf of the Engineer-in-charge. The Contractor will be required to extend all co-operation, assistance and facilities for such inspection and thereafter complying their observation. All the observation of such authorities will be final and binding on the Contractor. If as a result of this examination or otherwise any sum is found to have been overpaid or over certified it shall be lawful for the owner to

recover the same. The owner shall have also right to cause a technical scrutiny of the works and the bills of the contractor including all supporting vouchers, challans, abstracts etc. If as a result of this scrutiny any sum is found to have been overpaid or over certified it shall be lawful for the owner to recover the same.

GOVERNMENT AND LOCAL RULES:-

The Contractor shall confirm to the provisions of all local Bye-laws and Acts relating to the work and to the Regulations etc. of the Government and Local Authorities and of any company UNDER WHOSE JURISDICTION the work is to be carried out. The Contractor shall give all notices required by said Act, Rules, Regulations and Bye-laws etc. and pay all fees payable to such Authority/authorities for execution of the work involved. The cost, if any, shall deemed to have been included in his quoted rates, taking into account all liabilities for licenses, fees for footpath encroachment and restoration etc. And shall indemnify the owner against such liabilities and shall defend all actions arising from such claims or liabilities.

THE RIGHT TO SITE OF CLIENT

  - The Client reserves the right to use the premises and any portion of site for execution of any work not included in this contract which the Client may desire to get executed by other agencies. The Contractor shall allow all reasonable facilities for the execution of such work but shall not be required to provide any plant or materials for which work except by special arrangement with the Client in such a manner as not to impede the progress of the works included in this contract and the Contractor shall not be responsible for any damage or delay which may happen or be occasioned by such work.

- The Contractor shall not be permitted to enter on (other than for inspection purpose) or take possession of site until instructed to do so by PMC/Client in writing. The portions of the site to be occupied by the Contractor shall be defined and / or marked on the site plan failing which these shall be indicated by the PMC/Client at site and the operations beyond the areas, in respect of any land permitted by the Client for the use of the Contractor for the purpose of or in connection with the contract, the same shall be subject to the following and such other terms and condition as may be imposed by Client. The use or occupations of such shall not confer any right of tenancy of the land to the Contractor.

- The Contractor shall have no right to put up any construction of his own of any nature or type on Client’s land except temporary constructions for storage of equipment for the work under the contract or as a resting place for the labourers employed by him for the work provided that he obtain the requisite previous permission they would be entitled to refuse in their absolute discretion. Such construction will be erected at the contractor’s

own cost. If any electricity is used in any such construction the Contractor shall pay for the same. The Contractor shall at his own cost demolish all such constructions and remove the debris thereof. As also all his materials and equipment and clean and level the site thereof before handing over the completed work to the PMC/Client.

- The Client shall be entitled to and will be at liberty to occupy even the partially completed portion of the work by themselves or through their agents and servants if they so desire. Necessary extension of time for completing the work shall, however, be granted to the Contractor but he shall have no claim for any compensation whatsoever due to the delay, if any involved in completing the work on account of partial occupation.

MOCK – UP

The Contractor shall prepare a mock – up of each item, if required, strictly in accordance with the specifications free of cost, for approval of PMC/ Client/Architect/ Structural Consultant. The work on these items shall proceed further only after the approval of the mock – up.

LIASIONING WITH STATUTORY AUTHORITIES

The Contractor shall be responsible for taking all the approvals / NOC’s from the statutory bodies like ADA, CFO Fire Departments, UPSEB/TORRENT, MININING DEPT Offices or any other Statutory approval authority and the official charges of these departments shall be reimbursed by the Bank on production of necessary documentary evidence in the form of challans& receipts. The successful contractor will indemnify the Bank / Architect for any problems arising out of such approvals. Also the out-of-pocket expenditure for getting such approvals / NOC’s shall be managed and paid by the contractor and no extra claim whatsoever shall be entertained. The Architect shall assist the contractor in making available the necessary drawings proposed by him for submission to these departments if required and the Bank shall make the contractors

available the necessary documents / papers required for submission. However the necessary follow-up / Liasioning shall be the responsibility of the contractor.

Any damage arising out of strict action of any of these departments shall be the sole liability of the contractor.

  - Contractor to liaison and obtain required permissions/royalties from local statutory authorities for carrying out the entire work. All required documentation that will be necessary for obtaining the requisite permissions from the concerned office shall be prepared and submitted by the Contractor. Any statutory fees that may arise in lieu of obtaining permission from RDA will be paid by Client against demand notice issued.

- The work shall be considered “Virtually Complete” only after the Contractor submits to Client the following documents obtained by him :

Drainage Completion Certificate and septic tank Completion Certificate by the Local ADA Corporation.

Approval for obtaining dry fittings & wet fitting permission and permanent water supply connection.

Necessary Certificate under prevailing section of RDA Act from the concerned Municipal Authority for adequate water supply to the building.

NOC from concerned Fire Authority (Under chief fire Officer or as applicable) towards compliance of the conditions of the fire fighting system specified by the authority for the building.

To assist Client and provide necessary Liasioning with the Agra Development Authority for obtaining Plinth completion and Occupation Certificate & / or building Completion Certificate as applicable as per the bye-laws.

DECLARATION:-

I / We have inspected the site of works and have made me/us fully acquainted with the local conditions in and around the sites works. I / We hereby declare that I/We have gone through the conditions laid down in the Notice Inviting Tender, General Conditions of Contract, Technical Specifications and understood the same on the basis of the same I / We quoted our rates in the schedule of quantities with the tender document.

I / We shall also uniformly maintain such progress with the work, as may be directed by the Owner to ensure completion of the same within the target date as mentioned in the tender document.

Date

Signature of Tenderer

Witness :	Address

LETTER OF ACCEPTANCE FOR SUBMISSION OF TENDER

From,

___________________________

___________________________

___________________________

To:

The General Manager,

UCO Bank ,

Zonal  Office,

Bhubaneswar.

Sub : FOR REPAIRING OF CIVIL & PH WORK OF BANK'S ZONAL  OFFICE  AT  BHUBANESWAR

Dear Sir,

Having examined the tender document Contained hereto relating to the repairing of Zonal  office buildings comprising of the Tender Notice, General and Special Conditions of Contract, Specifications, Schedule of Quantities etc., having understood the provisions and requirements relating to the project, having conducted a thorough study of the job, location of site, availability of power supplies, transportation and communication facilities, availability and accessibility of materials, and all other factors governing the project, We hereby submit our offer for the execution of the proposed work in accordance with the terms and conditions and within the time period specified in the time schedule, specifications, designs, drawings as specified in tender document at the rates (all inclusive) quoted by me / us in the accompanying BOQ of Financial BID.

I / We undertake to do all extra works which may be assigned to us as a part of this contract, at the rates quoted in the tender document. If after the tender document is accepted, I / We fail to commence the execution of the works within 10 days, we agree that the Bank shall have full authority to forfeit the earnest money deposited and award the contract to any other contractor they deem fit.

| General description of work |  | Tender for Repairing of Civil & PH work of Zonal office at Bhubaneswar. |
| --- | --- | --- |
| EMD |  | Rs17,900.00 by NEFT/RTGS drawn in favour of Uco Bank payable at Bhubaneswar. |
| Initial security deposit |  | The amount of ISD shall be 2% of the accepted value of the tender |
|  |  | including EMD. |
| Date of commencement |  | 3rd day from the date of acceptance of work order |
| Time for completion of work |  | As per time schedule given in tender document i.e. 1months. |
| Retention money to be deducted |  | 8% of the certified gross value of each running bill, till accumulating total |
| from the bills |  | security deposit including ISD. |
| Total | Security Deposit/ | 5% of Contract amount |
| Retention Money |  |  |
| Defect Liability Period |  | 365 days (twelve months) from the date of virtual completion of the work. |
| Period of Final Measurement |  | 2 months. |
| Liquidated damages |  | Shall be 1% of contact amount per week of delay subject to ceiling of |
|  |  | 10% of the accepted contract amount. |
| Value of works for Interim |  | Value not less than Rs. 10lacs only or as decided by the Bank. |
| Certificates |  |  |
| Payment after virtual completion |  | 50% of total security deposit will be returned after (i) issue of virtual completion certificate by the project architect. (ii) contractor‟s removal of his material, equipments, cleaning of site and against Bank Guarantee. Balance 50% of retention money shall be released 14 days after satisfactory completion of defect liability period. |
| Recovery towards taxes. |  | As per rules applicable from time to time. |

Should this tender be accepted, I /We hereby agree to abide by and fulfill all terms and conditions referred above / in the tender and in default thereof, to forfeit and pay to the Uco Bank such sums of money as are stipulated in the conditions contained in the tender document.

I / We agree to abide by this tender for a period of 120 days from the date of opening of the financial bid. I /we also agree to pay the ISD as specified in the Tender.

If I /We fail to commence the work as specified in the memorandum above or if I/We fail to deposit the amount of initial security deposit specified in the memorandum I /We agree that the said the Uco Bank Commerce, without prejudice to any other right or remedy, be at liberty to forfeit the said Earnest money in full.

The said Uco Bank shall also be at liberty to cancel the letter of acceptance of tender if I /We fail to execute an agreement or to start the work as stipulated in the tender documents or fail to deposit the amount of initial security deposit as specified in the memorandum.

I/We agree that the Uco Bank reserves the right to accept the tender in whole or in part or split the works under separate contracts or accept or reject any or all the tenders without assigning any reason whatsoever thereof.

I/ We are aware that the branch & offices are functioning from the building and I/we will have to plan the activities accordingly so that the entire work is completed in all respects within the stipulated time limit. No complaint on this account shall be made by us. I /we will have to protect our works by covering the exterior/ interior façade of the building with waterproofing material. No extra cost will be paid for the same by the Bank.

I/ We are aware that the quantities mentioned in the tenders are indicative and the same can be increased or decreased depending on the requirement of the Bank and as per the site conditions. I/ we will not seek compensation for the same and execute the additional quantities at the tender rates.

The names of the partner of the firm or the person authorized to sign the contract having power of attorney to sign are,------------------------- (Certified copy of the power of attorney is enclosed hereto).

Yours Faithfully

Signature of the tenderer with seal

Place	Date

Witness –Signature	:	Address:

Name in Block letters	:	Occupation

ARTICLES OF AGREEMENT

(On stamp paper of Rs.100/-)

ARTICLE OF AGREEMENT made this .......................day of Two Thousand Nineteen BETWEEN the  Uco Bank  Bhubaneswar Region of Commerce, a company incorporated under the Banking Companies acquisition & Transfer of Undertaking) Act, 1980 and having its Corporate Office ………………………………………….hereinafter called “Employer” (which expression shall include its successors and assigns wherever the context or meaning shall so require or permit, of the one part and .................. .............................. ............... (hereinafter called the “Contractor”)

(which expression shall include its successors and assigns wherever the context or meaning shall so require or permit) of the other part.

WHEREAS the Employer is desirous of carryout Repairing of Civil & PH work of Zonal  office at Bhubaneswar and has got drawings, specifications and the bill of quantities prepared by their Architects/Consultants which have been signed or on behalf of the parties hereto.

AND WHEREAS the Contractor has agreed to execute upon and subject to the conditions set forth herein and to the conditions set forth in the special conditions and in the Bill of Quantities and conditions of contract (all of which are collectively hereinafter referred to as “The said terms & conditions”, the works, shown upon the said drawings and/or described” in the said specifications and included in the said bill of quantities at the respective rates therein set forth amounting to the sum as therein arrived at or such other sum as shall become payable there under (herein after referred to as the said “contract value”).

NOW IT IS HEREBY AGREED AS FOLLOWS:

- In consideration of the said Contract Value to be paid at the times and in the manner set forth in the said terms & conditions; the contractor shall upon and subject to the said terms & conditions execute and complete the works shown on the said drawings, and described in the specifications and/or bill of quantities.

- The Employer shall pay the contractor The Said Contract Value or such other sum as shall become payable at times and in the manner specified in the said terms & conditions.

- The said terms & conditions and Appendices thereto shall be read and construed as forming part of this Agreement and the parties hereto shall respectively abide by submit themselves to the said terms & conditions and perform the agreements on their part respectively in the said terms & conditions contained.

- The contract is neither a fixed lump sum contract nor a piece work contract but is a contract to carry out the work in respect of the entire work as defined in the contract documents to be paid for according to actual measured quantities at the rates contain in the bill of quantities or as provided in the said contract documents.

- The contract shall afford every reasonable facility for the carrying out of all works relating to the work in the manner laid down in the said conditions, and shall make good any damages done to walls, floors, etc. after the completion of such works.

- The Employer reserves to itself the right of altering the Drawings and nature of the work by adding to or omitting any items of work or having portions of the same carried out without prejudice to this Contract.

- Time shall be considered as the essence of this Contract and the Contractor hereby agrees to commence the work from date of Letter of Acceptance and to complete the entire work within 12 weeks subject nevertheless to the provision for extension of time.

- All payments by the Employer under this contract will be made only at Bhubaneswar

- All disputes arising out of or in any connected with this agreement shall be deemed to have arisen at Bhubaneswar and only court in Bhubaneswar shall have jurisdiction to determine the same.

- That the several parts of this Contract have been read by the Contractor and fully understood by the Contractor. The Contractor shall not be entitled for the payment for the quantities beyond the tendered quantities unless ordered for by specific written instructions from the Architect / Engineer.

IN WITNESS WHEREOF THE Employer and the Contractor have set their respective hands to these presents and two duplicates hereof the day and year first hereinabove written. (If the contractor is a partnership or an individual).

IN WITNESS WHEREOF the Employer has set its hand to these presents through its duly authorized official and the Contractor has caused its common seal of to be affixed hereunto and the said two duplicates/has caused these presents and the said two duplicates hereof to be executed on its behalf, the day and year first hereinabove written (If the Contractor is a company).

Signature Clause

SIGNED AND DELIVERED by the UcoBank  by the hand of

Shri__________________________

(Name and Designation)

____________________________ in

the presence of

(1)________________________

Address____________________

(2)________________________

Address____________________

Witness

SIGNED AND DELIVERED BY	If	the	party	is	a	partnership	firm	of	an

______________________________

in the presence of

(1) ______________________________

Address _________________________

- ______________________________

Address _________________________

Witness

THE COMMON SEAL OF __________

Was hereunto affixed pursuant to the resolutions passed by its Board of Directors at the meeting held on

________________ in the presence of

- ______________________________

- ______________________________

Directors who have signed these presence in token thereof in the presence of

- _______________________________

- _______________________________

individual should be signed by all or on behalf of all partners.

If the contractor signs under its common seal the signature clause should tally with the sealing clause in the Articles of Association.

SIGNED AND DELIVERED by the contractor by the hand of Shri

______________________________

And duly constituted attorney

If the Contractor is signing by the hand of power of attorney whether a company or individual

GENERAL CONDITIONS OF CONTRACT

- Definition of Terms:

In construing these conditions, the Specifications, Bill of quantities and Contract Agreement etc. the following words shall have the meaning herein assigned to them except where the subject or context otherwise requires.

  - (a)The Bank: The term Bank shall mean Uco Bank , a body corporate constitutedunder Banking Company (Acquisition & Transfer of Undertaking) act 1980, having its head office at ……………………….- the employer or their authorized representative to act on their behalf.

i (b)	Architects:	The	term	Architects	shall	mean	M/s	Techno	Arch,	,	having	its	office	at

Plot No. 71/7, Jadupur , Bhubaneswar-19  and	their	authorised	nominees	and

representatives or such other firms / persons, as shall be nominated by the Employer. “PMC” means Project Management consultant in case appointed by the Bank for the project.

i (c)	Engineer: Architect / PMC/ Bank‟s Engineer appointed by the Employer for the supervision of thework..

- (a)    "Contractor" shall mean:-

  - In the case of a Partnership firm:- --------------------------------- ----------------- and -----------------------

trading as partners in the name and style of ------------------------------------ and having a place of business at --- ----------------- and shall include the partners for the time being of the said firm and the legal representatives of a deceased partner.

  - In the case of individual Contractor:- Shri ____________ trading in the name and style of

_______________________________________ and shall include his heirs, successors and legal successors and legal representatives.

  - In   the   case   of   Company:-   _________________   a   company   incorporated   under

__________19___  and  having  its  registered  office  at  ________________  and  office  at

___________________________ and shall include its successors and assignee.

- The tenderer are advised to read all the instructions, term & conditions, additional & general conditions, contract clauses, nomenclature of items, additional specifications, drawings etc. contained in the tender document carefully and visit the site to see existing site conditions and services & inspect the existing building before quoting the rates & no extra claim shall be entertained by the client.

The Contractors are advised to inspect and examine the site and satisfy themselves with the nature of site, the means of access to the site, the constraints of space for stacking material / machinery, labour etc. constraints put by local regulations, if any, weather conditions at site, general ground /

subsoil conditions etc. or any other circumstances which may affect or influence their tenders.

- "Site" shall mean the site of the contract works including any building and erections thereon and any other land (inclusively) as aforesaid allotted by the Employer for the Contractor's use.

- "Contract" shall mean the following documents, all duly signed, collective in that order of precedence.

  - Articles of Agreement

  - Letter of acceptance of tender / award of work

  - Special Conditions of Contract

d)	General conditions of contract including clarifications / conditions accepted after the	Pre-

bid Meeting.

  - Drawings

  - Specifications

  - Bill of Quantities

- "Notice in writing" or "written notice" shall mean a notice in written, typed or printed characters sent (unless delivered personally or otherwise proved to have been received) by registered post to the last known private or business address or registered office of the addressee and shall be deemed to have been received when in the ordinary course of post it would have been delivered.

- " Act of Insolvency" shall mean any Act of Insolvency as defined by the Presidency Towns insolvency Act, or the Provincial Insolvency Act or any Act amending such original.

- " Net Prices" : If in arriving at the contract amount, the Contractor shall have added to or deducted from the total amount of the items in the Tender any sum, either as a percentage or otherwise, then the net price of any item in the tender shall be the sum arrived at by adding to or deducting from the actual figure appearing in the Tender as the price of that item and similar percentage or proportionate sum provided always that in determining the percentage or proportion of the sum so added or deducted by the Contractor, the total amount of any Prime Cost items and provisional sums of money shall be deducted from the total amount of the tender. The expression "net rates" or "net prices" when used with reference to the contract or accounts shall be held to mean rates or prices so arrived at.

- " Works" means the permanent works described in the "Scope of Work" and / or to be executed in accordance with the Contract and includes materials, apparatus, equipment, temporary supports, fittings, and things of all kinds to be provided, the obligations of the Contractor hereunder and work to be done by the Contractor under the contract.

- "Drawings" means the drawings prepared by the Architects and issued by the Architect / PMC/ Bank and referred to in the Specifications and any modification of such drawings and such other drawings as may be issued by the Architect / PMC/ Bank from time to time.

- "Bill of Quantities" means the Schedule and Quantities of items, materials & rates, summaries, etc. as finally accepted.

- "Specification" means the specifications standard specification where so required specification approved by the Architect.

given in these documents including relevant Indian and where such a specification is not available, the

- "Temporary Works" means all temporary works of every kind required in or about the execution, completion or maintenance of the works.

- "Materials" means the materials, apparatus, equipments, fittings, fixtures and all such other material which are incorporated in the 'work".

- "Virtual Completion of the Works" means the completion of the whole of the works substantially in all respects as evidenced by issuance of a Certificate of Virtual Completion by the Architect / PMC/ Bank in pursuance of Clause 31 & 39 of the General Conditions of Contract.

- "Period of Maintenance / Defect Liability Period” shall mean the period of 365. (Three hundred sixty five) days calculated from the date of virtual completion of the works as certified by the Architect / PMC/ Bank.

- "Urgent Works" means any urgent works, which in the opinion of the Architect / PMC/ Employer becomes necessary at the time of execution and / or during the progress of work to obviate any risk of accident or failure or to obviate any risk of damage to the structure or services or required to accelerate the progress of work for which becomes necessary for safety and security or for any other reason, the Architect / PMC/ Bank / Employer may find it necessary.

- "Market Rate" means the rate as decided by the Architect / PMC/ Bank / Employer on the basis of cost of materials at site inclusive of any tax, duty, octroi etc. at the time of execution of work.

- "Approved" means approved in writing; "Approval” means approval in writing.

- "Month" means calendar month.

- "Week" means seven consecutive calendar days.

- "Day" means a calendar day beginning and ending at 00 Hours and 24 hours respectively.

- "Contract Value" means the total value of the tender as accepted by the Employer.

- Interpretations / Marginal Note / Heading / Catch Lines.

The Marginal Notes, Headings and in the catch lines hereto and in the annexures hereto are meant only for convenience of reference and shall not in any way be taken into account in the interpretation of these presents and the annexures hereto. The Contractor will have to carry out and complete the said work in every respect in accordance with this contract.

Words imparting the singular only also include the plural and vice versa where the context requires.

- Language(s)

The language in which the Contract documents shall be drawn up shall be English only.

- Errors, Omissions and Discrepancies

- In case of errors, omissions and / or disagreement between written and scaled dimensions on the drawings or between the drawings and specifications etc., the following order of precedence shall apply :

- Between scaled and written dimension (or description) on a drawing, the later shall be adopted.

- Between the written or shown description or dimensions in the drawings and the corresponding one in the specification the former shall be taken as correct.

- Between the written description of the item in the specifications & descriptions in the Bill of Quantities of the same item, the former shall be adopted.

  - In case of difference between the rates written in figures and words, the rate in words shall prevail.

  - Between the duplicate / subsequent copies of the tender and original tender, the original tender shall be taken as correct.

  - In all cases of omissions and / or doubts or discrepancies in any of the items or specifications, a reference shall be made to the Architect whose elucidation; elaboration or decision shall be considered as authentic and binding.

- Scope of Contract

The Contract comprises the construction, completion and maintenance of the works and except in so far as the Contract otherwise stipulates the provision of all labour, materials, constructional plant, machinery temporary works and everything whether of a temporary or permanent nature required in and for such construction, completion and maintenance so far as necessary for providing the same as specified in or reasonably to be inferred from the Contract.

- (i)Letter of Acceptance / Award

Before signing of the Contract, the Employer shall issue by registered post or by otherwise depositing at the registered office of the Contractor, Letter of Acceptance / Award to enter into a Contract with the Contractor for the execution of the works in accordance with the contract. Until a formal contract agreement is prepared and executed, the tender documents i.e. Volume I, II, III & set of drawings together with the

relevant correspondence exchanged from receipt of the tender to acceptance and together with the Employer's letter of Acceptance / Award shall constitute a binding contract between the parties.

- Contract Agreement

On receipt of intimation from the Employer of the acceptance of his / their tender, the successful tenderer shall be bound to implement the contract and within seven days thereof, the successful tenderer shall sign an agreement in accordance with the draft agreement.

- Integrated Programme Chart

The Contractor shall prepare and submit to the Architect / PMC/ Bank-in-charge, an integrated programme chart within Ten days of the letter of acceptance. The integrated programme chart submitted by the contractor shall not have any discrepancy with the time of completion in the contract agreement. The contractor shall execute the work according to the programme submitted to and approved by the Architect / PMC/ Bank-in-Charge.

- The Contractor shall prepare the integrated programme chart for the execution all the BOQ items showing clearly all activities from the start of work to the completion, with details of requirements of materials, man power, equipments and machinery deployment, required for the completion of the work within the stipulated period and submit the same to the Architect / PMC/ Bank-in-Charge within seventh days after the issue of letter for commencement of work. The Contractor shall also submit monthly programme and progress reports and update / re-schedule on the 5th day of the every month. These shall be submitted by the contractor through electronic media besides forwarding hard copy of the same.

- The integrated programme chart should include the following:

  - Descriptive note explaining sequence of various activities

  - Network (PERT / CPM (on MS Project or Prima Vera as approved by Architect / PMC/ Bank-in-Charge) and BAR CHART).

  - Programme for procurement / deploying of materials and labour including specialized agencies by the Contractors according to the requirements.

  - Programme of procurement / deploying of number of machinery / equipments having adequate capacity, commensurate with the quantum of work to be done within the stipulated period, by the Contractor. If at any time it appears to the Architect / PMC/ Bank-in-Charge that the actual progress of the work does not conform to the approved programme referred above, the Contractor shall prepare and submit a revised programme showing the modification of the approved programme to ensure completion of the work within the stipulated time for completion by deploying additional resources as required to adhere to the stipulated time limit. The Contractor shall therefore control the duration of time for the activities falling on the critical path by generating required resources. Nothing extra shall be payable on this account.

  - The approval by the Architect / PMC/ Bank-in-Charge of such programmes or the furnishing of such particulars shall not absolve or relieve the Contractor of any of his duties or responsibilities under the contract to complete the whole work within the prescribed / stipulated time limit. This is without prejudice to the right of the Architect / PMC/ Bank-in-Charge to take action against Contractor as per terms and conditions of the contract agreement.

- Custody of Drawings & Specifications

The Contract shall be executed in quadruplicate and the Employer, the Architect, the Architect / PMC/ Bank and the Contractor shall be entitled to one executed copy each for their use. The Contractor on the signing hereof shall be furnished by the Architect / PMC/ Bank free of cost two copies of all tender Drawings and all further Drawings issued during the progress of the works. Any further copies of such Drawings required by the Contractor shall be obtained by him from the Architect on payment of necessary charges to be fixed by

the Architect. The Contractor shall keep one copy of all Drawings at the works site and the Employer / Architect / PMC/ Bank shall at all reasonable time have access to the same. Before the issue of the final certificate to the Contractor, he shall forthwith return to the Architect / PMC/ Bank all Drawings and Specifications.

Integrated Service Drawings

Before taking up the work, the contractor shall prepare integrated drawings for various civil and all other services showing details of lay out plan including sectional elevations and submit the same for the approval of Architect / PMC/ Bank-in-Charge. Integrated drawings shall be prepared and submitted by the Contractor as per local Bye- laws and as per the site conditions to facilitate convenient installation as well as maintenance. Nothing extra shall be payable on this account.

For completing the work in time, the Contractor might be required to work in two or more shifts (including night shifts). No claim whatsoever shall be entertained on this account, not with-standing the fact that the Contractor may have to pay extra amounts for any reason, to the labourers and other staff engaged directly or indirectly on the work according to the provisions of the labour and other statutory bodies regulations and the agreement entered upon by the Contractor with them. Nothing extra shall be paid by the employer on this account.

- Disruption of Progress

The Contractor shall give adequate but not less than 4 weeks time written notice to the Architect / PMC/ Bank whenever planning or progress of the Works is likely to be delayed or disrupted unless any further drawing or order, including a direction, instruction or approval, is required to be issued by the Architect / PMC/ Bank. The notice shall include details of the drawing or order required explaining why and by when it is required and of any delay or disruption likely to be suffered if it is late.

- Further Drawings and Instructions

The Contractor shall carry out and complete the said work in every respect in accordance with this Contract and with the directions of and to the satisfaction of the Architect / PMC/ Bank. The Architect / PMC/ Bank may in his absolute discretion and from time to time issue further drawings and / or written instructions, details, directions and explanations which are hereafter collectively referred to as "Architect / PMC/ Bank's Instructions" in regard to:-

- Any discrepancy in the Drawings or between the Bill of Quantities and / or Drawings and / or Specification. BOQ will supersede drawings in case of discrepancy.

- Removal from the site of any material brought by the Contractor which is rejected by Architect / PMC.

- Removal and / or re-execution of any works executed by the Contractor if found not as per specifications / BOQ.

- The dismissal from the works of any persons employed thereupon.

- The opening up for inspection of any work covered up.

- The amending and making good of any defects under Clause 30 hereof.

The Contractor shall forthwith comply with and duly execute any work comprised such Architect / PMC/ Bank's instructions provided always that verbal instructions, directions and explanations given to the Contractor or his representative upon the works by the Architect / PMC/ Bank shall, if involving a variation, be confirmed in writing by the Contractor within seven days, and if not dissented from in writing within a further seven days by the Architect / PMC/ Bank, such shall be deemed to be Architect / PMC/ Bank's instructions within the scope of the Contract.

- Duties of Architect / PMC/ Bank

The duties of the Architect / PMC/ Bank generally are as below but not restricted to these only:

  - Watch, monitor and supervise the works.

- Test and examine materials to be used in the works.

- Check workmanship of the items executed.

- Record and check the measurements.

- Order variation of quantities, items etc. with prior approval of Employer

- Extension of time limit with the approval of Employer

- Record extra item of the work

- Documentation

- Correspondence with contractor

- Ensure compliance with contract conditions and specifications.

The Architect / PMC/ Bank may from time to time in writing delegate to the Architect / PMC/ Bank's representative any of the powers and authorities vested in the Architect / PMC/ Bank and shall furnish to the Contractor a copy of all such written delegations of powers and authorities. Any written instruction or approval given by the Architect / PMC/ Bank's Representative to the Contractor within the terms of such delegation (but not otherwise) shall bind the Contractor and Employer as though it had been given by the Architect / PMC/ Bank.

If the Contractor shall be dissatisfied by reasons of any decision of the Architect / PMC's Representative he shall be entitled to refer the matter to the Bank who shall thereupon confirm, reverse or vary such a decision.

- Contractor's General Responsibilities

The Contractor shall provide at his cost everything necessary for the proper execution of the works according to the intent and meaning of the Drawings, Bill of Quantities and Specifications taken together with whether the same may or may not be particularly shown or described therein provided that the same can reasonably be inferred therefrom, and if the Contractor finds any discrepancy in the Drawings or between the Drawings, Bill of Quantities and Specifications, he shall immediately and in writing refer the same to the Architect / PMC/ Bank who shall decide which is to be followed after consultation with Architect.

The successful tenderer is bound to carry out any items of work necessary for the completion of the job even though such items are not included in the Bill of Quantities and rates. Instructions in respect of such additional items and their quantities will be issued in writing by the Architect / PMC/ Bank with the prior consent in writing of the Employer.

The Contractor must co-operate with the other contractors appointed by the Employer so that the work shall proceed smoothly to the satisfaction of the Architect / PMC/ Bank.

The Contractor must bear in mind that all the work shall be carried out strictly in accordance with the Specifications as given in these documents and also in compliance of the requirements of the local public authorities and to the requirements / satisfaction / direction of the Architect / PMC/ Bank and no deviation on any account will be permitted.

The Contractor shall have to use materials from the makes / manufacturers specified in the list of materials of approved brand and / or manufacture contained in contract documents and as approved by Employer / Architect.

- Safety of Site Operations

The Contractor shall take full responsibility for the safety, stability and adequacy of all site operations and methods of construction including all temporary works, provided that the Contractor shall not be responsible, except as may be expressly provided in the Contract, for the design or specification of the permanent works. The contractor shall maintain safety as per Standard Industrial Safety Code or any other Code approved by the Architect / PMC/ Bank.

- Watching & Lighting

The Contractor shall in connection with the Works provide and maintain at his own cost adequate lights, guards, fencing, warning signs and watch & ward staff when and where necessary or as directed by the Architect / PMC/ Bank or as directed by duly constituted authority for the protection of the works or for the safety and convenience of the public or pilferage of materials from site.

- Care of Works

From the commencement to the certified completion of the whole of Works, the contractor shall take full responsibility for the care thereof and of all Temporary Works and in case any damage loss or injury shall happen to the works or to any part thereof or to any Temporary Works from any cause whatsoever the Contractor shall at his own cost repair and make good the same so that on completion, the works shall be in good order and condition and in conformity to every respect with the requirements of the Contract and the Architect / PMC/ Bank's instructions. The Contractor shall also be liable for any damage to the Works occasioned by him including his subcontractors in the course of any operations carried out by him for the purpose of completing any outstanding work and complying with his obligations under Clause 32 hereof. The Contractor shall indemnify the Employer from all risks on this account.

- (i)Contractor's Senior Representative for Execution & Coordination of Works

The Contractor shall have on site at all times during working hours throughout the course of the Contract at least one competent senior representative who shall be empowered to make decisions binding on the Contractor in respect of all matters likely to arise in connection with the execution & coordination of the Works at site and shall keep the Architect / PMC and the Employer informed at all times about the name and designation of such representative. Contractor's Senior Representative shall have the power to take joint measurement and sign the measurement books / bills.

Any directions, explanations, instructions or notices given by the Architect / PMC/ Bank to such representative shall be held to be given to the Contractor.

  - Contractor's Employees

The Contractor shall provide and employ after approval from the Architect / PMC/ Bank on the site in connection with the execution, completion and maintenance of the Works all Enginners / technical assistants as are qualified, skilled and experienced in their respective trades, foremen and leading hands as are competent to give proper supervision, ensuring quality & output to the work they are required to supervise, and also such skilled, semi-skilled and unskilled labour as are necessary for the proper and timely execution, completion and maintenance of the works.

- Removal of Contractor's Employees

The Contractor shall on the direction of the Architect / PMC/ Bank immediately dismiss from the works any person employed thereon by him who may, in the opinion of the Architect / PMC/ Bank, be incompetent or misconduct himself and such person shall not be again employed on the works without the permission of the Architect / PMC/ Bank.

- Unauthorized Persons

No unauthorized persons are to be allowed on the site. The Contractor shall instruct all such persons to keep out and shall take steps to prevent trespassing.

- Compliance with Statutes, Regulations, Etc.

The Contractor shall conform to the provisions of any Act of the legislature relating to the works, and to the regulations and bye-laws of any authority, and of any water, electric supply and other companies and / or authorities with whose systems the structure is proposed to be connected, and shall, before making any variations from the Drawings or Specifications that may be necessitated by so regulations, give to the Architect / PMC/ Bank written notice, specifying the variation proposed to be made and the reason for making it and apply for instructions thereon. In case, the Contractor shall not within ten days of submission of such notice, receive such instructions, he shall proceed with the work conforming to the provisions,

regulations, or bye-laws in question, and any variation so necessitated shall be dealt with under Clause 28 thereof.

The Contractor shall bring to the attention of the Architect / PMC/ Bank all notices required for execution by the said Acts, regulations or bye-laws to be given to any authority and pay to such authority, or to any public office all fees that may be properly chargeable in respect of the works, and lodge the receipts with the Architect / PMC/ Bank for reimbursement at actual.

- Setting Out

The Contractor shall set out the works and shall be responsible for the true and perfect setting out of the same and for the correctness of the positions, levels, dimensions, and alignment of all parts thereof. If at any time any error in this respect shall appear during the progress of the works or within the defects liability period the Contractor shall, if so required, at his own expense rectify such error to the satisfaction of the Architect / PMC/ Bank.

- (i)Quality of Materials & Workmanship & Test

All materials and workmanship shall be the best of the respective kinds described in the Con-tract and in accordance with the Architect / PMC/ Bank's instructions and shall be subjected from time to time to such tests as the Architect / PMC/ Bank may direct at the place of manufacture or fabrication or on the Site or at an approved testing laboratory.

The Contractor shall upon the instruction of the Architect / PMC/ Bank furnish him with documentation to prove that the materials & goods comply with the requirements of contract and for requirement stated above. The Architect / PMC/ Bank may issue instruction in regard to removal of material from site or any work, if these are not in accordance with the Contract. The Contractor shall provide such assistance instruments, machinery, labour and materials as are normally required for examining, measuring, sampling and testing any material or part of work before incorporation in the works for testing as may be selected and required by the Architect / PMC/ Bank.

  - Samples

All samples of adequate numbers, sizes, shades & pattern as per specification shall be supplied by the Contractor without any extra charge. Apart from adhering to any special provision made in the specifications regarding submission of samples the contractor shall within 7 days of his receipt of Letter of Acceptance, provide to the Architect samples alongwith the detailed literature of all materials he proposes to use in the work irrespective of the fact that a specific make / material might have been stipulated. If certain items proposed to be used are of such nature that samples cannot be presented or pre pared at the site, detailed literature / test certificate of the same shall be provided to the satisfaction of the Architect / PMC/ Bank. Before submit ting the samples / literature, the contractor shall satisfy himself that the material

- equipment for which he is submitting the samples / literature meet with the requirement of the specification. The Architect / PMC/ Bank shall check the samples and give his comments and / or approval to the same. Only when the samples are approved in writing by the Architect / PMC/ Bank, the contractor shall proceed with the procurement and installation of the particular material / equipment. The approved samples shall be signed by the Architect / PMC/ Bank for identification and shall be kept on record at site office until the completion and acceptance of the work and shall be available at the site for inspection / comparison at any time. The contractor shall keep with him a duplicate of such samples to enable him to process the matter.

For items of work where the samples are to be made at the site, the same procedure shall be followed. All such samples shall be prepared at a place where it can be left undisturbed until the completion of the project.

The Architect / PMC/ Bank shall communicate their comments / approval to the Contractor to the samples at his earliest convenience. Any delay that might occur in approving of the samples for reasons of its not meeting with the specifications or other discrepancies, inadequacy in furnishing samples of best qualities from various manufacturers and such other aspects causing delay on the approval of the materials /

equipments, etc. shall be to the account of the contractor. In this respect the decision of the Architect / PMC/ Bank/Architect shall be final.

On delivery of the supplies of materials / equipment for permanent works at the site, the contractor shall specifically arrange to get the supply inspected by the Architect / PMC/ Bank and compared with the approved sample and his specific approval obtained before using the same in the work.

- Cost of Tests

The cost of making any test shall be borne by the Contractor if such test is intended by or provided for in the Specification or Bill of Quantities.

- Costs of Tests not provided for, etc.

If any test is ordered by the Architect / PMC/ Bank which is either

  - not so intended by or provided for or

  - (in the cases above mentioned) is not so particularised, or

  - though so intended or provided for but ordered by the Architect / PMC/ Bank to be carried out by an independent person at any place other than the site or the place of manufacture of fabrication of the materials tested or any Government / approved Laboratory, then the cost of such test shall be borne by the Contractor.

- Absence of Specification

If the specifications do not contain particulars of materials and works which are obviously necessary for the proper completion of the works, and the intention to include, which is inferred, all such materials and works shall be supplied and executed by the Contractor without extra charge. If the Contractor requires additional information, he shall, in pursuance of Clause 7.0 hereof, so request in writing well in advance to commencement of the particular work to the Architect / PMC/ Bank who will issue such detailed information as necessary within a reasonable time.

- Obtaining Information's Related to Execution of Work

No claim by the contractor for additional payment will be entertained which is consequent upon failure on his part to obtain correct information as to any matter affecting the execution of the works, nor will any misunderstandings or the obtaining of incorrect information or the failure to obtain correct information relieve him from any risks or from the entire responsibility for the fulfillment of the contract.

- Contractor's Superintendence

The Contractor shall give all necessary personal superintendence during the execution of the works, and as long, thereafter, as the Architect / PMC/ Bank may consider necessary until the expiry of the "Defects Liability Period" stated hereto.

- Access for Inspection

The Employer, the Architect, the Architect / PMC/ Bank and their respective representatives shall at all reasonable times have free access to the work and / or to the workshops, factories or other places where materials are lying or from which they are being obtained and the Contractor shall give to the Employer, the Architect, the Architect / PMC/ Bank and their representatives every facility necessary for checking measurements, inspection and examination and test of the materials and workmanship. No person not authorized by the Employer or the Architect or the Architect / PMC/ Bank except the representatives of public authorities shall be allowed on the works at any time.

- (i)Examination of Work Before Covering Up

No work shall be covered up or put out of view without the approval of the Architect / PMC/ Bank and the Contractor shall afford full opportunity for the Architect / PMC/ Bank to examine and measure any work which is about to be covered up or put out of view and to examine foundations before permanent work is

placed thereon. The Contractor shall give due notice to the Architect / PMC/ Bank of any such work or foundations is or are ready or about to be ready for examination and the Architect / PMC/ Bank shall without unreasonable delay, unless he considers it unnecessary and advises the Contractor accordingly, attend for the purpose of examining and measuring such work or for examining such foundations.

- Uncovering and making openings

The Contractor shall uncover any part or parts of the Works or make openings in or through the same as the Architect / PMC/ Bank may from time to time direct and shall reinstate and make good such part or parts to the satisfaction of the Architect / PMC/ Bank. If any such part or parts have been covered up or put out of view after compliance with the requirements of sub-clause (i) of this Clause and are found to be executed in accordance with the contract the expenses of uncovering, making openings in or through reinstating and making good the same shall be borne by the Employer but in any other case all such expenses shall be borne by the Contractor and shall be recoverable from him by the Employer or may be deducted by the Employer from any monies due or which may become due to the Contractor.

- Assignment

The whole of the works included in the contract shall be executed by the Contractor and the Contractor shall not directly or indirectly transfer, assign or sublet the contract or any part / share thereof or any interest therein without the prior written consent of the Employer / Architect and no undertaking shall relieve the Contractor from the full and entire responsibility of the contract or from active superintendence of the works during their progress.

- Quantities

The quantities shown in the schedule of quantities are intended to cover the entire new structure indicated in the drawings but the Employer reserves the right to execute only a part or the whole or any excess thereof without assigning any reason therefor.

- Works to be Measured

The Architect / PMC/ Bank may from time to time intimate to the Contractor that he requires the works to be measured, and the Contractor shall forthwith attend or send a qualified Representative to assist the Architect / PMC/ Bank in taking such measurements and calculations and to furnish all particulars or to give all assistance required by any of them.

Should the Contractor not attend or neglect or omit to send such Representative, then the measurement taken by the Architect / PMC/ Bank or a person approved by him shall be taken to be correct measurements of the works. Such measurements shall be taken in accordance with the Mode of Measurements detailed in the Specifications.

The Architect / PMC/ Bank shall take joint measurements with the contractor and the measurements shall be entered in the measurement book / sheet by the Architect / PMC/ Bank's representative.

The Contractor or his Representative may at the time of measurement take such notes and measurements as he may require.

All authorised extra works, omissions and all variations made without the Architect / PMC/ Bank's knowledge, but subsequently sanctioned by him in writing (with the prior approval in writing of the Employer) shall be included in such measurements.

- Claims

The Contractor shall send to the Architect / PMC/ Bank once in every month an account giving particulars as complete and fully detailed as required of all claims for any additional expenses claims, to which the Contractor may consider himself entitled and of all extra or additional / substituted work ordered by the Architect / PMC/ Bank which he has executed during the preceding month subject of provisions under relevant clauses of contract hereof, and no claim for payment for any such work will be considered which has not been included in such particulars. Provided always that the Architect / PMC/ Bank shall be entitled to authorize payment to be made for any such work notwithstanding the Contractor's failure to comply with

this condition, if the Contractor has, at the earliest practicable opportunity notified the Architect / PMC/ Bank in writing that he intends to make a claim for such work and thereafter send complete and detailed particulars of the claim to the Architect / PMC/ Bank as directed by the Architect / PMC/ Bank but not later than 10 days from the date of notification of his claim.

- Variations

No alteration, omission or variation ordered in writing by the Architect / PMC/ Bank shall vitiate this contract. In case the Employer / Architect / PMC/ Bank thinks proper at any time during the progress of the works to make any alterations in, or additions to or omissions from, the works or any alteration in the kind or quality of the materials to be used therein, the Architect / PMC/ Bank shall give notice thereof in writing to the Contractor or shall confirm in writing within seven days of giving any such oral instructions. The Contractor shall alter, add to, or omit from, as the case may be, in accordance with such notice, but the Contractor shall not do any work extra to or make any alterations or additions to or omissions from the works or any deviation from any of the provisions of the Contract, stipulations, Specification or Contract Drawings without the previous consent in writing of the Architect / PMC/ Bank and the value of such extras, alterations, additions or omissions shall in all cases be determined by the Architect / PMC/ Bank in accordance with the provisions of Clause 28 hereof, and the same shall be added to or deducted from the Contract value, as the case may be.

- Valuation of Variations

No claim for an extra shall be allowed unless it shall have been executed under authority of the Architect / PMC/ Bank with the concurrence of the Employer as herein mentioned. Any such extra is herein referred to as authorized extra and shall be made in accordance with the following provisions.

  - (i) The net rates or prices in the contract shall determine the valuation of the extra work where such extra work is of similar character and executed under similar conditions as the work priced herein.

    - Rates for all items, wherever possible, should be derived out of the rates given in the Priced Bill of Quantities.

  - The net prices of the original tender shall determine the value of the items omitted, provided if omissions do not vary the conditions under which any remaining items of works are carried out, otherwise the prices for the same shall be valued under sub-clause (c) hereof.

  - Where the extra works are not of similar character and / or executed under similar conditions as aforesaid or where the omissions vary the conditions under which any remaining items or works are carried out, then the contractor shall within 7 days of the date of receipt of order to carry out the work, inform the Architect / PMC/ Bank of the rate which he intends to charge for such items of work, supported by analysis of the rate or rates claimed and the Architect / PMC/ Bank shall fix such rate or prices as in the circumstances in his opinion are reasonable and proper, based on the market rate.

  - Where extra work cannot be properly measured or valued, the Contractor shall be allowed day work prices at the net rates stated in the tender of the Priced Bill of Quantities or, if not so stated, then in accordance with the local day work rates and wages for the district; provided that in either case, vouchers specifying the daily time (and if required by the Architect / PMC/ Bank, the workman's names) and materials employed be delivered for verification to the Architect / PMC/

Bank at or before the end of the week following that in which the work has been executed.

  - It is further clarified that for all such authorized extra items where rates cannot be derived from tender, the Contractors shall submit rates supported by rate analysis worked on the "market rate basis", for material, labour, hire / running charges of equipment and wastages etc. plus 15% towards establishment charges, contractor's overheads and profit. Such items shall not be eligible for escalation.

The measurement and valuation in respect of the Contract shall be completed within the "Period of Final Measurement" stated in the Appendix or if not stated then within six months of the completion of the Contract works as defined in Clause 39 hereof.

- Work is to be Carried Out to the Satisfaction of Architect / PMC/ Bank

The Contractor shall carry out all the works strictly in accordance with Drawings, detailed Specifications and instructions of the Architect / PMC/ Bank. If in the opinion of the Architect changes have to be made in the works, the Contractor shall carry out the same, and payment, if any, arising out of these shall be made as per the terms of the contract.

- (i)   Removal of Improper Work & Materials

The Architect / PMC/ Bank shall, during the progress of the works, have power to order in writing from time to time the removal from the works within such reasonable time or times as may be specified in the order, of any materials which in the opinion of the Architect / PMC/ Bank are not in accordance with the Specifications or the instructions of the Architect / PMC/ Bank, the substitution of proper materials, and the removal and proper re-execution of any work executed with materials or workmanship not in accordance with the Drawings and Specifications or instructions, and the Contractor shall forthwith carry out such order at his own cost. In case of default on the part of the Contractor to carry out such order, the Employer shall have the power to employ and pay other persons to carry out the same, and all expenses consequent thereon, or incidental thereto, as certified by the Architect / PMC/ Bank shall be borne by the Contractor, or may be deducted by the Employer from any moneys due, or that may become due, to the Contractor.

- Default of Contractor in Compliance

If the Contractor after receipt of written notice from the Architect / PMC/ Bank requiring compliance within ten days fails to comply with such further drawings and / or Architect / PMC/ Bank's instructions the Employer may employ and pay other persons to execute any such work whatsoever that may be necessary to give effect thereto, and all costs incurred in connection therewith shall be recoverable from the Contractor by the Employer on the Certificate of the Architect / PMC/ Bank as a debt or may be deducted by him from any moneys due to the Contractor.

- Inspection & Testing During Manufacture

The Architect / PMC/ Bank shall be entitled during manufacture to inspect, examine and test on the Contractor's premises during working hours the materials and workmanship and check the progress of manufacture of all fabrication materials / items to be supplied under the Contract, and if part of the said materials / items are being manufactured on other premises the Contractor shall obtain for the Architect / PMC/ Bank permission to inspect, examine and test as if the said Plant were manufacturing on the Contractors premises. Such inspection, examination or testing if made shall not relieve the Contractor from any obligation under the Contract.

- Dates for Inspection & Testing

The Contractor shall agree with the Architect / PMC/ Bank the date on and the place at which any plant / works will be ready for testing as provided in the Contract and unless the Architect / PMC/ Bank shall attend at the place so named on the date agreed the Contractor may proceed with the tests, which shall be deemed to have been made in the Architect / PMC/ Bank's presence, and shall forthwith forward to the Architect / PMC/ Bank duly certified copies of the test readings. The Architect / PMC/ Bank shall give the Contractor 24 hours notice in writing of his intention to attend the tests. All costs of testing shall be borne by the contractor. All outstation travel expenses shall be borne by the owner but in case re-inspections are required as per clause No. 30 (ix) the travel expenses shall be on contractors account.

- Facilities for Testing at Manufacturer's Works

Where the Contract provides for tests on the premises of the Contractor or of any sub-contractor the Contractor shall provide such assistance, labour, materials, electricity, fuel, stores, apparatus and instruments as may be requisite and as may be reasonably demanded to carry out such tests efficiently.

  - Certificate of Testing

As and when fabricated materials shall pass the tests referred in this, the Architect / PMC/ Bank shall furnish to the Contractor a certificate in writing to that effect.

  - Rejection

If as a result of such inspection, examination or test of the works (other than a Test on Completion under Clause 17.0) the Architect / PMC/ Bank shall decide that such material is defective or not in accordance with the Contract he shall notify the Contractor accordingly stating in writing his objection and reasons therefore. The Contractor shall with all speed make good the defect or ensure that the material complies with the Contract. Thereafter, if required by the Architect / PMC/ Bank, the tests shall be repeated under the same terms and conditions save that all reasonable expenses to which the Employer may be put by the repetition of the tests shall be deducted from the Contract Sum.

  - Delivery of Materials & Equipment

Unless the Architect / PMC/ Bank shall otherwise direct, no material shall be delivered to site until the Architect / PMC/ Bank shall have issued, in respect of such material, a certificate under Clause 30 (vi) (Certificate of Testing). Likewise Fabricated Materials or Contractor's Equipment shall be delivered to Site only upon an authorization in writing applied for and obtained by the Contractor from the Architect / PMC/ Bank.

The Contractor shall be responsible for the reception on site of all Materials and Contractor's Equipment delivered for the purposes of the Contract.

  - Inspection & Testing and Re-inspection & Re-testing

All deficiencies revealed by testing and inspection shall be rectified by the Contractor at his own expense and to the satisfaction and approval of the Architect / PMC/ Bank. Rectified components shall be subject to retesting and re-inspection.

  - Inspection Reports

The Contractor shall provide the Architect / PMC/ Bank with five copies of reports of all inspections and tests.

- Virtual Completion Certificate

The Architect / PMC/ Bank shall issue the virtual completion certificate when in his opinion, the works have been substantially completed in all respects and necessary approvals are obtained by the Contractor. The Defects Liability Period shall commence from the date of virtual completion as certified by the Architect / PMC/ Bank.

- Defect Liability Period

Any defect or other faults which may appear within the "Defects Liability Period" stated in the Appendix hereto or, if none stated, then within 365 days after the date of the virtual completion of the works as certified by the Architect / PMC/ Bank, arising in the opinion of the Architect / PMC/ Bank from materials or workmanship not in accordance with the contract, shall upon the direction in writing of the Architect / PMC/ Bank, and within such reasonable time as shall be specified therein, be amended and made good by the Contractor, at his own cost and in case of default the Employer may employ and pay other persons to amend and make good such defects or other faults, and all damages, loss and expenses consequent thereon or incidental thereto shall be made good and borne by the Contractor and such damage, loss and expenses shall be recoverable from him by the Employer or may be deducted by the Employer, upon the Architect / PMC/ Bank's Certificate in writing, from any money due or that may become due to the

Contractor, or the Employer may in lieu of such amending and making good by the Contractor deduct from any monies due to the Contractor, a sum, to be determined by the Architect / PMC/ Bank equivalent to the cost of amending such work and in the event of the amount retained under Clause 46 hereof being insufficient, recover the balance from the Contractor, together with any expenses the Employer may have incurred in connection therewith. Should any defective work have been done or material supplied by any Sub-Contractor employed on the works who has been nominated or approved by the Architect / PMC/ Bank, the Contractor shall be liable to make good in the same manner as if such work or material had been done or supplied by the Contractor and been subject to the provisions of this Clause and Clause 29 hereof. The Contractor shall remain liable under the provisions of this Clause notwithstanding the signing of any certificate or the passing of any accounts, by the Architect / PMC/ Bank. The Contractor will not be responsible for defects arising out of fair wear & tear & damage caused by Employer's personnel during the use of the building after being occupied.

- Approval Only by No Dues Certificate

  - Final Completion Certificate

On successful completion of entire works covered by the Contract to the full satisfaction of Employer / Architect / PMC/ Bank, the Contractor shall ensure that the following works have been completed to the satisfaction of Architect / PMC/ Bank : (a) clear the site of all scaffolding, wiring, pipes, surplus materials, Contractor's labour, equipment and machinery (b) demolish, dismantle and remove all Contractor's site offices and other temporary works, structures and constructions and other items and things whatsoever brought upon or erected at the site or any land allotted to the Contractor by the Owner and not incorporated in the permanent works (c) remove all rubbish, debris etc. from the site and the land allotted to Contractor and shall clear, level and dress, compact the site as required and said land to the satisfaction of the Architect / PMC/ Bank (d) shall put the Owner in undisputed custody and possession of the site and all land allotted by the Owner to the Contractor (e) All defects / imperfections have been attended & recti-fied to full satisfaction of the Architect / PMC/ Bank during the Defect Liability Period.

Unless the Contractor shall have fulfilled the provisions of the clause, the works shall not be deemed to have been completed.

Upon the satisfactory fulfillment by Contractor as stated above, the Contractor shall be entitled to apply to the Architect / PMC/ Bank for a Final Completion Certificate in respect of the entire work.

If the Architect / PMC/ Bank is satisfied of the completion of the work relative to which the Completion Certificate has been sought, the Architect / PMC/ Bank shall within 14 (fourteen) days of the receipt of the application for Completion Certificate, issue a Completion Certificate in respect of the works for which the Completion Certificate has been applied.

This issuance of a Completion Certificate shall be without prejudice to the Employer's rights and Contractor's liabilities under the Contract, including the Contractor's liability for the Defect Liability Period nor shall the issuance of a Completion Certificate in respect of the works or work at any site be construed as a waiver of any right or claim of the Employer against the Contractor in respect of work or the works at the site and in respect of which the Final Completion Certificate has been issued.

- No Dues Certificate

The Contract shall remain valid and shall remain incomplete until no dues Certificate shall have been signed by the Architect / PMC/ Bank and delivered to the Employer with a copy to the contractor. Such a certificate shall be given by the Architect / PMC/ Bank within 30 days of completion of defects liability period (the last period to be considered if different periods to be considered if different parts of the work) or within 30 days from the date of payment of final bill whichever is later.

34.	(i)	Basic Cost

The material(s) required for execution of any item for which a sum has been provided as a basic cost price in the tender, shall be procured by the contractor on Employer‟s instruction from an agency nominated by

the Employer. Every sum in the bill of quantities which contains either as a whole or part the amount as prime cost price of the materials shall be varied by substitution of the actual cost of the materials.

No variation shall be made in respect to the percentage quoted for labour and to cover for overheads & profits on account of variation in the prices, as above. The basic price of the material shall be inclusive of all taxes and the cost has to be verified from the actual purchased bills. The billed amount shall be finalized as per the basic cost in bothe ways i.e. plus or minus from the quoted rates.

- Provisional Sums

Every provisional sum other than Prime Cost items under sub-clause (i) of this clause set out in the Bill of Quantities whether for work to be executed by the Contractor which has not been specified in detail when the Contract is entered into or for work to be executed by a nominated Sub-Contractor as hereinafter defined together with the charges and profits, if any, which the Contractor shall have added to such sums shall be deducted from the Contract Value and in lieu thereof shall be added to the Contract Value.

- Where work to which the provisional sum relates has been ordered by the Architect / PMC/ Bank and executed by the Contractor the value of the work so executed valued in accordance with Clause 47(iii) hereof and

- Various items together with lump sum amounts for each of them have been indicated under a separate heading of Provisional Sums, in the B.O.Q. These items are such for which details have not been finalized when the contract is entered into. These items will be got executed either through the Contractor or through a nominated Sub-Contractor, entirely at the discretion of the Employer and shall be paid on the basis of actual cost of each item plus a percentage rate to be quoted by the Contractor to cover his efforts towards co-ordination / assistance including his overheads and profits. No claim shall be entertained if any or all items under the heading of provisional sums are deleted by the Employer from the scope of work to be executed by the Contractor. No further escalation shall be payable on these items. The amounts for these items shall not be considered for variation in contract value as per Clause 24 of GCC.

  - Use of Provisional Items

All sums set out in the Bill of Quantities which shall be stated to be Provisional shall be used only at the direction & sole discretion of the Employer / Architect / PMC/ Bank and if not used either wholly or in part, unused amount shall be deducted from the Contract Value. The provisional sum as well as payments made to contractor for assistance / co-ordination / carrying out of works therein shall not be considered for deciding variation in contract value as per Cl. 24 of GCC.

- Production of Vouchers, Etc.

The Contractor shall when required by the Employer / Architect / PMC/ Bank produce all quotations, invoices, vouchers and accounts or receipts in connection with expenditure in respect of Provisional sums or Prime Cost items.

- Nominated Sub-Contractors / Objection to Nomination

All Specialists, Merchants, Tradesman and others executing any work of supplying and fixing any goods for which prime cost items or provisional sums are included in the Bill of Quantities and / or Specification who may be nominated or selected by the Employer / Architect are hereby declared to be Sub-Contractors employed by the Contractor and are herein referred to as nominated Sub- Contractors.

No nominated Sub-Contractor shall be employed on or in connection with the works against whom the Contractor shall make reasonable objection or (save where the Architect / PMC/ Bank and Contractor shall otherwise agree) who will not enter into a contract providing:

- That the nominated Sub-Contractor shall indemnify the Contractor against the same obligations in respect of the Sub-Contract as the Contractor is under in respect of this contract.

- That the nominated Sub-Contractor shall indemnify the Contractor against claims in respect of any negligence by the Sub-Contractor, his servants or agents or any misuse by him or them of any scaffolding or other plant, the property of the Contractor or under any Workmen's Compensation Act in force.

  - Payment shall be made to the nominated Sub-Contractor within fourteen days of his receipt of payment from the Employer provided that before any Certificate is issued, the Contractor shall upon request furnish to the Architect / PMC/ Bank proof that all nominated Sub-Contractor's accounts included in previous certificates have been duly discharged, in default whereof the Employer may pay the same upon a Certificate of the Architect / PMC/ Bank and deduct the amount thereof from any sums due to the Contractor. The exercise of this power shall not create privity of contract as between Employer and Sub-Contractor.

- Work by Other Agencies

The Employer / Architect reserves the right to use premises and any portions of the site for the execution of any work not included in this contract which it may desire to have carried out by other persons simultaneously, and the Contractor shall allow all reasonable facilities for the execution of such work and carry out his work in coordination / cooperation with other agencies, but shall not be required to provide any plant or material for the execution of such work except by special arrangement with the Employer. Such work shall be carried out in such manner as not to impede the progress of the works included in the Contract and the Contractor shall not be responsible for any damage or delay which may happen to or occasioned by such work

- Insurance Policies

The Contractor shall be responsible for all injury or damage to persons, animals or things, and for all damage to property which may arise from any factor / omission on the part of the Contractor or any Sub-Contractor or any nominated Sub-Contractor or any of their employees. The liability under this clause shall cover also, interalia any damage to structures, whether immediately adjacent to the works or otherwise, any damage to roads, streets, footpaths, bridges as well as damage caused to the building and other structures and works forming the subject matter of this contract. The Contractor shall also be responsible for any damage caused to the buildings and other structures and works forming the subject matter of this contract due to rain, wind, fire, flood or high tide or other inclemency of weather. The Contractor shall indemnify and keep indemnified the Employer and hold him harmless in respect of all and any loss and expenses arising from any such injury or damage to persons or property as aforesaid and also against any claim made in respect of injury or damage, whether under any statute or otherwise and also in respect of any award or compensation or damage consequent upon such claims. The Contractor shall, at his own expense, effect and maintain till issue of the virtual completion certificate under this contract, with an insurance company approved by the Employer, an All Risks Policy (CAR Policy) for Insurance for an amount equal to 125% of Contract value including earthquake risk in the joint names of the employer and the contractor (the name of the former being placed first in the policy) against all risk as per the standard all risk policy for Contractors and deposit such policy or policies with the employer before commencing the works.

The Contractor shall reinstate all damage of every sort mentioned in this clause so as to do delivery of the whole of the works complete and perfect in every respect and so as to make good or otherwise satisfy all claims for damage to property or third parties.

The Contractor shall also indemnify and keep indemnified the Employer against all claims which may be made against the Employer by any person in respect of anything which may arise in respect of the works or in consequence thereof and shall at his own expense, effect and maintain until the virtual completion of the contract, with an Insurance Company approved by the employer a third party insurance policy in the joint names of the Employer and the contractor (name of the former being placed first in the policy) against such risks and deposit such policy or policies before commencement of the works. The minimum limit of the coverage under the policy shall be Rs. 5.00 lacs per person for any one accident or occurrence and Rs. 20.00 lacs in respect of damage to property for any one accident or occurrence. The Contractor shall also indemnify the employer against all claims which may be made upon the Employer, whether under the Workmen's Com-pensation Act or any other statute in force, during the currency of this contract or at Common Law in respect of any employee of the Contractor or of sub-contractor and shall be at his own expense effect and maintain until the virtual completion of the contract, with an Insurance Company,

approved by the Employer, a policy of Insurance against such risks and deposit such policy or policies with the Employer from time to time during the currency of this contract.

In default of the contractor insuring as provided above, the employer may so insure and may deduct the premiums paid from any money due or which may become due to the contractor.

The contractor shall be responsible for any liability which may not be covered by the Insurance Policies re-ferred to above and also for all other damages to any person, animal or defective carrying out of this contract, whatever, may be the reasons due to which the damage shall have been caused.

The contractor shall also indemnify and keep indemnified the Employer against all and any costs, charges or expenses arising out of any claim or proceedings relating to the works and also in respect of any award of damage or compensation arising there from.

Without prejudice to the other rights of the employer against contractors in respect of such default, the employer shall be entitled to deduct from any sums payable to the contractor the amount of any damages, compensation costs, charges & other expenses paid by the employer and which are payable by the contractor under this clause.

The Contractor shall upon settlement by the Insurer of any claim made against the insurer pursuant to a policy taken under this clause, proceed with due diligence to rebuild or repair the works destroyed or damaged. In this event all the monies received from the Insurer in respect of such damage shall be paid to the Contractor and the Contractor shall not be entitled to any further payment in respect of the expenditure incurred for rebuilding or repairing of the materials or goods destroyed or damaged.

The Contractor, in case of re-building or reinstatement after damage shall be entitled to such extension of time for completion as the Architect / PMC/ Bank may deem fit, but shall, however, not be entitled to reimbursement by the employer of any shortfall or deficiency in the amount finally paid by the insurer in settlement of any claim arising as set out herein.

Without prejudice to his liability under this clause, the contractor shall also cause all nominated sub-contractors to effect, for their respective portions of the works, similar policies of insurance in accordance with the provisions of this clause and shall produce or cause to produce to the employer such policies. The contractor shall not permit a nominated sub-contractor to commence work at the site unless the said insurance policies are submitted. In the event of failure of the sub-contractor to take out such a policy of insurance before commencing the works at the site, the contractor shall be responsible for any claim or damage attributable to the said sub- contractor.

- Commencement of Works

Within 3 days from the date of issue of acceptance letter, the contractor shall begin the works and shall regularly proceed with and complete the same on or before the "Date of Completion" stated in the Appendix subject nevertheless to the provisions for extension of time hereinafter contained.

- (i) Possession of Site

Save in so far as the Contract may prescribe the extent of portions of the Site of which the Contractor is to be given possession from time to time and the order in which such portions shall be made available to him and subject to any requirement in the Contract as to the order in which the Works shall be executed, the Employer will within 3 days from the Architect / PMC written request to commence the Works give to the Contractor possession of so much of the Site as may be required to enable the Contractor to commence and proceed with the programme referred to in Clause 50 hereof (if any) and otherwise in accordance with such reason able proposals of the Contractor as he shall, by notice in writing to the Architect / PMC/ Bank, make & will from time to time as the Works proceed give to the Contractor possession of such further portions of the Site as may be required to enable the Contractor to proceed with the construction of the Works with due dispatch in accordance with the said programme or proposals (as the case may be).

Since the branch & offices are working from the same premises, the contractor will have to plan the activities accordingly so that the entire work is completed in all respects within the stipulated

time limit. No complaint on this account shall be entertained. The furnishing contractor will have to protect his works by covering the exterior/ interior façade of the building with waterproofing material. No extra cost will be paid for the same.

If the Contractor suffers delay or incurs expense from failure on the part of the Employer to give possession in accordance with the terms of this clause the Architect / PMC/ Bank shall grant an extension of time for the completion of the works without any compensation for delay.

- Way leaves, etc.

The Contractor shall bear all expenses and charges for special or temporary way leaves required by him in connection with access to the Site. The Contractor shall also provide at his own cost any additional accommodation outside the Site required by him for the purpose of the Works.

- Time for Completion

The entire work i.e works mentioned in the tender document is to be completed in all respects within the time stated in Appendix to "Form of Tender" or such extended time as may be allowed under clause 40 hereof. Time is the essence of the contract and shall be strictly observed by the contractor.

If required in the contract or as directed by the Architect / PMC/ Bank, the contractor shall complete certain portion of the work before the completion of the whole of the work. However the completion date for whole of the work shall not change.

- Extension of Time for Completion

If in the opinion of the Architect / PMC/ Bank the works be delayed for reasons beyond the control of the contractor, the Architect / PMC/ Bank may make a fair and reasonable extension of time for completion of the contract works.

If the Contractor needs an extension of time for the completion of the work or if the completion of work is likely to be delayed for any reasons beyond the due date of completion stipulated in the contract, the Contractor shall apply to the Employer for extension of time in writing at least 30 days before the expiry of the scheduled time and while applying for extension of time, Contractor shall furnish the reasons in detail and his justification, if any, for the delays. While granting extension, the Architect / PMC/ Bank shall notify the contractor the period of time which will not qualify for levy of liquidated damages.

For the balance period in excess of original stipulated period and authorized extension of time granted i.e. period not qualifying for levy of liquidated damages, by the Employer, the provision of liquidated damages as stated under Clause 43 will become applicable.

Further, the contract shall remain in force even for the period beyond the due date of completion irrespective whether the extension is granted or not.

- (i)   Rate of Progress

The whole of the materials, plant and labour to be provided by the Contractor and the mode, manner and speed of execution and maintenance of the Works are to be of a kind and conducted in a manner to the satisfaction of the Architect / PMC/ Bank. Should the rate of progress of the Works or any part thereof be at any time be in the opinion of the Architect / PMC/ Bank too slow to ensure the completion of the whole of the Works by the prescribed time or extended time for completion, the Architect / PMC/ Bank shall so notify the Contractor in writing and the Contractor shall thereupon take such steps as considered necessary by the Architect / PMC/ Bank to expedite progress so as to complete the Works by the prescribed time or extended time for completion. Such communications from the Architect / PMC/ Bank neither shall relieve the contractor from fulfilling obligations under the contract nor he will be entitled to raise claims arising out of such directions.

- Work during Night or on Holidays

Subject to any provision to the contrary contained in the Contract none of the permanent work shall save as herein provided be carried on during the night or on Holidays without the permission in writing of the Architect / PMC/ Bank, save when the work is unavoidable or absolutely necessary for the saving of life or property or for the safety of the Works in which case the Contractor shall immediately advise the Architect /

PMC/ Bank.Provided always that the provisions of this clause shall not be applicable in the case of any work, which becomes essential to carry out by rotary or double shifts in order to achieve the progress & quality of the part of the works being technically required / continued with the prior approval of the Architect / PMC/ Bank.

All work at night shall be carried out without unreasonable noise & disturbance and with the approval of the Architect / PMC/ Bank & in addition that of the local authority, if so applicable. The Contractor shall indemnify the Employer from and against any liability for damages on account of noise or other disturbance created while or in carrying out the work and from and against all claims, demands, proceedings, costs, charges & expenses whatsoever in regard or in relation to such liability.

- Suspension of Work

The Contractor shall on the written order of the Architect / PMC/ Bank suspend the progress of the Works or any part thereof for such time or times and in such manner as the Architect / PMC/ Bank may consider necessary and shall during such suspension properly protect and secure the work so far as is necessary in the opinion of the Architect / PMC/ Bank. The extra cost including all running wages to be paid on the Site, salaries, depreciation and maintenance of plant, Site on costs and overhead costs of the Contract relatable to the works done or incurred by the Contractor in giving effect to the Architect / PMC/ Bank's instructions under this Clause shall, be borne and paid by the Employer unless such suspension is :

  - otherwise provided for in the Contract or

  - necessary by reason of inclement weather conditions affecting adversely the safety or quality of the Works.

or

  - necessary by reason of some default on the part of the contractor

Provided that the Contractor shall not be entitled to recover any such extra cost unless he gives notice in writing of his intention to claim to the Architect / PMC/ Bank within 28 days of the Architect / PMC/ Bank's order. The Architect / PMC/ Bank shall settle and determine such extra payment and / or extension of time under relevant Clause hereof to be made to the Contractor in respect of such claim as shall in the opinion of the Architect / PMC/ Bank be fair and reasonable and the Architect / PMC/ Bank's decision shall be final and binding.

- Incentive for early completion and Liquidated Damages for Delay:

In case the contractor completes the work ahead of scheduled completion time, a bonus @ 1% (one per cent) of the tendered value per month computed on per day basis, shall be payable to the contractor, subject to a maximum limit of 5% (five per cent) of the tendered value. The amount of bonus, if payable, shall be paid along with final bill after completion of work.

If the Contractor fails to complete the works by the period stated in the Appendix or within any extended time under Clause 40 hereof and the Architect / PMC/ Bank certifies in writing that in his opinion the same ought to have been reasonably completed by the original completion date or extended completion date, as the case may be, the Contractor shall pay the Employer the sum named in the Appendix as "Liquidated Damages" for the period during which the said works shall so remain incomplete or the Employer may deduct such damages from any monies due to the Contractor.

- (i)Default of Contractor

If the Contractor being an individual or a firm commits any "act of insolvency", or shall be adjudged an insolvent or being an Incorporated Company shall have an order for compulsory winding up made against it as pass an effective resolution for winding up voluntarily or subject to the supervision of the Court and the Official Assignee or the Liquidator in such acts of insolvency or winding up, as the case may be, shall be unable within seven days after notice to him requiring him to do so, to show to the reasonable satisfaction of the Architect / PMC/ Bank that he is able to carry out and fulfill the Contract and to give security therefore, if so required by the Architect / PMC/ Bank.

Or if the Contractor (when an individual, firm or incorporated Company) shall suffer execution or other process of Court attaching property to be issued against the Contractor.

Or shall suffer any payment under this Contract to be attached by or on behalf of any of the creditors of the Contractor.

Or shall assign or sublet this Contract without the consent in writing of the Employer.

Or shall charge or incumber this Contract or any payments due or which may become due to the Contractor hereunder.

Or if the Architect / PMC/ Bank shall certify in writing to the Employer that the Contractor.

- Has abandoned the Contract, or

- Has failed to commence the works, or has without any lawful excuse under these conditions suspended the progress of the works for fourteen days after receiving from the Architect / PMC/ Bank's notice to proceed with the work

or

- Has failed to proceed with the works with such due diligence and failed to make such due progress as would enable the works to be completed within the time agreed upon,

or

- Has failed to remove materials from the site or to pull down and replace work for seven days after receiving from the Architect / PMC/ Bank written notice that the said materials or work were condemned and rejected by the Architect / PMC/ Bank under these conditions,

or

- Has neglected or failed persistently to observe and perform all or any of the acts, matters or things by this contract to be observed & performed by the Contractor for seven days after written notice shall have been given to the Contractor requiring the Contractor to observe or perform the same.

Then and in any of the said cases the Employer may, notwithstanding any previous waiver, after giving seven days notice in writing to the Contractor, determine the Contract, but without thereby affecting the powers of the Architect / PMC/ Bank or the obligations and liabilities of the Contractor, the whole of which shall continue in force as fully as if the Contract had not been so determined, and as if the works subsequently executed had been executed by or on behalf of the Contractor. And further, the Employer by his agents or servants may enter upon and take possession of the works and all plants, tools, scaffoldings, sheds, machinery, steam and other power utensils and materials lying upon the premises or the adjoining lands or roads and use the same as his own property or may employ the same by means of his own servants and workmen in carrying on and completing the works or by employing any other Contractor shall not in any way interrupt or do any act, matter or thing to prevent or hinder such other Contractor or other person or persons employed for completing and finishing or using the materials and plant for the works. When the works shall be completed or as soon, thereafter, as convenient the Architect / PMC/

Bank shall give a notice in writing to the Contractor to remove his surplus materials and plant and should the Contractor fail to do so within a period of fourteen days after receipt thereof by him, the Employer may sell the same by public auction, and give credit to the Contractor for the net amount realised. The Architect / PMC/ Bank shall, thereafter, ascertain and certify in writing under his hand what (if anything) shall be due or payable to or by the Employer, for the value of the said plant and materials so taken possession of by the Employer and the expense or loss which the Employer shall have been put to in procuring the works to be completed and the amount, if any, owing to the Contractor and the amount which shall be so certified shall thereupon be paid by the Employer to the Contractor or by the Contractor to the Employer, as the case may be, & the Certificate of the Architect / PMC/ Bank shall be final and conclusive between the parties.

  - Default of Employer

If the payment of the amount payable by the Employer under Certificate of the Architect / PMC/ Bank shall be in arrears and unpaid for thirty days after notice in writing requiring payment of the amount as aforesaid shall have been given by the Contractor to the Employer, or if the Employer interferes with or obstructs the issue of any such Certificate, or if the Employer shall repudiate the Contract, or if the works be stopped for three months under the order of the Architect / PMC/ Bank or the Employer or by any injunction or other order of any Court of Law, then and in any of the said cases, the Contractor shall be at liberty to determine the Contract by notice in writing to the Employer, through the Architect / PMC/ Bank, and he shall be entitled to recover from the Employer, payment for all works executed at site. All other expenditures to be borne by the Contractor.

In arriving at the amount of such payment the net rates contained in the Contractor's original Tender shall be followed or where the same may not apply valuation shall be made in accordance with Clause 28 hereof.

- (i)Determination of Contract

The Employer shall in addition to any other power enabling him to determine the Contract have power to determine the Contract at any time by giving not less than fourteen (14) days notice in writing to the Contractor and on the expiry of such notice the Contractor shall (with the exception of this clause and clause 44 hereof) forthwith determine but without prejudice to the claims of either party in respect of any antecedent breach thereof.

- Compliance with Architect / PMC/ Bank's Direction on Determination

If the Contract shall be determined under the provisions of the clause 45 (i) the Contractor shall with all reasonable dispatch comply with the directions of the Architect / PMC/ Bank in respect to :

  - Cancellation of outstanding commitments

  - Performance of further work required for the protection of work executed.

  - The removal of Constructional Plant Temporary Works and materials from the Site

  - Any other matters arising out of the Contract with regard to which the Architect / PMC/ Bank decides that directions are necessary or expedient.

- Payment on Determination

In the event of the Contract being determined under the provisions of this Clause the sum payable to the Contractor shall be such sum as would have been payable under Clause 47 hereof as if the contract had been determined by the Employer under the provision of Clause 45 hereof and

  - The reasonable cost of complying with the Architect / PMC/ Bank's directions under sub-clause (ii) hereof and

  - Such reasonable sum as may be agreed between the parties or in default of agreement settled by arbitration in respect of the Contractor‘s overheads including any sums properly and necessarily incurred as the direct result of such determination.

  - The Architect / PMC/ Bank has a right to ascertain the happening of any contingency, including but not limited to the contingencies listed below, which would vest in the Employer certain powers including, but not limited to, taking possession of the work so far as it has been performed, and to completing the work either by himself or by employing some other Agency, retaining property of the Contractor, such as materials, plant or money already due to the Contractor:

    - Failure of Contractor to proceed with or complete the works in the time or manner stipulated

    - Contractor's bankruptcy

    - Failure of Contractor to commence the work

    - Failure of Contractor to regularly proceed with the work for a certain fixed period.

    - Failure of Contractor to proceed to the satisfaction of the Employer or the Architect / PMC/ Bank

    - Failure of Contractor to proceed with the work for any reason independent of prevention by Employer

    - If in the Architect / PMC/ Bank's opinion, the Contractor is not exercising due diligence and proceeding with such dispatch as will enable the works to be duly completed in time

    - Failure of Contractor in complying with the orders and directions given by the Architect / PMC/ Bank

    - Failure of Contractor in complying with the Specification, stipulations, conditions or Drawings

    - The Contractor being guilty of any default in the fulfillment of the contract

    - The Contractor leaves the work unfinished

    - Failure of Contractor, after due notice, to rectify defective work

    - The Contractor renouncing materials from site and

    - Failure of Contractor to maintain the works

- Security Deposit / Retention Money

In addition to the Initial Security Deposit further security for the due fulfillment of the contract by the Contractor, 8% of the value of the work done will be deducted by the Employer from each payment to be made to the Contractor towards retention money until the retention money amounts to 5% of the contract value (excluding the cost of Operation & Annual Maintenance Contract) including the initial Security Deposit. On the Architect / PMC/

Bank's issuing a certificate of virtual completion of the works, 50% of the security deposit shall be released to the contractor, and the remaining 50% will be released by the Employer after the Contractor obtains the no dues certificate from the Architect / PMC/ Bank subject to Clause 33. The amounts retained by the Employer shall not bear any interest.

All compensation or other sums of money payable by the Contractor to the Employer under the terms of this contract may be deducted from the security deposit if the amount so permits and the Contractor shall, unless such deposit has become otherwise payable, within ten days after such deduction make good in cash the amount so deducted.

The security deposit of the contractor will be forfeited if he fails to comply with any of the conditions of the contract.

- Certificates & Payment

  - Secured Advance on Materials at Site

The Contractor will be paid secured advance against the materials brought and stacked at site for use in permanent works and in the opinion of the Architect / PMC/ Bank are required to be procured in advance. The advance paid for the materials stacked at site shall be maximum 75% of the cost of the materials or 60% of the relevant item rate, whichever is less at the discretion of Architect / PMC/ Bank and the Contractor shall produce necessary vouchers / documents in support of cost of each material. No advance shall be admitted for perishable and materials procured prematurely as decided by the Architect / PMC/ Bank.

Where in any Certificate (of which the Contractor has received payment), the Architect / PMC/ Bank has included the value of any unfixed materials intended for and / or placed on or adjacent to the works such materials shall become the property of the Employer and they shall not be removed except for use upon the works, without the written authority of the Architect / PMC/ Bank. The Contractor shall be liable for any loss of or damage to, such materials.

The materials shall also be in conformity with contract specifications and of approved quality as stated in relevant clauses hereof. These advance shall be made on the basis of the quantity of each material lying at site at the time of preparation of each interim bill. The Contractor shall sign indemnity bond for any loss either due to theft or fire etc.

- Running Bill Payments

  - The Contractor shall be paid by the Employer from time to time by installments under Interim Certificate to be issued by the Architect / PMC/ Bank to the Contractor on account of the works executed when in the opinion of the Architect / PMC/ Bank, work to the approximate value named in the Appendix to form of tender "Minimum value of Work for Interim Certificate" (or less at the sole discretion of the Architect / PMC/ Bank) has been executed in accordance with this contract, subject to a retention of the percentage of such value named in the Appendix to form of tender hereto as ‗Retention Percentage for Interim Certificates‘ until the total amount retained shall reach the sum named in the Appendix to form of tender as ‗Security Deposit‘.

  - The contractor shall be paid two bills in a month, which shall include work done and secured advance against material. If in the opinion of the Architect / PMC/

Bank the progress of the work warrants a third payment in a month, the same shall be so arranged by the Employer.

    - After submission of bill along with complete information, vouchers, etc. to the satisfaction of the Architect / PMC/ Bank & after making necessary deductions toward Income Tax, Work Contract Tax & other recoveries deductible at source, the bill will be paid as follows:

      - An adhoc payment of 75% of the value of work done as assessed by the Architect / PMC/ Bank shall be released within 15 working days by the Employer, after certification by the Architect / PMC/ Bank who will certify within 7 working days of submission of Bill including furnishing of all relevant documents.

      - Balance amount shall be certified by the Architect / PMC/ Bank within 10 working days of submission of bill and payment shall be released by the Employer within 15 working days of certificate receipt.

  - Final Bill

    - The Contractor shall submit final bill within 45 days from the date of issue of virtual completion certificate with all relevant information's and details including as-built drawings, operation and maintenance manual, photographs etc. complete. The last date of submission of all relevant documents shall be reckoned as the date of final submission.

    - The Architect / PMC/ Bank within 45 days of submission of the final bill, shall issue a certificate of payment against the final bill to the Employer who shall thereupon, within 45 days from the date of receipt of the certificate, shall release the balance payment to the contractor after effecting all recoveries, including advances & payments against interim certificates.

  - The Architect / PMC/ Bank shall have power to withhold Certification if the works or any parts thereof are not being carried out to his satisfaction.

  - The Architect / PMC/ Bank may by any Certificate make any correction in any previous Certificate, which shall have been issued by him.

  - No payment shall be made to the Contractor if the Contractor fails to insure the works & keep them insured till the issue of the Virtual Completion Certificate.

- Settlement of Disputes and Differences

- The Contractor shall try to settle all matters pertaining to this contract first with the Architect / PMC/ Bank. The decision of the Architect / PMC/ Bank may be in the form of a certificate, instruction or otherwise. The decision, opinion, direction, certificate for payment with respect to all or any of the matters under Clauses 18, 30, 31 and 32 hereof (which matters are hereinafter referred to as excepted matters) of the Architect / PMC/ Bank shall be final and conclusive and binding on the Contractor and Employer and shall be without appeal.

- All other disputes and differences of any kind whatsoever between the Contractor and the Architect / PMC/ Bank arising out of or in connection with the contract or carrying out the works (whether during progress of work or within defects liability period and whether before or within 365 days of determination / abandonment / breach of the contract) shall then be referred by the Contractor to the Employer giving interalia full

details of matter under dispute and the reasons thereof. The Employer shall within a period of 60 days from the receipt of such reference from the contractor, give his decision in writing. If the Contractor is dissatisfied with the decision of the Employer, he can refer the matter for arbitration by serving a written notice on the Employer, through the Architect / PMC/ Bank within a period of 28 days of such decision. The notice shall specify the matters with full details and amount, which are in dispute and referred for arbitration.

- Arbitration

All disputes or difference of any kind whatsoever which shall at any time arise between the parties hereto touching or concerning the works or the execution thereof of this maintenance thereof of this contract or the construction remaining operation or effect thereof or to the rights or liabilities of the parties or arising out of or in relation thereto whether during or after determination, foreclosure or breach of the contract (other than those in respect of which the decision of any person is by the contract expressed to be final and binding) shall after written notice by either party to the contract to the other of them and to the *Appointing Authority who shall be appointed for the purpose by the Employer (Uco Bank ) be referred for adjudication to a sole Arbitrator to be appointed as hereinafter provided.

  - Appointing Authority

The Appointing Authority will be the Zonal  Manager Uco Bank Zonal  Office at C-2 Ashoka Nagar, Bhubaneswar.

The names of the Arbitrator will be selected from one of the following disciplines, in order of preference:

- Retired High Court / Supreme Court Judges, who have experience in handling Arbitration cases.

  - Members of the Council of Arbitration.

- Fellow of Institution of Architect / PMC/ Banks.

- Eminent retired Chief Architect / PMC/ Banks from State / Centre / P.W.D. / Public Sector undertakings of good reputation and integrity.

For the purpose of appointing the sole Arbitrator referred to above, the Appointing Authority will send within thirty days of receipt by him of the written aforesaid notice, too the contractor a panel of three names of persons who shall be presently unconnected with the organization for which the work is executed.

The contractor shall on receipt by him of the names as aforesaid, select any one of the persons named to be appointed as a sole Arbitrator and communicate his name to the Appointing Authority within thirty days of receipt by him of the names. The Appointing Authority shall thereupon without any delay appoint the said person as the sole Arbitrator. If the Contractor fails to communicate such selection as provided above within the period specified, the Appointing Authority shall make the selection and appoint the selected person as the Sole Arbitrator.

If the Appointing Authority fails too send to the Contractor the panel of three names as aforesaid within the period specified, the Contractor shall send to the Appointing Authority a panel of three names of persons who shall all be unconnected with either party. The Appointing Authority shall on receipt by him of the names as aforesaid select any one of the persons named and appoint him as sole Arbitrator. If the Appointing Authority fails to select

the person and appoint him as the sole Arbitrator within 30 days of receipt by him of panel and inform the Contractor accordingly, the contractor shall be entitled to appoint one of the persons from the panel as the sole Arbitrator and communicate his name to the Appointing Authority.

If the Arbitrator so appointed is unable or unwilling to act or resigns his appointment or vacates his office due to any reason whatsoever another sole Arbitrator shall be appointed as aforesaid.

The work under the Contract shall, however, continue during the arbitration proceedings and no payment due or payable to the contractor shall be withheld on account of such proceedings.

The Arbitrator shall be deemed to have entered on the reference of the date he issues notice to both parties fixing the date of the first hearing.

The Arbitrator may from time to time, with the consent of the parties, enlarge the time for making and publishing the award.

The Arbitrator shall give a separate award in respect of each dispute or difference referred to him. The Arbitrator shall decide each dispute in accordance with the terms of the contract and give a reasoned award. The venue or arbitration shall be such place as may be fixed by the Arbitrator in his sole discretion.

The fees, if any, of the Arbitration shall, if required to be paid the award is made and published, be paid half by each of the parties. The costs of the reference and of the award including the fees, if any, of the Arbitration who may direct to and by whom and in what manner such costs or any part thereof shall be paid and may fix or settle the amount of costs be so paid.

The award of the Arbitrator shall be final and binding on both parties.

Subject to aforesaid the provision of the Arbitration Act 1996 or any statutory modification or re-enactment there for and the rules made there under, and for the time being in force, shall apply to the arbitration proceeding under this Clause.

In all cases the arbitrator shall give reasons for the award.

It is also a term of the contract that if contractor(s) do / does not make any demand for arbitration in respect of any claim(s) within 90 days of receiving intimation from OBC / Architect that the bill after due verification is passed for payment of a lesser amount, or otherwise, the contractor‟s right under this agreement to refer to arbitration shall be deemed to have been forfeited and OBC / Architect shall be relieved and discharged of their liability under this agreement in respect of such claim(s). Further it is agreed that for the purpose of this clause, such notice is deemed to have been received by the contractor(s) within 2 days of posting of the letter by OBC / Architect or when delivered by hand immediately after receipt thereof by the contractor(s), whichever is earlier. Further, letter signed by the officials of OBC / Architect that the letter was so posted to the contractor(s) shall be conclusive.

- Programme of Works

  - Detailed Programme to be Furnished

Within 15 days of receiving letter of Acceptance / Award the Contractor shall prepare and submit a detailed programme of works in the form of a Bar Chart / Mile stone network showing all activities & the order of procedure in which he proposes to carry

out the works including labour histogram, cash flow and deployment of equipments. Within 15 days from the date of submission, the Architect / PMC/ Bank shall convey to the Contractor his comment / approval on the programme.

The contractor shall be required to submit the PERT / CPM chart for the various activities involved in this work including dependencies etc., and regularly monitor the progress of works accordingly.

  - Programme to be Modified

Subject to the provisions of Clause 39 hereof, if at any time it should appear to the Architect / PMC/ Bank that the actual progress of the works does not conform to the approved programme referred to in sub-clause (i) of this Clause, the Contractor shall produce a revised & detailed pro-gramme showing the modifications to the original programme necessary to ensure the completion of the works within the time for completion as defined in Clause 39 hereof.

- Cash Flow

The detailed programmes shall also show the estimated Cash flow required for each month to complete the works.

- Progress Report

Four copies of monthly progress reports containing the following shall be submitted by the Contractor to the Employer through the Architect / PMC/ Bank on or before the 5th day of the next month.

- Monthly detailed progress report showing the progress of individual activities of programme as achieved at site till such period and being suitably marked on the approved network diagram, or as directed by the Architect / PMC/ Bank, shall be provided by the Contractor indicating the actual state of progress during the course of the contract, together with other details of procurement & delivery schedules of materials / equipments, as required by the Architect / PMC/ Bank.

- Labour report in the form prescribed by the Architect / PMC/ Bank.

- Equipment & machinery report in the form pre scribed by the Architect / PMC/ Bank.

- Supervisory staff report in the form prescribed by the Architect / PMC/ Bank.

- Remedial Measures for covering up delay, if any,.

- Bottlenecks and hindrances,

- Minimum 5 nos. of colour photographs of 7‖ x 5‖ with each report showing the progress of works.

Apart from the above the Contractor shall submit daily report indicating regular deployment of his staff and workers, equipments, important stages of progress, procurement of construction materials etc. as approved by the Architect / PMC/ Bank.

- Urgent Repairs

If by reason of any accident or failure or other event occurring to in or in connection with the Works, or any part thereof, either during the execution of the Works or during the Period of Defect Liability / Maintenance any remedial or other work or repair shall, in the opinion of the Architect / PMC/ Bank be urgently necessary for security and safety of life or for the works or of adjoining property, and the Contractor is unable or unwilling at once to do such work or repair, the Employer may employ his own or other workmen do such work or repair, as the Architect / PMC/ Bank or the Architect / PMC/ Bank's representative may consider necessary. If the work or repair so done by the Employer which is in the opinion of the Architect / PMC/

Bank, the Contractor was liable to do at his own expense under the Contract, all costs and charges incurred by the Employer in so doing shall on demand be paid by the Contractor to the Employer or may be deducted by the Employer from any monies due or which may become due to the Contractor. Provided always that the Architect / PMC/ Bank or the Architect / PMC/ Bank's representative (as the case may be) shall, as soon after the occurrence of any such emergency, as may be reasonably practicable notify, the Contractor thereof in writing.

- Contractor to Search

The Contractor shall, if required by the Architect / PMC/ Bank in writing, search, test as shall be necessary to determine the cause of any defect, imperfection or fault under the directions of the Architect / PMC/ Bank. Unless such defect, imperfection or fault shall be one for which the Contractor is liable under the contract the cost of the work carried out by the Contractor in searchings as aforesaid shall be borne by the Employer. But if such defect, imperfection or fault shall be one for which the Contractor is liable as aforesaid, the cost of the work carried out in searching as aforesaid shall be borne by the Contractor and he shall in such case repair rectify and make good such defect, imperfection or fault at his own expense in ac-cordance with the provisions of Clause 30 hereof.

- Interference with Traffic and Adjoining Properties

All operations necessary for the execution of the Works and for the construction of any Temporary Works shall so far as in compliance with the requirements of the Contract permits be carried on so as not to interfere unnecessarily or improperly with the public convenience or the access to use and occupation of public or private roads and footpaths or to or of properties whether in the possession of the Employer or of any other person and the Contractor shall save harmless and indemnify the Employer in respect of all claims, demands, proceedings, damages, costs, charges and expense whatsoever arising out of or in relation to any such matters in so far as the Contractor is responsible.

- (i) Extraordinary Traffic

The Contractor shall use every reasonable means to prevent any of the highways or bridges communicating with or on the routes to the Site from being damaged or injured by any traffic of the Contractor or any of his sub-contractors and in particular shall select routes and use vehicles and restrict and distribute loads so that any such extraordinary traffic as will inevitably arise from the moving of plant and material from and to the site shall be limited as far as reasonably possible and so that no unnecessary damage or injury may be occasioned to such highways and bridges.

- Special Loads

Should it be found necessary for the Contractor to move one or more loads of pre-constructed units or parts of units of work over the building and in no way should damage the existing structure unless special protection or strengthening is carried out then the Contractor shall adopt proper & adequate measures and shall be responsible for all the costs and consequences thereof.

- Settlement of Extra Ordinary Traffic Claims

If during the carrying out of the works at any time or thereafter the Employer shall receive any claim arising out of the execution by the Contractor of the Works in respect of damage or injury to highways or bridges he shall immediately report the same to the Architect / PMC/ Bank and the Contractor and thereafter the Contractor shall negotiate the settlement of and pay all sums due in respect of such claims and shall indemnify the Employer in respect

thereof and in respect of all claims, demands, proceedings, damages, costs charges and expenses in relation thereto provided always that if and so far as any such claims or part thereof shall in the opinion of the Architect / PMC/ Bank be due to any failure on the part of the Contractor to observe and perform his obligations then the amount certified by the Architect / PMC/ Bank to be due to such failure shall be paid by the Contractor.

55. (i) Contractor to Keep Site Clear

During the progress of the works the Contractor shall keep the site reasonably free from all unnecessary obstruction and shall store or dispose of any constructional plant and surplus materials and clear away and remove from the site any wreckage, rubbish or temporary works which are no longer required.

  - Clearance of Site on Completion

On the completion of the Works the Contractor shall clear away and remove from the site all constructional plant, surplus materials, rubbish and temporary works of every kind and leave the whole of the site and works clean and in a workmanlike condition to the full satisfaction of the Architect / PMC/ Bank / local authorities not later than 30 days from the virtual completion of the works or by such other later date as fixed by the Architect / PMC/ Bank.

- (i) Labour Laws

The Contractor shall observe and strictly adhere to all prevailing labour laws inclusive of Contract Labour (Regulation and Abolition) act of 1970 (latest revision) and other safety regulations.

- Supply of Water

The Contractor shall having regard to local conditions provide on the Site to the satisfaction of the Architect / PMC/ Bank an adequate supply of drinking and other water for the use of the construction purpose and for Contractor's staff, workmen, for the work.

Contractors have to make his own arrangement for the water as directed for local authorities for the furnishing / construction purpose and in no case contractor will be allowed to use the water available / source of water available in Bank‟s premises.

- Festivals & Religious Customs

The Contractor and sub-contractor's agents and employees shall in all their dealings with their workmen and labourers for the time being employed on or in connection with the works have due regard to all recognised festivals and religious and other customs.

  - Epidemics

In the event of any outbreak of illness of an epidemic nature the Contractor shall comply with and carry out such regulations, orders and requirements as may be made by the Government or the local medical or sanitary authorities for the purpose of overcoming the same.

  - Disorderly Conduct

The Contractor shall at all times take all reasonable precautions to prevent any unlawful, riotous or disorderly conduct by or amongst his or his sub- contractor's employees and for the preservation of peace and protection of persons and property in the neighbourhood of the works against the same but the contractor shall not interfere with member of any authorised Police Force who shall have free & undisputed access at all times to any part of the Works in the execution of their duties.

(vi)  Accidents

The Contractor shall immediately on occurrence of any accident at or about the Site or in connection with the execution of the work report such accident to the Architect / PMC/ Bank's representative. The Contractor shall also report such accident immediately to the competent authority whenever such report is required to be lodged by law & take appropriate actions thereof. The Contractor shall submit to the Architect / PMC/ Bank safety statistics as per the format given in ―Annexure F‖.

  - Fair Wages

The Contractor shall in respect of all persons employed by him in factories, workshops or other places occupied or used by him for the execution of the Contract including the Works, pay rates or wages, emoluments and expenses and observe hours and conditions of labour not less favorable than those established for the trade or industry in the district where the work is carried out to which the organ-isations of employers and trade unions representatives or a substantial proportions of the employers and workers engaged in the trade or industry in the district are affiliated. In the absence of such established rates and conditions the Contractor shall pay rates or wages and observe hours and conditions of labour which are not less favourable than the general level of wages, hours and conditions observed in the trades or industries similar to those in which the Contractor is engaged.

The Contractor shall comply with the provision of all labour legislation including the latest requirements of all the Acts, Laws, any Regulation or Bylaws or any local or other statutory Authority applicable in relation to the execution of works, such as:

    - Minimum wages Act, 1948 (Amended)

    - Payment of Wages Act, 1936 (Amended)

    - Workmen‘s Compensation Act, 1923 (Amended Act No 65 of 1976)

    - Contract Labour Regulation & Abolition Act, 1970 and Central Rules 1971 (Amended)

    - Apprentices Act 1961

    - Any other Act or enactment relating thereto and rules framed thereunder from time to time

    - Industrial Employment (standing order) Act, 1946 (Amended)

    - Personal Injuries (Compensation Insurance) Act, 1963 and any modifications thereof & rule made thereunder from time to time.

    - Employees‘ Provident Fund & Miscellaneous Provisions Act, 1952 and amendment thereof.

- Workmen‟s Compensation

If, for any reason, the Employer is obliged, by virtue of the provisions of the Workmen‘s

Compensation Act, 1923, or any statutory modification or reenactment thereof to pay compensation to a workman employed by the Contractor in execution of the works, the Employer shall be entitled to recover from the Contractor the amount of compensation so paid and without prejudice to the rights of the Employer under the said Act. The Employer shall be at liberty to recover such amount or any part thereof by deducting it from the security deposit or from any sum due by the Employer to the Contractor under this Contract or otherwise. The Employer shall not be bound to contest any claim made against it under the said Act, except on the written request of the contractor and upon his giving to the Employer full security to the satisfaction of the Employer for all costs for which the Employer might become liable in consequence of contesting such claim.

- Observance by Sub-Contractors

The Contractor shall be responsible for the observance by sub-contractors employed by him in the execution of this Contract of the provisions hereof and applicable laws, rules and regulations.

- Safety Code

  - First aid appliances including adequate supply of sterilized dressings and cotton wool shall be kept in a readily accessible place.

  - An injured person shall be taken to a public hospital without loss of time, in cases where the injury necessitates hospitalization.

  - Suitable and strong scaffolds should be provided for workmen for all works that cannot safely be done from ground.

  - No portable single ladder shall be over 8 meters in length. The width between the side rails shall not be less than 30 cm. (clear) and the distance between two adjacent rungs shall not be more than 30 cm. When a ladder is used an extra mazdoor shall be engaged for holding the ladder.

  - The excavated material shall not be placed within 1.5 metres of the edge of the trench or half of the depth of trench whichever is more. All trenches and excavations shall be provided with necessary fencing and lighting.

  - Every opening in the floor of a building or in a working platform be provided with suitable means to prevent the fall of persons or materials by providing suitable fencing / railing of minimum height of one metre.

  - All staff and workers employed in the work shall be provided with safety shoes, helmet, belt, etc.

  - No floor, roof or other part of the structure shall be so overloaded with debris or materials as to render it unsafe.

  - Those engaged in welding works shall be provided with welder's protective eye-shields and gloves.

  - (i) No paint containing lead or lead products shall be used except in the form of paste or readymade paint.

(ii) Suitable facemasks should be supplied for use by the workers when the paint is applied in the form of spray or surface having lead paint dry rubbed and scrapped.

k)	Overalls shall be supplied by the Contractor to the painters and adequate facilities shall be provided to enable the working painters to wash during the periods of cessation of work.

- Hoisting machines and tackle used in the works, including their attachments, anchorage and supports shall be in perfect condition.

- The ropes used in hoisting or lowering materials or as a means of suspension shall be of durable quality and adequate strength and free from defects.

- Contractor shall appoint ―Safety Officer‖ to maintain safety records to the satisfaction of the Architect / PMC/ Bank.

- Force MejeureConditions of Force Majeure

The terms ―Force Majeure‖ as employed herein shall mean act of God, war, revolt, riot, fire, flood and Acts & Regulations of respective Governments of the two parties namely the Employer and the Contractor.

Note : “Typhoon” is covered under act of God”.

In the event of either party being rendered unable by force majeure to perform any of obligation required to be performed by them under the Contract, the relative obligation of the

party affected by such Force Majeure shall upon notification to the other party be suspended for the period of delay which is directly caused by such Force Majeure event.

Upon the occurrence of such cause and upon its termination, the party alleging that it has been rendered unable as aforesaid thereby, shall notify the other party in writing within (72) seventy two hours of the alleged beginning and ending thereof giving full particulars and satisfactory evidence in support of its claim.

Time for performance of the relative obligation suspended by the Force Majeure shall then stand extended by the period of delay which is directly caused by Force Majeure event. The party who has given such notice shall be executed from timely performance of its obligations under the Contract, for so long as the relevant event of Force Majeure continues and to the extent that such parties performance is prevented, hindered or delayed, provided the party or parties affected by the event of Force Majeure shall use reasonable efforts to mitigate the effect thereof upon its performance of the Contract and so to fulfill its obligations under the Contract.

If works to be executed by the Contractor are suspended by Force Majeure conditions lasting for more than (2) two months, the Employer shall have the option of cancelling or terminating this Contact in whole or part thereof at Employer‘s discretion. Upon such termination provisions of Clause 45 shall apply.

Delay or non-performance by a party hereto caused by the occurrence of any of Force Majeure shall not:

  - Constitute a default or breach of the Contract,

  - Give rise to any claim for damages or additional cost or expense occasioned thereby : if such delay or non-performance is caused by the occurrence of any event of Force Majeure. Force Majeure conditions shall not be payable under any circumstances.

- Shop Drawings

The Contractor shall prepare and submit to the Consultants/ Architect for their approval detailed shop drawings with in 15days of signing of the contract or before 7 days of particular work or whichever is earlier. The shop drawings shall clearly indicate;

- The general arrangement and schematic diagram of all distribution boards, switch boards, feeder pillers etc. clearly stipulating the material, size of sheet steel, bus bar, inter connections detail, make and rating of switchgear and other equipment etc.

- Number, size and route of the conduits, location of junction/inspection/pull boxes. Size of switch boxes and number, make and size of wires carried in each conduit along with the installation mode.

- Total number of cable runs, size, make, material and type of cables with clear routing, trenches/treys detail, installation mode, starting and termination point of each and individual cable etc.

- The shop drawings shall also show all setting out details and physical dimensions of all components used in the system, location of manholes fixing, cutout details etc.

Completion Drawing

The Contractors shall submit, either within one month of completion of work or before issuance of certificate of virtual completion or before submission of final bill three sets and a reproductive (original) copy with a computer floppy of completion drawings drawn at

approved scale along with three properly bound sets of manuals of every equipment used to complete the work clearly showing the following information to Consultant.

- Distribution scheme for the whole area;

- Location of distribution and sub-distribution boards;

- All types of cables (HT. /LT./Control etc.) layout;

- Layout of substation and switchgears and associated equipment; External and internal lighting drawings complete with conduit layout; Installation manuals of all the items used.

Description of how equipment and systems operate with trouble shouting manuals.

Line diagram of each system including main feature of equipment and showing method of setting controls.

Spares reference and service manuals provided by manufacturer.

Site Management

The Contractor shall employ a competent, licensed qualified full time Civil & electrical engineer/ foreman/supervisors to direct the work of electrical installations in accordance with the drawings and specifications. The same shall be available at all times on the site to receive instructions from the Consultant/Architect in the day to day activities throughout the duration of the Contract or as long as there after the consultants may consider necessary until the expiration of the "Defect Liability Period". The Foreman/Supervisor shall correlate the progress of the work in conjunction with all the relevant requirements of the supply authority. The skilled workers employed for the work should have requisite qualifications and should possess competency certificate from the Electrical Inspectorate of the Local Government. The Contractor shall on the request of the consultants immediately dismiss from the works any person employed there on who may, in the opinion of the consultants, be unsuitable or incompetent or who may misconduct himself and such person shall not be again employed or allowed on the work without the permission of consultants.

Works Visits

The contractor shall arrange all works visits for consultant/architect for all the major equipment supplied by him.

Site Cleanliness

The contractor shall, from time to time during the works remove all rubbish, waste, redundant material etc. from the site and deposit all such rubbish and waste tidily at a position to be indicated by consultant/architect. On completion of the works, the contractor shall ensure that all tools, equipment, surplus material and rubbish has been removed from the site.

Contractor shall maintain at site the following tools and instruments, but not limited to the list below in working conditions.

- Clip-on Ammeter and voltmeter

- 1000 V Meggar and 5 kV Meggar

- Steel tapes of various lengths

- Spirit Level

- Hydraulic Crimping Tool

- Earth Testing Meggar

- Pipe bending Tool, thread cutting die, bench vice etc.

- Cable jointing kit

The Contractor shall provide at least four permanent benchmarks at site, which shall be preserved till the completion of works. These are essential for laying of cables at correct levels.

SPECIAL CONDITIONS OF CONTRACT

1.0	Scope of Work

The scope of work is to carry out the Civil, PH work of bank’s building at Bhubaneswar.

2.0	Address of site

The site is located at UcoBank  ,Ashok Nagar Bhubaneswar.

3.0 Dimension and Levels

All dimensions and levels shown on the drawing shall be verified by the contractor on the site and he will be held responsible for the accuracy and maintenance of the entire dimension and the levels.

Figured dimensions are in all cases to be accepted and no dimension shall be scaled. Large-scale details shall take precedence over small – scale drawing. In case of discrepancy the contractor shall ask for clarification from the Architect / Consultant before proceeding with the work.

4.0	Notice of Operation

The contractor shall not carryout any important operation without the consent in writing from the Architect / Consultant.

5.0	Construction Records

The contractor shall keep and provide to the Architect / Consultant full and accurate records of the dimension and positions of all new work and any other information necessary to prepare complete drawings recording details of the work as constructed.

6.0	Temporary Works

Before any temporary works are commenced, the contractor shall submit at least 7 days in advance to the architect / consultant for approval complete drawings of all temporary works he may require for the execution of the works. The contractor shall carry out the modifications relating to strength, if required by the architect / consultant may require in accordance with the conditions of contract at his own cost. The contractor shall be solely responsible for the stability and safety of all temporary works an unfinished works and for the quality of the permanent works resulting from the arrangement eventually adopted for their execution.

7.0	Water, Power and Other Facilities

- The rate quoted by the contractor shall include all expenses that are required for providing all the water required for the work and the contractor shall make his own arrangements for the supply of good quality water suitable for the construction and good quality drinking water for their workers. If necessary, the contractor has to sink a tube well / open well and bring water by means of tankers at his own cost for the purpose. The BANK will not be liable to pay any charges in connection with the above.

Contractors have to make his own arrangement for the water as directed for local authorities for the furnishing / construction purpose and in no case contractor will be allowed to use the water available / source of water available in Bank‟s premises.

The rate quoted in the tender shall include the expenses for obtaining and maintaining power connections and shall pay for the consumption charges.

The contractors for other trades directly appointed by the Bank shall be entitled to take power and water connections from the temporary water and power supply obtained by the contractor. However, the concerned contractor shall make their own arrangements to draw the supply and pay directly the actual consumption charges at mutually agreed rates between

them. All municipal charges for drainage and water connection for construction purposes shall be borne by the contractor and charges payable for permanent connections, if any, shall be initially paid by the contractor and the BANK will reimburse the amount on production of receipts.

- The BANK as well as the Architect / Consultant shall give all possible assistance to the contractors to obtain the requisite.

- Permission from the various authorities, but the responsibility for obtaining the same in time shall be of the contractor.

8.0	Temporary Services

The Contractor shall provide and maintain all temporary services on or about the site, if any required for the execution of the works and shall remove them on completion.

9.0	Office Accommodation

- The contractor shall provide and maintain all necessary offices, workshops, stores, shelters, sanitary facilities, canteens and other temporary structures for themselves in connection with the work at the site own cost after getting the approval from the architect / consultant.

- All temporary buildings and facilities as mentioned above shall be removed on completion of the work or at any other earlier date as directed by the architect / consultant without any extra cost.

All the expenses for obtaining statutory approvals and maintenance of the above facilities as well as running expense shall be borne by the contractor at no extra cost. It is also the responsibility of the contractor to obtain statuary approvals for providing the above facilities.

10.0	Facilities for Contractors‟ Employees

The contractor shall make his own arrangement for the housing and welfare of his staff and workmen including adequate drinking water facilities. The contractor shall also make his arrangements at his own cost for transport where necessary for his staff and workmen to and from sites of the works. The necessary drinking water and sanitary facilities for Employer's

- Architect / PMCs representative, staff &labour& visitors at site shall be provided and maintained by the contractor at no extra cost.

Since the branch/ office is functioning in the same compound, housing facility (labour huts & cooking facility for labours, stay etc) for labours / staff will not be allowed in the Bank‟s premises / compound. Restricted entry will be given to the contractor‟slabours and vehicles etc in the premises.

11.0	Lighting of Works

The contractor shall at all times provide adequate and approved lighting as required for the proper execution and supervision and inspection of works.

12.0	Fire Fighting Arrangements

- The contractor shall at all times provide suitable arrangements for the fighting at his own cost. For this purpose he shall provide requisite number of fire extinguishers and adequate number of buckets, some of which are of be always kept filed with sand and some with water. These equipments shall be provided at suitable prominent and easily accessible places and shall be properly maintained.

- Any deficiency in the fire safety or unsafe conditions shall be corrected by the contractor at his own cost and to the approval of the relevant authorities. The contractor shall make the following arrangements at his own cost but not limited to the following :

  - Proper handling, storage and disposal of combustible materials and waste.

  - Worked operations which can create fire hazards.

- Access for the fire fightingequipments.

- Types, number and location of containers for the removal of surplus materials and rubbish.

- Type size, number and location of fire extinguishers or other fire fighting equipment.

- General house keeping.

13.0	Site Order Book.

A site order book shall be maintained at site for the purpose of quick communication between the Architect / Consultant. Any communication relating to the works may be conveyed through Records in the site order book. Such a communication from one party to the other shall be deemed to have been adequately served in terms of contract. Each site order book shall have machine numbered pages in triplicate and shall carefully maintained and preserved by the contractor and shall be made available to the Architect / Consultant as and when demanded. Any instruction which the Architect / Consultant may like to issue to the contractor or the contractor may like to bring the architect / Consultant may like to issue to the Contractor or the Contractor may like to bring to the Architect / Consultant two copies of such instructions shall be taken from the site order book and one copy will be handed over to the party against proper acknowledgment and the second copy will be retained for their record.

14.0	Site Meetings

Site meetings will be held to review the progress and quality evaluation. The contractors shall depute a senior representative alongwith the site representative staff of approved sub-contractors and suppliers as required to the site meetings and ensure all follow up actions. Any additional review meetings shall be held if required by the Architect / Consultant.

15.0	Disposal of Refuse

The contractor shall cart away all debris, refuse etc. arising from the work from the site and deposit the same as directed by the Architect / Consultant at his own cost. It is the responsibility of the contractor to obtain from the local authorities concerned to the effect that all rubbish arising out of contractor‘s activities at the construction site or any other off-site activities borrow pits has been properly disposed off.

This certificate from the authority shall be dated not later than the (last) Certificate of Completion of Works and is to be enclosed with the Payment Certificate in which the Contractor re quests for payment of any Retention money due to him.

16.0	Contractor to Verify Site Measurement

The contractor shall check and verify all site measurements whenever requested by other specialists contractors of other sub contractors to enable them to prepare their own shop drawings and pass on the information with sufficient promptness as will not in any way delay the works. A copy of all such information passed on shall be given to the Architect/ PMC/ Bank.

17.0	Approved Make/ Agencies

The Contractor shall provide all materials from the list of approved makes or as mentioned in BOQ and also appoint the specialist agency from the approved list / BOQ as provided in the Tender. The Architect / Employer may approve any make / agency within the approved list / BOQ after inspection of their samples / mock-ups and after ascertaining their spare capacities and recent past performances.

The items which are not covered in the List of Approved Makes shall be as per Samples approved by the Architect.

Colours or type if not mentioned elsewhere shall be as approved by the Architect.

Procurement of Materials

The Contractor shall make his own arrangements to procure all the required materials for the work. All wastage‘s and losses in weight shall be to the contractors account.

18.0	i) Excise, Work Contract Taxes, Levies etc.

The contractors shall pay and be responsible for payment of all duties, levies, royalties, fees cess, or charges in respect of the works including but not limited to sales, tax on works contract, excise duty, and octroi, payable in respect of materials, equipments plant and other things required for the contact. All of the aforesaid taxes, duties, levies, fees and charges shall be to the contractors account and the Employer shall not be required to pay any additional or extra amount on this account. Variation of taxes, duty fees, levies etc if any, till completion of work shall be deemed to be included in the quoted in the quoted rates and no extra amount on this account will in any case be entertained.

- If a new tax or duty or levy or cess or royalty or octroi is imposed under as statue or law during the currency of contract the same shall be borne by the contractor.

- GST shall be paid extra

20.0	ESCALATION

The rate quoted shall be firm throughout the tenure of the contract (including extension of time, if any, granted) and will not be subject to any fluctuation due to increase in cost of materials, labour, octroi, etc., unless specifically provided in these documents. Variation clause enclosed in the tender.

21.0	Guarantee and Maintenance during Defect Liability Period.

In pursuant to Clause no. 32 of GCC, the contractor shall guarantee all materials furnished and workmanship for a period of 365 days from the date of virtual completion of work i.e during Defect Liability Period. All failed parts or parts exhibiting unusual wear and tear during guarantee period shall be replaced without any cost to the Owner, and such replacement shall be factory approved new, equal or better than original. All labour, tools, materials, transportation, insurance, etc. required in performance of guarantee work shall be at the contractor‘s expense.

22.0	Project Execution and Management

In pursuant to Clause No. 14 (i) of GCC, the Sr. Representative shall be assisted by adequate number of Engineers / Supervisors at site on full time basis.

For quality control and monitoring of workmanship, contractor shall assign at least one full time Engineer / Architect who would be exclusively responsible for ensuring strict quality control, adherence to specifications and ensuring top class workmanship.

- Tools and Tackles

All tools, tackles, supports, scaffolding and staging etc. required for erection and assembly of the equipment and installation covered by the contract shall be provided by the Contractor himself. In addition, all other materials such as foundation bolts, nuts etc. required for the installation of the equipment shall also be provided by the contractor at his cost.

- Safety Precautions

1) A competent and authorised supervisor shall be on the site whenever the contractor‘s men are at work. The supervisor should ensure that all plant and machinery used on the site are rendered safe for working and meet with the Indian or International safety standards applicable for the use and operation of such machinery. The supervisor should also ensure that the workmen at site are made to use safety appliances such as safety belts, lifelines, helmets etc.

- Smoking shall be altogether strictly prohibited in all areas of work as well as where combustible and inflammable goods / materials are stored or lying about

- Any hot job such as welding, soldering, gas cutting shall not be carried out without the permission of the Architect / PMC/ Bank. Such jobs shall not be carried out where inflammable materials are stored or lying about.

All electric connections shall be through adequately sized mechanically protected cables without any joints and with proper and adequate terminals boxes. All power supplies shall be through properly rated fuses with isolating devices. No such hot jobs shall be carried out on holidays and without the presence of the Contractor‘s Supervisor and Owners permissions.

- It is entirely the responsibility of the Contractor to practice the principles of ‗SAFETY FIRST‘ during the entire tenure of work with adequate insurance covering injury or death to workmen, loss by theft or damage to materials and property and third party.

- The Contractor should clear the site of all debris every day to avoid accidents. In case this is not done, the Owners may engage necessary labour to maintain the cleanliness of the premises and removal of debris and recover all or part of the expenditure so incurred from the Contractor.

6). Contractor shall at his own cost ensure that all of his personnel, employees, work men and other associated persons working with him at site are adequately insured as per labour laws and statutory provisions. The Contractor shall be responsible for all injuries / damages to men, materials and properties etc. which may arise from the operations or negligence of himself and / or his sub contractors and indemnify the Owners for all such expenses which shall be solely to contractor‘s own account.

  - Contractor shall at his own cost, provide and maintain a full-fledged first-aid-box to give immediate medical aid to the workers / supervisory staff, in case of emergencies.

  - The contractor shall carry out the work strictly as per the safety aspects.

- Technical Audit

The whole of the work may be technically audited by the Chief Technical Examiner (CTE) of the Central Vigilance Commission, Government of India from time to time. Any defects, improvement or testing etc. conveyed by the Examiner shall be carried out by the contractor at no extra cost, to the satisfaction of the CTE. Any deduction suggested by the CTE either due to faulty workmanship or not adhering to the specification will be effected.

The Employer shall have a right to cause a technical examination and audit of work and running and final bills of the contractor including all supporting vouchers. Abstract, etc. to be made at the time of the bill. If as a result of this examination or otherwise any sum is found to have been overpaid in respect of any work done by the contractor under the contract the contractor shall be liable to return the amount of over payment and it will be lawful for the employer to recover the same from any sum or sums due to him and in any other manner legally permissible and if it is found that the Contractor was paid less than what was due to him under the contract in respect of any work, executed by him under the contract, the amount of such under payment shall be duly considered / paid by the employer.

Any sum of money due and payable to the contractor (including security deposit returnable to him) under this contract may be appropriated by the Employer and set off against any claim of the Employer for the payment of a sum of money arising out of or under any other contract made by the Contractor with the Employer.

26.0	Special Conditions

26.01 The Contractor shall keep himself fully informed of all acts and laws of the Central & State Employers, all local bye laws, ordinances, rules and regulations, all orders, decrees of statutory bodies, tribunals having any jurisdiction or authority, which in any manner may affect those engaged or employed on the work or which any way affect the execution of work. Contractor shall at all times, observe and comply with all such laws, ordinances, rules, regulations, orders and decrees, and shall give all notices and pay out of his own money any fees or charges to which he may be liable. He shall protect and indemnify the employer and its officers and employees against any claim

or liability arising out of violations of any such law, ordinances, legislations, order or decree, whether by himself or by his employees &authorised representatives. The Contractor shall also adhere to all traffic restrictions notified by the local authorities. All statutory taxes, levies, charges (including water and sewerage charges, charges for temporary service connections and / or any other charges) payable to such authorities for carrying out the work, shall be borne by the Contractor. Nothing extra shall be payable on these accounts. The fee payable to statutory authorities for obtaining the various permanent service connections and Occupancy Certificate for the building shall be borne by the Employer.

- INSURANCE POLICIES

Before commencing the execution of work, the Contractor shall, without in any way limiting his obligations and liabilities, insure at his own cost and expense against any damage or loss or injury, which may be caused to any person or property, at site of work. The Contractor shall obtain and submit to the Architect / PMC/ Bank-in-Charge proper Contractor All Risk Insurance Policy for an amount 1.25 times the contract amount for this work, with Bank as the first beneficiary. The insurance shall be obtained in joint names of Bank and the Contractor (who shall be second beneficiary). Also, he shall indemnify the Employer from any liability during the execution of the work. Further, he shall obtain and submit to the Architect

- PMC/ Bank-in-Charge, a third party insurance policy for maximum Rs.10 lakh for each accident, with the Architect / PMC/ Bank-in-Charge as the first beneficiary. The insurance shall be obtained in joint names of Architect / PMC/ Bank-in-Charge and the Contractor (who shall be second beneficiary). The Contractor shall, from time to time, provide documentary evidence as regards payment of premia for all the Insurance Policies for keeping them valid till the completion of the work. The Contractor shall ensure that similar Insurance Policies are also taken by his Sub-Contractors / specialized agencies. The Contractor shall however be responsible, to the Employer, for any claim or loss resulting from the failure of his Sub-Contractors / specialized agencies in obtaining such Insurance Policies. Without prejudice to any of its obligations and responsibilities specified above, the Contractor shall within 10 days from the date of letter of acceptance of the tender and thereafter at the end of each quarter submit a report to the Employer giving details of the Insurance Policies along with Certificate of these insurance policies being valid, along with documentary evidences as required by the Architect / PMC/ Bank-in-Charge. No work shall be commenced by the Contractor unless he obtains the Insurance Policies as mentioned above. Also, no payment shall be made to the Contractor on expiry of insurance policies unless renewed by the Contractor. Nothing extra shall be payable on this account. No claim of hindrance (or any other claim) shall be entertained from the contractor on these accounts.

b) WARNING / CAUTION BOARDS

The contractor shall take all precautions to avoid accidents. All temporary warning / caution boards / glow signages display such as "Construction Work in Progress", "Keep Away", ―NoParking‖, Diversions & protective Barricades etc. shall be provided and displayed during day time by the Contractor, wherever required and as directed by the Architect / PMC/ Bank-in-Charge. These glow signages and red lights shall be suitably illuminated during night also. The Contractor shall be solely responsible for damage and accident caused, if any, due to negligence on his part. Also he shall ensure that no hindrance, as far as possible, is caused to general traffic during execution of the work. These signages shall be dismantled & taken away by the Contractor after the completion of work, only after approval of the Architect / PMC/ Bank – in – Charge. Nothing extra shall be payable on this account.

c) SIGN BOARDS

The Contractor shall provide and erect a display board of size and shape as required and paint over it, in a legible and workman like manner, the details about the salient features of the project, as required by the Architect / PMC/ Bank-in-Charge. The Contractor shall fabricate and put up a sign board in an approved location and to an approved design indicating name of the project, client / owner, architects, structural consultants, Employer

etc. besides providing space for names of other Contractors, Sub-Contractors and specialized agencies. Nothing extra shall be payable on this account

26.02 Safety, Health and Environment

In respect of all workmen directly or indirectly employed in the work for the performance of the contractor's part of this agreement, the contractor shall at his expense arrange for the safety provisions as per Indian Standard Safety codes IS: 7969, 8989, 3696 (Part-I &II), 3764, 4081, 4138, 5121, 5916, 7293, 7969 and shall at his own expense provide for all facilities in connection there with. In case the contractor fails to make arrangement and provide necessary facilities, the Architect / PMC/ Bank-in-charge shall be at liberty to make arrangement and provide facilities as aforesaid and recover the cost incurred on that behalf from the contractor, and no claims what so ever shall be entertained.

Details regarding some special provisions to be followed by contractor are as follows:

26.03 Usage of quality Personal Protection Equipments (PPEs) through approved vendors.

PPEs would include amongst others the following items:

- Safety Helmets.

- Hearing Protection.

- Respiratory Protection.

- Eye Protection.

- Protective Gloves.

- Safety Footwear.

- High Visibility Clothing (Jacket) with approved Logo

All the items should get approved before issued to the use in the work. Safety Jacket should have Logo as per the size approved.

The contractor shall provide all the PPE (Personnel Protective Equipment) and safety appliances required to carry out the job to all the workmen deployed by the contractor and also ensure that his workmen use those PPE and safety appliances while on the job. The contractor shall not pay any cash amount in lieu of PPE to the workers/sub-contractors and expect them to buy and use during work. If the contractor fails to ensure provision of safety appliances and its workmen do not use the PPE and safety appliances as needed for safe working, the employer may ask the contractor to stop the work and comply with safety requirements first. The contractor shall at all time maintain a minimum of 10% spare PPEs and safety appliances and properly record and show to the employer during the inspections. Failing to do so shall invite fulfilling the deficiencies by the Architect / PMC/ Bank-in-Charge at the risk and cost of the contractor.

Every Helmet should have the LOGO* affixed /painted.

Logo shall have its outer dimension 2‖X2‖ and shall be conspicuous

No words shall come either on Top / Bottom of Logo

26.04 Working at Height

Contractor shall ensure that work at height is properly planned for any emergencies and rescue appropriately supervised, and carried out in a manner, which is reasonably practicable safe. Contractor shall ensure that work at height is carried out only when the weather conditions do not jeopardise the health or safety of persons involved in the work. Guardrail, Toe-board, Barrier or similar collective means of protection shall be of sufficient dimensions, of sufficient strength and rigidity for the purposes for which they are being used, and otherwise suitable.

Working Platform shall be of sufficient dimensions to permit the safe passage of persons and the safe use of any plant or materials required to be used and to provide a safe working area

having regard to the work being carried out there. Possess a suitable surface and, in particular, be so constructed that the surface of the working platform has no gap through which a person, material or object could fall and injure a person. A working platform and any supporting structure shall not be loaded so as to give rise to a risk of collapse or to any deformation, which could affect its safe use. Strength and stability calculations for scaffolding shall be carried out by the contractor. The dimensions form and layout of scaffolding decks shall be appropriate to the nature of the work to be performed and suitable for the loads to be carried and permit work and passage in safety.

A personal fall protection system designed for use with an anchor shall be securely attached to at least one anchor, and each anchor and the means of attachment thereto shall be suitable and of sufficient strength and stability for the purpose of supporting any foreseeable loading. Suitable and sufficient steps shall be taken to prevent any person falling or slipping from a personal fall protection system. Any other steps in the opinion of Architect / PMC/ Bank-in-charge suggested will also be taken in Protection system

Only metal ladders shall be allowed. Any surface upon which a ladder rests shall be stable, firm, of sufficient strength and of suitable composition safely to support the ladder so that its rungs or steps remain horizontal, and any loading intended to be placed on it. A ladder shall be so positioned as to ensure its stability during use. A suspended ladder shall be attached in a secure manner and so that, with the exception of a flexible ladder, it cannot be displaced and swinging is prevented. No interlocking or extension ladder shall be used unless its sections are prevented from moving relative to each other while in use.

26.05 Lifting appliances and gears.

The contractor shall maintain a register for record of examinations and test details of all lifting appliances. This register should also contain a system of identification of all tools and tackles, its date of purchase, safe working load etc. Contractors can utilise the services of any competent person as defined in Factories Act, 1948 and approved by Chief Inspector of Factories with the permission of the Employer.

Automatic safe load indicators: Every lifting appliances and gears like cranes, hydras etc,if so constructed that the safe working load may be varied by raising or lowering of the jib or otherwise shall be attached with an automatic indicator of safe working loads approved by Bureau of Indian standards/ International certifying bodies which gives a warning to the operator and arrests further movements of the lifting parts.

Qualification of operator of lifting appliances and of signaler etc: The contractor shallnot employ any person to drive or operate a lifting machine like crane, hydra etc whether driven by mechanical power or otherwise or to give signals to work as a operator of a rigger or derricks unless he is above twenty-one years of age and possesses a valid heavy transport vehicle driving license as per Motor Vehicle Act and Rules, is absolutely competent and reliable, possesses the knowledge of the inherent risks involved in the operation of lifting appliances by undergoing a formal training at any institution of national importance, is medically examined periodically.

26.0.6 Site Electrician / Other Electrical Personnel: The contractor shall engage qualified andcompetent electricians and other electrical personnel while working on electrical lines (which may be High Tension, Medium Tension and Low Tension electrical lines) for safe execution of contract. The electricians and other electrical personnel must possess requisite certificate issued from competent authority. Using exposed naked loose joints, inserting of bare wire into socket, improper grounding for appliances, exposed circuits on work place etc. shall not be permitted.

Rating of fuses and circuit breakers used for the protection of circuits should be coordinated. Flexible cords with a conductor cross sectional area smaller than 1.5 mm2 should not be used. Socket outlets, Plugs and Cable coupler should be of the water splash proof type, so minimum IP 44 panel boards are required in construction sites. Overhead cabling should provide for a minimum ground clearance of at least 5.2 meters.

The contractor shall employ qualified, full time Electricians / Electrical Supervisors to maintain his temporary electrical installation. Use approved perimeter markings to isolate restricted areas from designated work areas and entryways. Erect them before work begins and maintain them for the duration of work. Approved perimeter marking must be Install red barrier tape printed with the words "DANGER—HIGH VOLTAGE" approximately 1 to 1.5 meter above the floor or work surface or Install a barrier of yellow or orange synthetic rope 1 to 1.5 meter from the floor with standard danger signs. Any steps suggested by Architect / PMC/ Bank-in-charge shall be complied with by the contractor.

26.07 Welding and Cutting

Gas cylinders in use should be kept upright on a custom-built stand or trolley fitted with a bracket to accommodate the hoses and equipment or otherwise secured. The metal cap should be kept in place to protect the valve when the cylinder is not connected for use. Non-return valve and Flashback arrester shall be fixed at both end of cylinder and torch. Domestic LPG cylinders shall not be used for Gas welding and Cutting purpose. DCP or CO2 type Fire Extinguisher not less than 5 kg shall be fixed at or near to welding process zone in an easily accessible location. Fire Extinguisher should confirm to IS 2190: 1992. Welding grounds and returns should be securely attached to the work by cable lugs, by clamps in the case of stranded conductors, or by bolts for strip conductors. The ground cable will not be attached to equipment or existing installations or apparatus.

26.08 Waste

The contractor is required to develop Waste Management Programme (WMP) during the construction of the project for his works, which may include: -

Identification of disposal sites, Identification of quantities to be excavated and disposed off, Identification of split between waste and inert material, Identification of amounts intended to be stored temporarily on site location of such storage, Identification of intended transport means and route, Obtaining permission, where required, for disposal.

Such a mechanism is intended to ensure that the designation of areas for the segregation and temporary storage of reusable and recyclable materials are incorporate into the WMP. The WMP should be prepared and submitted to the Architect / PMC/ Bank for approval.

The Contractor shall remove waste in a timely manner and disposed off at landfill sites after obtaining approval of Conservancy and Sanitation Architect / PMC/ Banking Employer of Municipal Corporation of Bhubaneswar for its disposal. Burning of wastes is prohibited. The Contractor shall not burn debris or vegetation or construction waste on the site. The Contractor shall make arrangement to dispose of metal scrap and other saleable waste to authorized dealer and make available to the Employer on request, records of such sales.

26.09 Prevention of Nuisance and Pollution

The contractor shall take all necessary precautions to prevent any nuisance or inconvenience to the owners, tenants or occupiers of adjacent properties and to the public in general and to prevent any damage to such properties, roads and any pollution of streams, environment and waterways. He shall make good at his own cost and to the satisfaction of the Architect / PMC/ Bank-in-charge,

Any damage to roads, paths, drainage works or public or private property whatsoever caused by the execution of the work or by traffic brought thereon by the contractor. All waste or superfluous materials shall be cleaned away by the contractor without any reservations entirely to the satisfaction of the Architect / PMC/ Bank-in-charge at no extra cost.

The Contractor shall do proper sequencing of the various activities by suitably staggering the activities within various pockets in the plot so as to achieve early completion. The agency may deploy adequate equipments, machinery and labour as required for the completion of the entire work within the stipulated period specified. Also ancillary facilities shall be provided commensurate with requirement to complete the entire work within the stipulated period. Nothing extra shall be payable on this account. Adequate number/sets of equipments in

working condition, along with adequate stand-by arrangements, shall be deployed during entire construction period. It shall be ensured by the Contractor that all the equipments, Tools & Plants, machineries etc provided by him are maintained in proper working conditions at all times during the progress of the work and till the completion of the work. Further, all the constructional tools, plants, equipments and machineries provided by the Contractor, on site of work or his work shop for this work, shall be exclusively intended for use in the construction of this work and they shall not be shifted / removed from site without the permission of the Architect / PMC/ Bank-in-Charge.

27.0	DISPLAY PERMISSIONS

The Contractor shall display all permissions, licenses, registration certificates, bar charts, other statements etc under various labour laws and other regulations applicable to the works, at his site office.

28.0	REMOVAL OF „MULBA‟ ETC. FROM SITE

The Contractor shall not stack building material / malba / muck on the land or road of the local development authority or on the land owned by the others, as the case may be. So the muck, rubbish etc. shall be removed periodically as directed by the Architect / PMC/ Bank-in-Charge, from the site of work to the approved dumping grounds as per the local byelaws and regulations of the concerned authorities and all necessary permissions in this regard from the local bodies shall be obtained by the Contractor. Nothing extra shall be payable on this account. In case, the Contractor is found stacking the building material / melba as stated above, the Contractor shall be liable to pay the stacking charges / penalty as may be levied by the local body or any other authority and also to face penal action as per the rules, regulations and bye-laws of such body or authority. The Architect / PMC/ Bank –in-Charge shall be at liberty to recover, such sums due but not paid to the concerned authorities on the above counts, from any sums due to the Contractor including amount of the Security Deposit and performance guarantee in respect of this contract agreement.

29.0	COORDINATION WITH OTHER AGENCIES

The Contractor shall conduct his work so as not to interfere with or hinder the progress of the work being performed by other Contractors or by the Architect / PMC/ Bank-in-Charge. As far as possible, he shall arrange his work and place, so as not to interfere with the operations of other Contractors or shall arrange his work with that of the others, in an acceptable and coordinated manner and shall perform it in proper sequence.

30.0	The Contractor shall employ daily workers for cleaning / sweeping the site and building under construction. Site and its surrounding shall be neat and clean. Water shall be sprinkled whenever required to keep the dust level to minimum. Tyres of all vehicles getting out of this site shall be washed.

31.0	SCAFFOLDING

Wherever required for the execution of work, all the scaffolding shall be provided and suitably fixed, by the Contractor. It shall be provided strictly with steel double scaffolding system, suitably braced for stability, with all the accessories, gangways, etc. with adjustable suitable working platforms to access the areas with ease for working and inspection. It shall be designed to take all incidental loads. It should cater to the safety features for workmen. Nothing extra shall be payable on this account. It shall be ensured that no damage is caused to any structure due to the scaffolding.

32.0	Any consequent damage, whatsoever, no claim financially or otherwise shall be entertained not withstanding any other provisions elsewhere in the contract agreement. Also, the Contractor shall make good, at his own cost, the damages caused, if any.

33.0	The Contractor shall render all help and assistance in documenting the total sequences of this project by way of photography, slides, audio / video recording etc. Nothing extra shall be payable to Contractor on this account. However, cost of photographs, slides, audio / video-

graphyetc shall be borne by the Employer. The original films shall be the property of the Employer. No copy shall be prepared without the prior approval of the Architect / PMC/ Bank-in – Charge.

34.0	The Contractor shall make all necessary arrangements for protecting from rains, the work already executed and for carrying out the further work, during monsoon including providing and fixing temporary shelters, protections etc. Nothing extra shall be payable on this account. Also, no claims for hindrance shall be entertained on this account.

- INCIDENTAL CHARGES

For all items of work, the entire incidental charges of any kind including cartage, storage, wastage and safe custody of material etc. shall be borne by the Contractor and no claim of any kind, whatsoever, shall be entertained on this account.

36.0	STORAGE OF MATERIAL AT SITE

No inflammable materials including P.O.L shall be allowed to be stored in huge quantity at site. Only limited quantity of P.O.L may be allowed to be stored at site subject to the compliance of all rules / instructions issued by the relevant authorities and as per the direction of Architect / PMC/ Bank -in- Charge in this regard. Also all precautions and safety measures shall be taken by the Contractor for safe handling of the P.O.L products stored at site. All consequences on account of unsafe handling of P.O.L shall be borne by the Contractor.

37.0	NO WAIVING OF LEGAL RIGHTS AND POWERS

The Architect / PMC/ Bank-in-Charge shall not be precluded or stopped from taking any measurements, and framing of estimates or detaining any certificates made either before or after the completion and acceptance of the work and payment, from showing the true amount and character of the works performed and materials furnished by the Contractor and from showing that any such measurements, estimates or certificates untrue or incorrectly made and that Architect / PMC/ Bank-in-Charge shall not be precluded or stopped from recovering from the Contractor such damages as it may be sustained by reasons of his failure to comply with the terms and conditions of the contract.

38.0	FINAL TESTING OF THE INSTALLATION

The Contractor shall demonstrate trouble free functioning of all the Civil and E & M installations and services. The Architect / PMC/ Bank-in-Charge or his authorized representatives shall carry out final inspection of the various Civil and E & M services and installations. Any defect(s) noticed during demonstration shall be rectified by the Contractor at his own cost to the entire satisfaction of the Architect / PMC/ Bank-in-Charge. Nothing extra shall be payable on this account.

39.0	Existing Services

Existing drains, pipes, electricity cables, overhead wires and telephone cables, sewer lines, water lines and similar services encountered in the course of the execution of the work shall be protected/maintained against the damage by the contractor. The contractor shall not store materials or otherwise occupy any part of the site in a manner likely to hinder the operation of such services. In case temporary shifting/supporting of such services is required to facilitate the work, the same shall be done by the contractor at no extra cost. The decision of the Architect / PMC/ Bank-in-Charge in this regard shall be final and binding.

All works pertaining to services including rerouting/diversion of services, routine testing, installation etc., completed in one or more than one process shall be subject to examination

and approval to each stage thereof by the Architect / PMC/ Bank-in-charge or concerned employer as would be notified by the Architect / PMC/ Bank-in-charge or his authorised representative when such stage is ready. In default of such notice the Architect / PMC/ Bank-in-Charge shall be entitled to appraise the quantity and extent thereof and the decision of Architect / PMC/ Bank-in-Charge or his authorised representative in this regard shall be final and binding.

For utilities which are required to be removed or permanently shifted to new position, in the opinion of the Architect / PMC/ Bank-in-charge, shall be removed/shifted by the contractor in consultation with the service provider agency. Payment for this shall be made as per terms and conditions of the contract. No claim for delay or otherwise due to above reasons shall be entertained on this account

40.0	The architectural, services and other drawings for the work shall at all times be properly correlated before executing any work and no claim whatsoever shall be entertained in this respect.

41.0	The contractor shall be responsible for the true and proper setting out of building components of the work in coordination with the Architect / PMC/ Bank-in- Charge or his authorized representative. The contractor shall be responsible for the correctness of the position, levels, dimensions, and alignments of all the parts of the structure and for arrangement of all necessary instruments, appliances and labour in connection there with. If at any time, during the progress of the works, any error appears or arises in the position levels, dimensions or alignment of any part of the works, the contractor, on being required to do so by the Architect / PMC/ Bank- in- charge shall at his own expense rectify such error to the entire satisfaction of Architect / PMC/ Bank -in -charge. The checking of any setting out of any line or level by the Architect / PMC/ Bank –in- Charge or his authorized representatives shall not relieve in anyway, the contractor of his responsibility for the correctness there of and the contractor shall carefully protect and preserve all bench marks, site details pegs and other things used in the setting out and construction of works. All duties concerning establishment of a set of bench marks , permanent theodolite stations, centre line pillars etc including all materials tool, plants, equipment, labour etc. for performing all the functions necessary and ancillary there to at the commencement and during the progress of the work, till physical completion of all the types of the work in question shall be carried out by the contractor at his own cost.

42.0	The contractor shall have to deploy adequate well experienced technical staff for the work. A list of staff along with their designation, experience and duties shall be displayed at site of work.

43.0	The contractor shall submit to the Architect / PMC/ Bank-in-Charge the following reports.

- Monthly report of receipt & consumption of material arranged by the contractor.

- Programme of works, material &labour required for the forthcoming month.

- List of plants & equipment proposed to be deployed.

44.0	Reference made to any Indian standard specification in these documents, shall imply reference to the latest version of that standard including such revision / amendments as issued by the Bureau of Indian Standards at the time of opening of tenders. The contractor shall have to keep all relevant publications / specification at the site.

45.0	Services drawings are diagrammatic but shall be followed as closely as actual constructionpermits. Any deviations made shall be in conformity with the architectural and other services drawings.

46.0	The contractor shall verify all dimensions at site and bring to the notice of the Architect / PMC/ Bank- in -Charge all discrepancies or deviations noticed. Decisions of the Architect / PMC/ Bank –in-Charge shall be final in this regard.

47.0	The contractor shall give performance tests of the entire installation(s) as per specifications before the work is finally accepted and nothing extra whatsoever shall be payable to the contractor for these performance tests.

48.0	The contractor shall be responsible for the watch and ward of the building safety of all fittings and fixtures including sanitary and water supply fittings and fixtures provided by him against pilferage and breakage during the period of installation and till completion is recorded by competent authority

49.0	The contractor shall be bound to follow the instructions and restrictions imposed by the Administration / Police authorities on the working and /or movement of labour, materials etc. and nothing extra shall be payable on this account or due to less/ restricted working hours or any detours in movement of vehicles

50.0	Displaying the Name of the Work

The contractor shall put up a name board of suitable size as directed by the Architect / Consultant indicating therein the name of the project and other details as given by the Architect/ Consultant at his own cost remove the same on completion of work.

51.0	As Built Drawings

- For the drawing issued to the contractor by the Architect/Consultant. The Architect / will issue two sets of drawings to the contractor for the item for which some changes have been made. From the approved drawings as instructed by the Bank / Architect / Consultant. The Contractor will make the changes made on these copies and return these copies to the architect / consultant for their approval. In case any revision is required or the corrections are not properly marked the Architect / Consultant will point out the discrepancies to the contractor. The contractor will have to incorporate these corrections and /or attend to discrepancies either on the copies as directed by the Architect / Consultant and resubmit to him for approval. The Architect / Consultant will return one copy duly approved by him.

- For the drawings prepared by the Contractor, the Contractor will modify the drawing prepared by him wherever the changes are made by the BANK / Architect / Consultant. And submit two copies of such modified drawings to the Architect / Consultant for approval. The Architect / Consultant will return one copy of the approved drawing to the Contractor.

52.0	Acceptance of Tender

The Employer shall have the right to reject any or all tenders without assigning any reason. They are not to bound to accept the lowest or any tender and the tenderer shall have no right to question the acts of the Employer. However, the adequate transparency would be maintained by the Employer.

APPENDIX / MEMORANDUM TO CONDITIONS OF CONTRACT

| Estimated cost |  |  |  |  | Rs.13 Lakh |
| --- | --- | --- | --- | --- | --- |
| EMD |  |  |  |  | Rs17900 by NEFT/RTGS drawn in favour of Uco Bank |
| Initial security deposit |  |  |  |  | The amount of ISD shall be 2% of the accepted value of the tender |
|  |  |  |  |  | including EMD. |
| Date of commencement |  |  |  |  | 3rd day from the date of acceptance of work order OR date of site |
|  |  |  |  |  | possession, whichever is later. |
| Time | for | completion |  | of | As per time schedule given in tender document i.e. 3 months. |
| work |  |  |  |  |  |
| Retention |  | money | to | be | 8% of the certified gross value of each running bill, till accumulating |
| deducted from the bills. |  |  |  |  | total security deposit including ISD. |
| Total | Security |  | Deposit |  | 5% of Contract amount. |
| /Retention Money |  |  |  |  |  |
| Defect Liability Period |  |  |  |  | 365 days (Twelve months) from the virtual completion. The defects |
|  |  |  |  |  | liability period will be reckoned from the date of virtual completion |
|  |  |  |  |  | of the work. |
| Period |  | of | Final |  | 2 months. |
| Measurement |  |  |  |  |  |
| Liquidated damages |  |  |  |  | Shall be 1% of contact amount per week of delay subject to ceiling |
|  |  |  |  |  | of 10% of the accepted contract amount. |
| Value | of | works |  | for | Value not less than Rs.10 lacs only or as decided by the Bank. |
| Interim Certificates |  |  |  |  |  |
| Payment |  | after | virtual |  | 50% of total security deposit will be returned after (i) issue of |
| completion |  |  |  |  | virtual completion certificate by the project architect. (ii) |
|  |  |  |  |  | contractor‘s removal of his material, equipments, cleaning of site |
|  |  |  |  |  | and against Bank Guarantee. Balance 50% of retention money shall |
|  |  |  |  |  | be released 14 days after satisfactory completion of defect liability |
|  |  |  |  |  | period. |
| Recovery towards TDS & |  |  |  |  | As per rules applicable from time to time. |
| Work contract taxes. |  |  |  |  |  |
| Taxes |  |  |  |  | GST shall be paid extra |
| Rates |  |  |  |  | Rates shall be fixed during the contract & extension period and no |
|  |  |  |  |  | price variation is entertained. |

ANNEXURE-1

(On non- judicial, stamp paper of Rs 100/ -)

PERFORMA OF BANK GUARANTEE IN LIEU OF SECURITY DEPOSIT

B.G. No…	Value  Rs…………

..

To,

The Uco Bank

Zonal office Bhubaneswar

Sub:-  Bank  Guarantee  of  Rs…......towards Security  Deposit  for the  work  of	UCO Bank.

Dear Sir,

WHEREAS ---------------------------(Name and address of contractor / Vendor) (hereinafter called the

Contractor) have entered into contract for repairing of Civil and Ph work at staff quarters at Rourkela with as mentioned in the letter of Bank, vide their letter No…………dated……and thecorrespondence and tender relating there to which is hereinafter referred to as ― the said contract‖

and that the contractor has agreed to produce of Bank Guarantee amounting to 5% of the contract value less Initial Security deposit of contract obligations.

AND WHEREAS in terms of the said contract, the contractor is required to furnish to Uco Bank n

a guarantee of a scheduled bank for a value of Rs………….to be valid upto----------(date)

AND WHEREAS ----------------(Name of Bank and its branch) having their office at-------- (address)

the guarantor, at the request of the contractor hereby furnishes a guarantee in favour of Uco Bank  and guarantees in the manner hereinafter appearing.

In consideration of the premises, we -----------(Name of bank and its branch) having our office at ---

--------(address) hereafter called the ― Guarantor‖ (which expression shall include its successors and

assigns) hereby expressly irrevocably and unreservedly undertake and guarantee that if the contractor fails to execute the work according to his obligations under the said contract, then not withstanding any dispute between UcoBank  and the contractor the guarantee shall, without demur and without reference to the contractor, pay to Uco Bank  immediately any sum claimed by Uco Bank  under the said contract upto a maximum amount of Rs……….(Rupees only)

In case the amount demanded by UcoBank  is not paid within 48 hours of receipt of demand, the guarantor agrees to pay the aforesaid amount of Rs. -------------------------.

Such payment shall be notwithstanding any right the contractor may have directly against UcoBank  or any disputes raised by the Contractor with Uco Bank  or any suits or proceedings pending in any competent court or before any arbitrator. UcoBank  ‗s written demand shall be conclusive evidence to the guarantor that such payment ispayable under the terms of the contract and shall be binding in all respect on the guarantor.

The Guarantor shall not be discharged or released from this undertaking and guarantee, by any arrangement, variations made between UcoBank  and the contractor and or indulgence shown to the contractor by Uco Bank  with or without the consent and knowledge of the guarantor or by alterations in the obligations of the contractor by any forbearance, whether as to payment, time performance or otherwise.

This  guarantee  shall  remain  valid  upto  ---------  or  as  may  be  caused  to  be  extended  by  the

contractor or until discharged by, Uco Bank  in writing whichever is earlier.

This guarantee shall be a continuing guarantee and shall not be revocable during its Currency except with the pervious written consent of UcoBank .

This guarantee shall not be affected by any change in the constitution of the contractor by absorption with any other body or corporation or dissolution or otherwise and this guarantee will be available to or enforceable against such body or corporation.

In order to give effect to this guarantee Uco Bank  will be entitled to act as if the guarantor were the principal debtor and the guarantor hereby waives all and any of its rights or suretyship.

This guarantee shall continue to be in force notwithstanding the discharge of the contractor by operation of law and shall cease only on payment of the amount by the guarantor to UcoBank  of the amount hereby secured.

This guarantee shall be in addition to and not in substitution for any other guarantee or security for the contractor given or to be given to UcoBank  in respect of the said contract.

Any notice by way of request and demand or otherwise here under may be sent by post or any other mode or communication to the guarantor addressed as aforesaid and if sent by post it shall be deemed to have been given at the time when it would be delivered in due course of post and in providing such notice when given by post it shall be sufficient to prove that the envelope containing the notice was posed and a certificate signed by an officer of Uco Bank  that the envelope was so posted shall be conclusive.

These presents shall be governed by and constructed in accordance with Indian Law.

Notwithstanding anything contained here in before the liability of the guarantor under this guarantee is restricted to a sum of Rs…………

This guarantee will remain valid upto………… unless a demand or claim under this guarantee is made

in writing on or before…………the guarantor shall be discharged from all liability under the guarantee

thereafter.

Dated the…………

For ( Name of Bank)

(Signature/s with designations/s of signatory / ies)

(Name and Stamp of Bank)

ANNEXURE –2

PROFORMA OF APPLICATION FOR REGISTRATION OF ESTABLISHMENT EMPLOYING CONTRACT LABOUR

Name and location of the Establishment.

Postal address of the Establishment.

Full name and address of the Principal Employer.

(Furnish father‘s name in the case of individuals)

Full name and address of the manager or the person responsible for the supervision and control of the Establishment.

Nature of work carried on in the Establishment.

Particulars of contractors and contract labour:

Names and address of the contractors.

Nature of work in which contract labour is employed or is to be employed

Maximum number of contract labour to be employed on any day through each contract.

Estimated date of commencement of each contract work under each contractor.

Estimated date of termination of employment of contract labour under each contractor.

Particulars of Treasury Receipt enclosed.

(Name of the Treasury, Amount and Date)

I hereby declare that the particulars given above are true to the best of my knowledge and belief.

Principal Employer

Seal and Stamp

ANNEXURE-3

Proforma for Daily / Weekly / Monthly Progress Report

Name of work	:

Progress report for the ( Period) :

Report No:

S.N

Description

Details of location where work is done

Approximate quantity executed

ANNEXURE-4

PROFORMA FOR MATERIALS AT SITE ACCOUNT.

S.N.

Description

Opening balance

Receipt during month

Consumption during month

Closing balance

Total quantity received till date.

Total quantity consumed till date.

ANNEXURE-5

PROFORMA OF SITE ORDER BOOK

Name of the work…………

Date of Commencement…………

S.N.

Remarks / Instructions of the Site Engineer / Architect

Dated initials of Site Engineer / Architect

Initials of the Contractor for having received the instructions

Action taken with date

Dated initials of the Site Engineer

Remarks of the Architects

ANNEXURE-6

PROFORMA FOR APPLICATION FOR EXTENSION OF TIME PERIOD

|  |  | 1. |  | Name of Contractor |  |  |  |  |  | : |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 2. |  | Name of the work as given in the |  |  |  |  |  | : |  |  |  |  |
|  |  |  |  | Agreement |  |  |  |  |  |  |  |  |  |  |
|  |  | 3. |  | Agreement No. |  |  |  |  |  | : |  |  |  |  |
|  |  | 4. |  | Estimated tender amount |  |  |  |  |  | : |  |  |  |  |
|  |  | 5. |  | Date of Commencement of work as per |  |  |  |  |  | : |  |  |  |  |
|  |  |  |  | Agreement |  |  |  |  |  |  |  |  |  |  |
|  |  | 6. |  | Period allowed for completion of work as |  |  |  |  |  | : |  |  |  |  |
|  |  |  |  | per Agreement. |  |  |  |  |  |  |  |  |  |  |
|  |  | 7. |  | Date of Completion stipulated in |  |  |  |  |  | : |  |  |  |  |
|  |  |  |  | Agreement. |  |  |  |  |  |  |  |  |  |  |
|  |  | 8. |  | Period for which extension of time has |  |  |  |  |  | : |  |  |  |  |
|  |  |  |  | been give previously |  |  |  |  |  |  |  |  |  |  |
|  |  | a) |  | Ist extension vide Architect‘s /Bank‘s |  |  |  |  |  | : |  |  |  |  |
|  |  |  |  | letter |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | No. |  | Dated | Month | Days |  |  |  |  |  |  |
|  |  | b) |  | 2nd extension vide Architect‘s /Bank‘s |  |  |  |  |  | : |  |  |  |  |
|  |  |  |  | letter |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | No. |  | Dated | Month | Days |  |  |  |  |  |  |
|  |  | c) |  | 3rd extension vide Architect‘s /Bank‘s |  |  |  |  |  | : |  |  |  |  |
|  |  |  |  | letter |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | No. |  | Dated | Month | Days |  |  |  |  |  |  |
|  |  | d) |  | 4th extension vide Architect‘s /Bank‘s |  |  |  |  |  | : |  |  |  |  |
|  |  |  |  |  |  | letter |  |  |  |  |  |  |  |  |
|  |  |  |  | No. |  | Dated | Month | Days |  |  |  |  |  |  |
|  |  |  |  | Total extension previously given |  |  |  |  |  | : |  |  |  |  |
|  |  | 9. |  | Reason‘s for which extensions have been |  |  |  |  |  | : |  |  |  |  |
|  |  |  |  | previously given (Copies of the previous |  |  |  |  |  |  |  |  |  |  |
|  |  |  | applications should be attached) |  |  |  |  |  |  |  |  |  |  |  |
|  | 10. |  | Period for which extension is applied for |  |  |  |  |  | : |  |  |  |  |  |
|  | 11. |  | Hindrances on account of which |  |  |  |  |  | : |  |  |  |  |  |
|  |  |  | extension is applied for with dates on |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | which hindrances occurred and the |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | period for which these are likely to last. |  |  |  |  |  |  |  |  |  |  |  |
|  | a) |  | Serial No. |  |  |  |  |  |  |  |  |  |  |  |
|  | b) |  | Nature of Hindrance |  |  |  |  |  |  |  |  |  |  |  |
|  | c) |  | Date of occurrence |  |  |  |  |  |  |  |  |  |  |  |
|  | d) |  | Period for which it is likely to last. |  |  |  |  |  |  |  |  |  |  |  |
|  | e) |  | Period for which extension required for |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | this particular hindrance |  |  |  |  |  |  |  |  |  |  |  |
|  | f) |  | Over lapping period if any, with reference |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | to item (e) above |  |  |  |  |  |  |  |  |  |  |  |
|  | g) |  | Net extension applied for |  |  |  |  |  |  |  |  |  |  |  |
|  | h) |  | Remarks, if any |  |  |  |  |  |  |  |  |  |  |  |
|  | 12. |  | Extension of time required for extra work |  |  |  |  |  | : |  |  |  |  |  |
|  | 13. |  | Details of extra work and the amount |  |  |  |  |  | : |  |  |  |  |  |
|  |  |  | involved |  |  |  |  |  |  |  |  |  |  |  |
|  | a) |  | Total value of extra work |  |  |  |  |  |  |  |  |  |  |  |
|  | b) |  | Proportionate period of extension of time |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | on estimated amount put to tender. |  |  |  |  |  |  |  |  |  |  |  |
|  | 14. |  | Total extension of time required for 11 & |  |  |  |  |  | : |  |  |  |  |  |
|  |  |  | 12 |  |  |  |  |  |  |  |  |  |  |  |

Submitted to the Architect/Bank	……………………………………………….

Date:	Signature of Contractor

ANNEXURE-7

PROFORMA OF HINDRANCE

Name of work:

Name of contractor:

Agreement No.

Date of state of work:

Period of completion:

Date of completion:

S.N.

Nature of hindrance

Date of occurrence of hindrance

Date of which hindrance was removed

Period of hindrance

Signature of site engineer

Remark‘s

1

2

ANNEXURE-08

PROFORMA OF LETTER GRANTING EXTENSION OF TIME

To,

Dear Sir,

Sub:

Extension of time.

Ref:  your letter No…………	dated………

This is in connection with the grant to extension of time for completion of the captioned work. The date of completion of the above-mentioned work is………….as stipulated in the contract. Extension of

time of for completion of the work upto….......is, hereby granted by the Bank without prejudice to

the right of the Bank to recover liquidated damages in accordance with the provisions of the contract.

Not with standing the extension hereby granted, time is and shall continue to be the essence of the said contract.

Your faithfully

Uco Bank

ANNEXURE-9

ACCOUNT OF SECURED ADVANCE, IF ADMISIBLE ON THE MATERIALS HELD AT SITE BY THE CONTRACTOR.

| No. | Item | Quantity | Unit | Amount | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |

Total Value of Materials at  Site

Secured Advance @………………………% of above Value	B

CERTIFIED (I) That the materials mentioned above have actually been brought by the contractor to the site of the work and no advance on any quantity of any of this item is outstanding on their security, (ii) that the materials are of imperishable nature and are all required by the contractor for use in the work in connection with the items for which rates of finished work have been agreed upon.

Dated signature of

Site Engineer preparing the bill

Dated Signature of

Bank‘s Architects

(Name of the Architects

Dated Signature of Contractor

CERTIFICATE

The measurements on the basis of which the above entries for the Running Bill No. ……,were made

have been taken jointly on…………

and are recorded at pages…………

to…of measurement book. The work recorded in the above-mentioned measurements has been done at the site satisfactorily as per tender drawings, conditions and specifications.

No…………

..

Signature and date	Signature and date of Architect‘s	Signature and date of

Of contractor	representative (Seal)	Site Engineer

ANNEXURE-11

MEMORANDUM FOR PAYMENT OF R.BILL No.___

Total amount due since previous Bill

Rs_______________

DEDUCATION :

a) Secured advance paid in the

Previous R.A. bill

Rs__________

b) Retention money on value of

works as per accepted tenders:

Upto date amount

Less: Already recovered

Balance to be recovered

Rs________

Rs._______

Rs___________

c) Any other departmental

Material cost to be recovered

as per contract, if any

Rs___________

d) Any other departmental service

Charges to be recovered if any,

Enclose statement

Rs___________

Total deduction as per contract

Rs___________

(-) Rs_____________

Net amount payable as per contract

Rs________________

(Rupees-----------------------) in word

|  |  |  |  |  |  | RUNNING A/C BILL |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name of Contractor/Agency: |  |  | ________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name of Work: |  |  | ________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No. of this Bill: |  | ________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. and Date of Previous Bill. |  |  | ________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference to Agreement No. ________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date of Written Order to Commence.____________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date of Completion as per Agreement.___________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. | Item | Unit | Rate | As per Tender |  |  | Upto | Previous |  |  |  | Upto | Date | Present Bill |  |  | Remarks |
| No. | description |  | (Rs.) |  |  |  | R/A Bill |  |  |  |  | (Gross) |  |  |  |  |  |
|  |  |  |  | Qty. |  | Amt. | Qty. |  |  | Amt. |  | Qty. | Amt. | Qty. |  | Amt. |  |
|  |  |  |  |  |  | (Rs.) |  |  |  | (Rs.) |  |  | (Rs.) |  |  | (Rs.) |  |
| 1. | 2. | 3. | 4. | 5. |  |  | 6. |  |  |  |  | 7. |  | 8. |  |  | 9. |
| Note: | 1. If Part Rate is allowed for any Item, it should be |  |  |  |  |  |  |  |  |  |  |  |  | Net value since |  |  |  |
|  | Indicated with reasons for allowing such a Rate. |  |  |  |  |  |  |  |  |  |  |  |  | Previous Bill. |  |  |  |
|  | 2. If Adhoc Payment is made, it should be mentioned specifically. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Date & Signature of Contractor.

TIMBER

As per IS 1708-1969

-----------------------------------------------------------------------------------------------------------------------------------------------

Test Required & Procedure	Frequency	Acceptance Criteria

------------------------------------------------------------------------------------------------------------------------------------------------

1	2	3

------------------------------------------------------------------------------------------------------------------------------------------------

- Moisture Content and Specific Gravity Test preparation and procedure:

- Measurement and weight: Prior to each test,

the dimensions of each test specimen shall be For every Ten cum or part thereof. measured correct to 0.01 cm and the specimen shall be weighed correct to 0.001 gm.

- Control of moisture content: Before thepreparation of the test specimens for testing in the seasoned condition, the material shall be brought practically to constant weight by storage under controlled conditions at 27o C + 2o C temperature and 65 + 5% relative humidity. This is expected to bring the moisture content at 12% but if it is not exactly 12% it is permitted to test in the neighbourhood of 12% and results shall be adjusted to 12% moisture content. The test shall be made under such conditions that large changes in moisture content do not occur.

- Control of temperature: To avoid significantchanges in strength properties all test specimen shall be tested within the temperature range of 27o+ 2o C. The temperature at the time of test shall be recorded.

The loss in weight expressed as a percentage of the oven dry weight shall be taken as the moisture content of the specimen. The formula for calculation shall be as given below:

| Percentage |  |  |  |
| --- | --- | --- | --- |
| moisture | =WI–WOX100 |  |  |
| content = |  | WO |  |

Wl = Weight of sample at test in gms.

WO = Oven dry wt. of sample in gms.

Moisture content shall not exceed following values

| i) Timber for frames | = 14% |
| --- | --- |

ii)	Timber for planking shutters etc. = 12%

-----------------------------------------------------------------------------------------------------------------------------------------------

Test Required & Procedure	Frequency	Acceptance Criteria

------------------------------------------------------------------------------------------------------------------------------------------------

1	2	3

------------------------------------------------------------------------------------------------------------------------------------------------

- Rate of loading: The rate of loading of therest machine used shall not vary by more than + 20% from the specified speed for a given test. The load shall be applied continuously without interruption at the required speed throughout the test. The approximate percentage of sapwood if any, by volume, is estimated for all the test specimens and recorded. The number of the growth rings for 3 cm length shall be counted in the radial direction on each of the cross-section of such piece and the average shall be recorded as number of rings/cms for each specimen tested.

Immediately after each mechanical test, disc approx. 2.5 cm in length and of full section as the test piece, shall be taken normally at the place of failure, failing which, at the central portion of the test specimen. In the case of shear test, the detached portion of the section approximately 5x5 cm shall be taken for determination of moisture content.

The sample shall be weighed and then dried in an oven at a temperature of 103 + 20 oC.

The weight shall be recorded at regular intervals.

The	drying	shall	be	considered	to	be

complete when the variation between last

two weighing shall

WOODEN PANEL DOOR SHUTTERS

Conforming to IS 2202 (Part I) 1983

-------------------------------------------------------------------------------------------------------------------------------------------------------------

Test Required & Procedure	Frequency	Acceptance Criteria

------------------------------------------------------------------------------------------------------------------------------------------------------------

1	2	3

---------------------------------------------------------------------------------------------------------------------------------------------------------------

1. Physical Test

Physical Verification-

- Name of the manufacturer or trade mark.

- Thickness of door shutter.

iii) Whether ISI Certification Mark exists.	One from each lot.

2. Glue Adhesion Test -

Procedure- Two square sections, 150 mm X 150

- shall be cut from the corners of the door. These corner sections as out from the door, shall be immersed in boiling water at 100o C for four hours, then dried at a temperature of 270o + 20o C and relative humidity of 65 + 5% for 24 hours. At the end of the drying period the samples shall be examined for de-lamination. Glue lines in all the four exposed edges of the plywood on both faces of a specimen and the glue lines between the plywood faces and the stile and rail shall be examined for de-lamination.

A specimen shall be considered to have passed the test if no de-lamination has occurred in the glue lines in the plywood and if no single de-lamination. More then 50 mm in length and more than 3 mm in depth has occurred in the assembly glue lines between the plywood faces and the stile and rail.

READY MIXED PAINTS

-----------------------------------------------------------------------------------------------------------------------------------------------

Test Required & Procedure	Frequency	Acceptance Criteria

------------------------------------------------------------------------------------------------------------------------------------------------

1	2	3

-----------------------------------------------------------------------------------------------------------------------------------------------------------

1. Drive Time

Procedure: The material shall be brushed orsprayed as required on a 150 x 150 mm mild steel panel prepared and allowed to air dry or stored under specified drying conditions.

The material shall be examined after specified intervals, for the following conditions:

- Surface dry

- Hard dry

- Tack free: The procedure of test on thedried film of the panel after specified period as follows:

Place the panel in one pan of a suitable balance and counterpoise it with weights. Place a further weight of 2.25 kg and press on the dried film surface of the panel with the thumb till the two pans are balanced. Hold for one minute and then slowly release. No sign of stickiness to the thumb shall be apparent and the thumb impression, if produced, shall be such as can be wiped away with dry cotton wool.

On test each lot,

(All	containers	of	same	size	and	same

batch of manufacture constitute a lot)

No sign of stickiness to the thumb shall be

apparent.

---------------------------------------------------------------------------------------------------------------------------------------------

Test Required & Procedure	Frequency	Acceptance Criteria

------------------------------------------------------------------------------------------------------------------------------------------------

1	2	3

-----------------------------------------------------------------------------------------------------------------------------------------------

2. Consistency-

Procedure: Insert a clean metal rod or palette	using	either	20	ml	of	petroleum

knife into the original container and examine the	hydrocarbon	solvent	145/205	(100

nature of the setting.	aromatic).

3. Finish-

Procedure: The material, when applied on an

mild steel panel by brushing or spraying, which

ever	is	specified	to	give	a	dry	film	weight

commensurate with the weight per 10 litres of

the  material  and  allowed  to  dry  in  a  vertical

position under specified conditions, shall dry to

hard, firmly adherent, flexible and smooth film,

free  from  sagging  and  wrinkling  with  a  matt,

semi-glossy or glossy surface in accordance with

the requirement of the material specification.

4. Residue on Sieve-

Outline: The material is mixed with a suitable

solvent	and	passed	through	a	63	micron	lS

sieve.  Not  less  than  20  gms.  of  the  material

taken from under the top skin shall be tested.

Procedure:	Accurately	weigh	the	required

quantity of the material and transfer to a 250 ml

beaker

The material shall not be cake hard inside the container and shall be in such a condition that stirring easily produces a smooth uniform paint suitable for application.

The film produced shall be of normal capacity and in no way inferior to a film prepared in the same manner and at the same time from the approved sample, when examined not earlier than 48 hours and not later than 100 hours after application. In case of failure, the test shall be repeated by keeping the painted panel under standard atmospheric condition.

---------------------------------------------------------------------------------------------------------------------------------------------

Test Required & Procedure	Frequency	Acceptance Criteria

------------------------------------------------------------------------------------------------------------------------------------------------

1	2	3

-----------------------------------------------------------------------------------------------------------------------------------------------

(Conforming  to  IS:	1745-1961)  or  20	ml	of  a

mixture	containing	equal	parts	by	volume	of

petroleum hydrocarbon solvent and benzene. Wet

a	63	micron	IS	sieve	on	both	sides	with	the

solvent. Mix the material and the solvent in the

beaker thoroughly, breaking up all lumps without

grinding action, with the flattened end of a stirring

rod.  Transfer  the  contents  of  the  beaker  to  the

sieve  using  awash  bottle  containing  the  solvent.

Remove	with	the	camel-hair	brush	any	small

particles of pigment that may be retained on the

stirring rod or the walls of the beaker. Wash the

residue  left  on	the  sieve  with	the  solvent	and

gently	brush	with	a	camel-hair	brush	unit	the

solvent passing through the sieve is clear and free

from	solid	particles.	When	the	washing	is

complete, dry the sieve for one hour at 100 + 2o C.

Cool and transfer the residue with the help of the

camel-hair brush to

a weighed watch glass and determine the weight of

residue.

5. Water Content

Outline of the method: The material is heated

under	reflex	with	an	organic	solvent	which	is

immiscible with water. The carrier liquid distils into

a graduated receiver carrying with it water which

then separates to from the lower layer,

Test Required & Procedure	Frequency	Acceptance Criteria

------------------------------------------------------------------------------------------------------------------------------------------------

1	2	3

-----------------------------------------------------------------------------------------------------------------------------------------------

the  excess  carrier  liquid  overflowing  from  the

trap and returning to the still.

Procedure: Weigh 100 g. of the material in the

flask, add 100 ml of dry petroleum hydrocarbon

solvent (boiling point 75 to 85o C) and IMI of dry

ethyacetate	(conforming	to	IS:229-1964)	or

acetate	(conforming	to	IS:231-1957)	and

thoroughly mix the contents of the flask. Pour

petroleum hydrocarbon solvent into the receiver

upto the level of the side tube. Attach the flask

to	Dean	and	stark	condensing	and	collecting

system and heat the flask at such a rate that the

condensate falls from the end of the condenser

at	a	rate	of	two	to	five	drops	per	second.

Continue the distillation unit condensed water is

no longer visible in any part of the apparatus

except at the bottom of the graduated tube and

until	the	volume	of	water	collected	remains

constant.	Remove	the	persistent	ring	of

condensed water in the rate of distillation by a

few drops per second.

6. Weight per Litre

Outline of the method: The calibrated cylinder

or CNP is filled with the material and weighed.

---------------------------------------------------------------------------------------------------------------------------------------------

Test Required & Procedure	Frequency	Acceptance Criteria

------------------------------------------------------------------------------------------------------------------------------------------------

1	2	3

-----------------------------------------------------------------------------------------------------------------------------------------------

Procedure: Weight  the  cylinder  or  cup  when

empty and then fill to the brim with the material

Assuming that the volume of the contents is 50

ml or 100 ml, calculate and express as kg per 10

litres.

7. Lead Restriction

Outline of the method: Determination of lead

in	lead	restricted	paints	is	carried	out	by

precipitating	the	lead	as	sulphide	from	the

separated pigment, which is finally oxidized to

lead monoxide.

Procedure:	Shake	about	one	gram	of	the

ground  pigment  obtained,  accurately  weighed,

continuously for one hour at room temperature

with	1000	times	its	weight	of	an	aqueous

solution	of	hydrochloric	acid	containing	0.25

percent by weight of hydrogen chloride.

Allow the mixture to stand for one hour and then

filter. Precipitate the lead salt contained in the

clear filtrate as lead sulphide, filter, that the lead

sulphide in air to convert it into lead sulphate,

weigh	calculate  as  lead	monoxide  (PbO)  and

express  the  result  as  percentage  on  the  dry

weight of the material taken for test.

PARTICLE BOARDS

----------------------------------------------------------------------------------------------------------------------------------------------------------

Test Required & Procedure	Frequency	Acceptance Criteria

---------------------------------------------------------------------------------------------------------------------------------------------------------

1	2	3

-------------------------------------------------------------------------------------------------------------------------------------------------------------

| Identification (Physical Verification) | Density – The density of each sample |
| --- | --- |
| One from each lot | shall not vary from the mean density by |
| Each particle board shall be legibly marked near | more than + 10%. |
| any of its edge with the following. |  |
|  | Moisture content : The average value of |
| 1. Name of the manufacturer or trade mark. | the moisture content shall be between 7 to |
|  | 16%. |
| 2. Designation of particle board. |  |
|  | Water absorption : The value of water |
| 3. Thickness and date of manufacture. | absorption shall not exceed 25% for two |
|  | hrs, soaking and 50% for 20 hrs. soaking. |
| 4. Whether I.S.I. Certification marks exists. |  |
|  | Exterior grade (I) : These particle |
| 5. Dimensional Tolerace | boards shall not delaminate after 3 hrs. |
|  | boiling in water at 100'C. |
| a) Length  8 mm |  |
| b) Width  8 mm | Interior Grade (Gr.II) : These particle |
| c) Thickness | boards shall not disintegrate and / or shall |
|  | notdetaminate after 24 hrs. immersion in |
| i) Boards upto and including 25mm thick  | water at 27%  2‘C. |
| 5.0%] | Swelling water : Swelling in thickness in |
| ii) Boards above 25mm thick  2.5%. | % of original thickness for 2 hrs. |
|  | immersion shall be determined and the |
| Edges of the board shall be straight with a | same shall not be more than 5%. |
| tolerance of 3 mm. the persistent ring of | The Swelling in thickness due to surface |
| condensed water in the rate of distillation by a | absorption in two hours shall not be more |
| few drops per second. | than 5%. |

SECTION 5

TECHNICAL SPECIFICATIONS

SPECIFICATIONS OF CIVIL WORKS

- GENERAL :

- Without forgoing the requirements of the Conditions of Tender and the Conditions of

Contract the works in general shall confirm to the ―Latest Specifications‖ published by CPWD, New Delhi and the ―Specifications for Works‖ stated in this tender. In case ofitems not covered by the General Specifications referred above, reference shall be made to the appropriate I.S. Code. If there is any difference in the particular specifications of individual item of work and the description of item as given in the Schedule of Quantity, the latter shall prevail. In case of any work for which there is no specification in I.S. Specifications or in the specifications forming part of tender documents or in case there is any variation, such work shall be carried out in all respects in accordance with the instructions to be issued by the Architects. The term Department shall mean the Employer. Any reference to ISI shall also mean reference to its successor Bureau of Indian Standards. All corrections to ―Latest Specifications‖ or revisions of I. S. shall be deemed to apply to this contract.

- Materials bearing ISI certification mark shall be given highest preference for use in the works.

- Where the Contractor is required to do, perform, execute (etc.) any work or service or the like, it shall be deemed to be at his own cost. Absence of terms providing supplying, installing, fixing, etc. shall not even remotely entitle the Contractor to any additional payment thereof.

- The rates accepted in the Schedule of Quantities apply to all floors, heights, depths, leads, lifts, spans, sizes, shapes, locations, etc. unless a distinction has been included in the very Schedule.

- The Specifications and the Schedules may have been divided into various sub-heads for convenience only. This does not limit applicability of one to the other nor it absolves the Contractor of his responsibility to complete any trade/item of work as reasonably inferred from one or more of such sub-heads.

- The Schedule of Quantities is not necessarily based on ―Schedule of Rates – Delhi2013 or any of its later/earlier versions. Hence the Schedule of Quantities shall be read and construed according to explanations given herein and intentions gathered therefrom. A mere parallel drawn from the said Schedule of Rates shall therefore not form a basis for a variation and, or additional payment.

- All work under this contract is deemed to be performed above subsoil water level. However, removal of water collected from rains and the like shall be treated as part of contractual risk/obligation.

- Screws, bolts, nuts, washers, hold fasts, lugs, anchors, clamps, plugs, suspenders, brackets, straps and fasteners of the like are deemed to be included in the rates of various items unless the Schedule of Quantities expressed a different intention.

- Resetting any displacements, making good holes/chases and such other incidental jobs are included in rates of respective items for which these are required.

- The specifications given in the BOQ are for work to be done, item to be supplied and materials to be used in the works as shown and defined on the drawings and described herein, to the satisfaction of the banks/architects.

- The workmanship is to be the best possible and of a high standard. The contractor shall take all steps immediately to make up deficiency if any by the banks / architects. Use must be made of special tradesman in all aspects of the work and allowance must be made in the rates for the same.

- The materials to be provided by the contractor shall be in accordance with the samples already got approved from the banks/architects by the contractor and in conformity with specifications and approved list called upon to do so by the banks / architects.

- Samples of all materials are to be submitted to the banks / architects for their approval before the contractor orders of deliver the material to the site. Samples together with their packing are to be provided free of charge by the contractor and should any materials be rejected they will be removed from the site at the contractor‘s expense. All samples will be required to submit specimen finishes of colors, fabrics etc. for the approval of the banks / architects before proceeding with the work.

- The contractor shall be responsible for providing and maintaining temporary overages required for the protection of finished work. He is also to clean out all wood shavings, cut ends and other waste from all parts of the works before coverings or infillings are constructed.

- The contractor shall maintain uniform quality and consistency in workmanship throughout the execution of the work.

1.0 Plastic Emulsion Paint:

Plastic emulsion paint shall be of approved manufacturer and shall generally confirm to IS-5411 (Part-I)-1969.

The colour and shade of the emulsion shall be got approved by the Architect. Double scaffolding shall be used,ladden if used shall be tied with old gunny bags at top to prevent damage or scratches to the walls. The instructions of the manufacturer shall be followed, in application of priming and finishing coats. Turpentine or any other solvent shall not be used for thinning the paint.

Minimum 3 coats of paint shall be applied inclusive of primer coat. If a proper and even surface is not obtained to the satisfaction of the Architects in 3 coats, Contract shall carry out additional coats of painting to approval at his expenses. Care shall be taken that dust or other foreign material does not settle or disfigure the various coats. The measurement shall be in square metre.

2.0      PAVING AND TILE WORK

The work mentioned in this section shall be measured in square meter and shall be priced per unit of square meter. In all paving work, the slabs shall be touching the walls and go well under the plaster, but the measurements shall be the clear measurements of the rooms or areas finished. No allowance shall bemade for portions going under the plaster.

SPECIFICATIONS FOR SERVICES

1.0	General

1.1	The drawings for services are diagrammatic but shall be followed as closely as actual construction permits. Any deviations from the drawings shall be in conformity with architectural and structural drawings. The dimensions designated by the manufacturers shall take precedence over the drawings.

1.1	At completion of work the Contractor shall submit one set of tracings and two sets of prints of ―As-Built-Drawings‖. These drawings shall, among others, include invert levels, pipe runs, diameters, location of valves, access panels, layout of equipment, piping connections and such other information for maintenance & future extensions. Guarantees given by manufacturers shall be assigned to the Employer along with names & addresses of manufacturers, suppliers and information about spare parts.

1.2	All site test shall be carried out with prior intimation to the Bank Engineer / Architect. All defects shall be rectified and tests conducted again to the satisfaction of the Bank Engineer / Architect. In addition to the test required by the specifications, the Contractor shall also conduct tests required by the Architect and by the Municipal or other Authorities.

1.3	All work shall be executed by competent and licensed persons. The contractor shall maintain liaison with Municipal and other controlling Authorities. He shall obtain their approvals and certificates as required by the bye – laws at appropriate stages.

1.4	No cutting / chasing shall be done in load bearing structural members without prior approval of the Asstt. Engineer. Sleeves and openings shall be provided during the progress of construction in preference to cutting at later date.

1.5	The Architect may require typical mock up(s) to be installed in advance for approval.

Undamaged materials from the mock up shall be allowed to be reused in the work.

1.6	Unless otherwise described in the item CI / SCI pipes and fittings shall be a spigot and socket type.

1.7	G.I. pipe spouts shall be paid as per item of G.I. pipes (internal work). Cutting and making good is included. The free ends may be skew-cut.

1.8	Wherever use of G.I. pipes is called for the same shall  be medium class (class – B)

2.0	Materials :

2.1	The materials shall conform to the specifications and in absence thereof to Indian Standards. The products should bear the ISI Mark.

2.2	The makes of materials for use in this work are broadly approved as per list given below. The Contractor shall, however, get particular makes and samples approved before ordering:

2.3	Notwithstanding any interim or final approval the Contractor remains responsible for satisfactory performance of all fittings & fixtures. The liability of the Contractor is not limited by any approval of the make of materials.

2.4	The item rate of mirror includes extra packing piece of AC plain sheet, where required due to off set between plaster & glazed tiles surface.

3.0	Testing

3.1	The sand cast iron soil, waste and vent pipes and fittings including joints shall be tested by pumping smoke into the pipe at the lowest end.

3.2	All G.I pipes and fittings including joints shall be tested to hydraulic pressure of 6 kg / cm2 (60 meters) avoiding water hammer. The test pump having been stopped the test pressure should maintain without loss for at least half an hour. The pipes and fittings shall be tested in sections as the work of laying proceeds keeping the joints exposed for inspection during the testing.

3.3	All stone ware pipes shall be tested with water pressure of 1.5m head of water at the highest point of the section under test.

TECHNICAL SPECIFICATION FOR SANITARY & PLUMBING WORKS 2.1 Sanitary Ware& Allied Fittings:

2.1.1	General:

All sanitary fixtures and their allied fittings should be of best quality, manufactured by reputed manufacturer . These should be approved by the consultant / Engineer-in-charge before use.

2.1.2	Squatting pattern W.C. pan (Orissa Pattern Closets)

The water closets shall be of vitreous china of specified size and pattern, integral flushing rim. It shall have the flushing inlet at the back. The Orissa closets should be I.S.I marked of approved quality conforming to IS –2556.

The squatting type Indian water closets (Orissa Closet) shall be sunk in floor sloped towards the pan in a workmanship like manner. The closet shall be fixed on a proper cement concrete base of 1:3:6 proportion, taking care that the cushion is uniform and even without closet, to receive the specified thickness of the floor finishing. The joint between the closet and the PVC. Trap shall be made with W.C. ring and rubbed lubricant and shall be of leak proof.

2.1.3 Flushing Cistern:

The flushing of the Indian water closet (Orissa closet ) shall be done polystyrene high level valve less symphonic flushing cistern ( PVC low level cistern) of approved brand and quality I.S.I. marked and capacity as specified. The connection between the cistern and water closet shall be made by 32 mm diaG.I. flush pipe, made from G.I. pipe ( Light quality) or 32 mm dia. PVC pipe as specified in the tender schedule. The flush pipe with an off set should be fixed to wall using C.I. holder bat clamps. The capacity of the cistern should be 10 ltrs. As per I.S.S. the cistern shall be fixed on cast iron or rolled steel /PVC cantilever brackets ( built in type) which shall be firmly embedded screwed in the wall, with C.C. M20. the cistern shall be provided with 20mm dia PVC. Overflow pipe with fittings which shall terminate into mosquito proof coupling secured in a manner that will permit it to be readily cleaned or renewed.

2.1.4 WashHandBasin:

The wash hand basin shall be of the white vitreous china of approved quality, make and brand I.S.I. marked. It shall be one piece construction with an integral combined overflow. The size of the basin shall be as specified. Each basin shall be provided with one 15 mm diaC.P. Brass pillar Tap, 32 mm diaC.P. waste C.P. chain and rubber plug, unions, joints, C.P. Bottle trap casted PVC waste pipe complete in all respects of approved quality.

The basin shall be supported on a pair of R.S. or C.I. cantilever brackets (built in type) and embedded and fixed in wall with cement concrete, M20. these brackets shall be painted to the required shade with two coats of synthetic enamel paint over coat of priming. The waste of the basin shall discharge into a floor trap of channel through bottle traps PVC waste pipe as specified. One 32 mm diaC.P. bottle trap is to be fixed to the waste of the basin, & the outlet of the bottle trap is to be connected to the waste pipe to discharge the waste to the aforesaid floor trap. The inlet connection to the basin shall be made with 450 mm long 15mm dia heavy type P.V.C. connection pipe.

2.1.5 Standing Urinals:

The urinals shall be flat pattern lipped front basin of required dimension of the white vitreous china and one piece construction with internal flushing box, rim of an approved make and brand as specified. It shall be fixed in the position by using wood unplug embedded in the wall with screws of proper size. Each urinal shall be connected to a 40 mm dia PVC waste pipe which shall discharge into a channel or floor trap. The lip of

urinal shall be kept at 525 mm from floor level, while fixing the urinal on the wall.

Where no of urinals are fixed in a line, the distance between the center to center of each urinal shall be kept 750mm and each urinal should be separated from one to other by a partition plate. The center to center partition plates shall be kept 750 mm.

The partition plates shall be of one piece kota stone plates, cut to size or partition wall and front corners rounded. The partition parttion plates are embedded in wall with cement concrete and finished smooth. The bottom of the partition plates should be kept 500 mm above floor level and top should be kept at 1250 mm above floor level. The plates should project 600mm from wall surface. The width of the plates should be embedded inside the wall and should not be less than 100 mm. The thickness of the plates shall be minimum of 25 mm to 32 mm. Thickness of partition wall should be limited to 150 mm including smooth surface finishing.

For flushing the urinals each urinal shall be, connected with one 20 mm diaG.I. Pipe (Midium class). One end of each of this pipe 15 mm PVC connection pipe shall be inserted into the inlet of the Urinal and jointed with jute and putty where as the other end is connected either with a tee or bend with water pipe line fixed on the wall horizontal above the urinals. In each 20 mm dia flush pipe one 20 mm dia –gun-metal gate valve angle stopcock to the fixed. By opening this valve, the water will flow to the rims of urinal through the inlet pipe and flush the urinal. After flush, the valve can be closed to avoid wastage of water. One 40 mm diaP.V.C. waste pipe shall be connected to the waste of each urinal, to discharge the waste into the channel or trap. One end of this waste pipe shall be made a cup size to fit into the projected waste and tightened with screws and waste clamp.

2.1.6 Squatting Urinal Plates:

The urinal plates shall be of white glazed vitreous china with integral flusuing rim of size 450 mm x 350 mm of approved make and brand as specified. There shall be white vitreous channel with stop and outlet pieces in the front. These plates shall be fixed on C.C. at 75 mm to 100 mm above floor level.

For flushing arrangement, one 25 mm diaG.I. common water pipeline(minimum s9ze) shall be fixed on the wall parallel to floor. For each urinal one 20mm dia. G.I. Branch pipe shall be taken down upto 12mm from floor level just at the center of each plate, in which one 20 mm dia gate valves is fixed at 1500 mm above floor level. At 1200m height, the 20mm dia flash pipe shall be divided into two branches with a tee and fixed horizontal. 300mm on either side and then with the help of elbows, both the branches shall be taken downward and connected to the inlets of the urinal plates at floor level. By operating the valve as above, the water will rush into the rims of the urinal plate and flush it.

Where there are number of urinals fixed in a line, each urinal should be separated by a partition plate fixed in the centre of two urinal plates. The centre to centre distance of the partition places shall be kept 750mm minimum.

The partition plates shall be of one piece kota stone plate, 25 mm to 52 mm thick, cut to sizes and front corners rounded. The plates are embedded in wall with cement concrete and finished smooth. The bottom of the partition plates wall shall be kept flushed to urinal top level, the top level shall be kept at 1200 mm from the urinal plate top and the projection from the wall shall be 600 mm. the width of the plate to be embedded inside the wall should not be less than 100mm.

2.2	P.V.C. (S.W.R.) AND P.V.C. (Rigid) Pipes and Fittings:

2.2.1 General

The PVC (SWR) and PVC(Rigid), soil waste and vent pipes (spigot and socket, and couples joints), shall be of make and brand as specified (under specification of materials) confirming to I.S.S., B.S.S. and DIN are to be used.

The main specification of PVC, soil and waste pipes and fittings are as below.

- Materials – unplaticised Poly vinyl Chloride (UPVC)

- Color –Grey.

- Dimensions –

  - diameter – fittings – 75mm. 110mm /63 mm and 634mm.

  - Pipes –75mm, 110mm, in lengths of 3 or 6 mtr.

- Wall thickness -   fittings – minimum 3.2 mm at any point

Pipes – as per application.

For rain water – 75mm – 1.8 to 2.2 mm

110mm – 2.5 to 3 mm

Waste and soil :- 75mm – 1.8 to 2.2 mm

110mm – 2.5 to 3 mm

Underground drainage with

Light

/ Nil traffics – 110 mm – 2.5 to 3 mm

Under ground Drainage with

Heavy traffic – 110mm –3.7 to 4.3 mm.

e)	Standards confirming to attributes

Attributes

Confirms to standard No.

I.S.

i.  fittings and wall thickness -

B.S. 4514. DIN 10531 DIN 10532,

7834 – PVC(Rigid)

ii.  Pipe wall thickness

I.S. 4985

iii.  Rubber ring

IS 5382.

iv. Fittings Dimensions

DIN 19531 I.P.V.C.

DIN19534 I (SWR)

IS –7834 PVC (Rigid)

v. Pipe dimensions

IS –4985

2.2.2  Leaving instructions and joint procedure

i.

Jointing a PVC (SWR) pipes and fittings.

Clean the outside of the pipes spigot and the inside of the sealing groove of the flitting. Apply the rubber lubricant, to the spigot end, sealing ring and pass the spigot and into the socket, containing sealing ring, until fully home. Mark the position of the socket edge with the pencil on the pipe and then withdraw the pipe from the socket by approx 10 mm towards thermal expansion gap.

ii.Fixing of the pipes and fittings on wall surface :

PVC pipes both (SWR) and (Rigid), fixed on wall surface, are to be supported by PVC pipe clips specially made for these pipes. With horizontal runs. The pipe clips should be spaced at intervals of more then 10 times the outside diameter of the pipes. In verticals of one meter to a maximum of two meters according to pipe diameter or wherever specified.

iii. Jointing of P.V.C. (Rigid) pipe fittings.

Clean the outside of the pipes and inside of the socket of a fitting or the inside of the couplers (where 2 plain ended pipes are jointed) of. Apply solvent cement solution, evenly and smoothly on the outer surface of the pipe end and inside surface of either the coupler or the socket and pass the pipe end into the socket of the fittings, up to the half depth on the end of one pipe and the outer half of the coupler should be pushed to the end other pipe and thus, both pipes are jointed.

iv. Fixing of P.V.C. pipes & fittings through holes of walls or chaja or roofs etc.

The wall / concrete slots should allow for a stress free installation, pipes and fittings to be inserted into the slots, without a cement base, have to be applied first with a thin coat of P.V.C. solvent cement, followed by sprinkling of dry sand (medium size). Allow it to dry. This process gives a sound base for cement concrete fixation, around the pipes / fittings while mending the damages.

v. Antisyphonage Pipes

All the antisyphonage pipes and fittings to be used are of 63 mm. If these are not available under the items of P.V.C. (SWR) materials, 63mm pipes and fittings, manufactured under P.V.C.(Rigid) material can be used, since the raw materials for both is same.

vi. Installation of Traps

All traps should have a minimum water seal of 60mm as per I.S. 5329 AND i.s. 2552(Part – XIII). Where anti-syphonage connection is required, the traps to be supplied and used should have a 50 mm antisyphonage vent horn on the outlet side. All the traps used with the closets, should be of the size 125mm x 110mm i.e. inlet (socket end) of 125mm and outlet (spigot end) of 110mm only.

vii. Installation of water closet

Determine the correct location of the P/S trap and set it on a firm base, relative to the floor finish by pouring concrete around on a slab. Bedding can be endured that the raps outlet is left clear of concrete. Place the W.C. connector ring to the locketed pipe of 125/110 mm R/S trap. Apply rubber lubricants on W.C. connector ring as well as outer side of water closet (connection point) and now complete the joint by pushing the W.C. to home of 125mm socket of the trap.

viii. P.V.C.(Rigid) pipes and Fittings

63mm (O.D.) P.V.C. Pipes to be used for these works either in antisyphonage system or else where, should be of ―Quick Fit‖ pipes Class 2 (4kg F/cm2), quick Fit. Pipes haveone end socketted.

The P.V.C.(rigid) fittings, such as 63 mm elbow, 63 mm equal tee 110 x 63 mm reducer etc. used in the work, should be of injection moulded fittings.

- One jointing rubber ring will be available, with each P.V.C.(SWR) pipe and fitting and hence, the cost of the ring will not be added in the joint.

All pipes shall be measured net / length as laid or fixed and shall be measured over all fittings such as bends junctions traps etc. the length shall be taken along the centerline of the pipes and fittings. Fittings will be counted extra over.

x. Fore fixing and painting, the pipe shall be tested hydraulically to a pressure 0.4Kg/cm2 for pipes under I.S. 1729 and at a pressure 0.7 Kg. Cm2 for pipes under I.S. 3989 with out showing any sign of leakage, sweating of or other defect of any kind. The pressure should be applied internally and shall be maintained for not less than 15 seconds.

2.3	WATER SUPPLY PIPES AND FITTINGS

2.3.1	Materials

P.V.C pipes of approved quality conforming to IS 1239& bearing ISI Marks, manufactured by reputed firms and approved brands as specified.

2.3.2	Laying of Pipes.

The layout of the mains and service pipe set etc. will be done in accordance with the drawings. The contractor is to mark out the exact position of the pipes and fittings at site and take approval of the consultant / Engineer in –charge, before taking up the work.

Where the pipes are laid, underground these must not be laid less than 450 mm below ground level and coated with one coat of approved black bituminous paint. For laying the G.I. Pipes and Fittings below ground level, the width and the depth of the trenches

for different dimensions of the pipes shall be given as below :

| Dia of pipe | Width of Trench | Depth of Trench |
| --- | --- | --- |
| 15mm to 50 mm | 300 mm | 600mm |
| 65mm to 100 mm | 450mm | 750mm |

The pipes shall be laid on a layer of 75 mm thick sand and filled up with sand and filled up with sand up to 75 mm above pipes and the remaining portion of the trench shall then be filled up with excavated earth with proper ramming as described in ―Excavation and refilling ―. The surplus earth shall be disposed of as directed.

Thrust or anchor blocks of cement concrete !:2:4 in hard granite chips shall be constructed on all `bends or branches to transmit the hydraulic pressure without impairing the ground and spreading it over a sufficient area. Pipes shall not be laid to pass through manholes, catch pit, drain. Where it is unavoidable the pipes shall be carried in sleeve pipes of M.S. / G.I. as approved by the consultant / Engineer-in-charge. The rates should include such a situation.

- Where pipes run along walls, the same are to be fixed to the wall with holder bat clamps /M.S. Hooks as below:

| Dia of pipe in mm | 15 | 20 | 25 | 32 | 40 | 50 |
| --- | --- | --- | --- | --- | --- | --- |
| Horizontal Line | 2m | 2.5m | 2.50m | 2.503m | 3m | 3m |
| Vertical Line | 2.5m | 3m | 3m | 3m | 3.5m | 3.5m |

Where the pipes are passing through the R.C.C. /Masonry wall / Column / beam of Pillars, these must pass through the appropriate higher sizes of C.I. / G.I. Sleeve Pipes and are to be included in the rates.

In case the Pipes are embedded in walls and floors it should be painted with one coat of anticorrosive paint of approved quality.

All pipes should be fixed horizontal and vertical. For taking the pipes through the walls and floors and roof slabs etc. the holes shall be made by filling with Chisel or jumper and not by dismantling the brick work of concrete. After fixing, the holes shall be made god with cement concrete 1:2:4 and properly finished with C. Plaster 1:4 to match the adjacent surface.

Union Nuts are to be provided in each of the Vertical riser or drop on and from G.I.

Tank and near the Valve and as and where necessary.

The long screw fittings of 3 Mtrs. For long horizontal lines and inside the lavatory / kitchen etc.,

After laying and jointing the Pipes and fittings shall be inspected under working condition of pressure and flow. Any joint found leaking pipes should be removed and replaced without extra cost. The pipes and fittings after they are laid shall be tested to hydraulic pressure of 6 Kg. Cm2. the test pressure should maintain without loss of for atleast half an hour.

2.3.3 Painting

On completion of the test, the exposed pipes and fittings are to be painted with two coats of synthetic enamel paint of approved colour and brand over a coat of priming.

Measurement

The length shall be measured in running meter correct to centimeter for the finished work, which shall include the pipes and fittings such as Bends, Tees, Elbows etc., but excludes Brass of Gun-metal fixture like Tap, Cocks, Valves, PVC connection Pipes etc.

2.3.4 Ball Valve

The ball valve shall be high class and shall confirm to I:S 1703. The nominal size of ball valve shall be that corresponding to the size of pipe for which it is used. The ball valve shall be of brass of gun-metal and the float for low pressure in Polyethylene and for high pressure in copper.

Each and every ball valve while in closed position shall withstand an internally applied hydraulic pressure of 20 kg /Cm2 for a minimum period of two minutes without leakage or sweating.

Every high pressure ball valve when assemble in working condition, with the float immersed to not more than half its volume shall remain closed against a test pressure of 10.5 Kg. /Cm2.

Polyethylene floats shall be watertight and non-absorbent and shall not contaminate water and with no jointing adhesive jointing parts.

The minimum thickness of the copper sheet used for making copper floats shall be of 0.45 mm. The thickness of materials of the float shall be uniform throughout.

2.3.5 Ferule:

The ferrules for connection with C.I. Main shall generally confirm to I.S 2692 and shall be of nominal bore as specified. The ferrule shall be fitted with 3 screw and plug or value capable or complete cutting off the supply to the connected pipe as and when required. For fixing the ferrule the C.I. main shall be drilled and tapped during non-supply hour at 45o to the connected pipe as and when required. The ferrule must be so fitted that no portion of the sunk shall be left projecting with in the main on which it is fitted. After the ferrule is connected, one C.I. bell mouth cover or with bricks ( as specified) shall be kept over the ferrule to cover the ferrule to protect it and the cost thereof is to be included in the item, even if there is not mention.

2.3.6 Non – return Valve (Check Valves)

The Non-return valve shall be of Brass or Gun-Metal and shall be of horizontal or vertical flow type and of the size as specified and confirm to I:S 7810 and I:S 778. The approximate weight of the valves are given below:

| Dia in mm |  | Horizontal type in Kg. |  | Vertical type in Kg. |
| --- | --- | --- | --- | --- |
| 15 | 0.30 |  | 0.25 |  |
| 20 | 0.55 |  | 0.25 |  |
| 25 | 0.90 |  | 0.75 |  |
| 32 | 1.25 |  | 0.90 |  |
| 40 | 1.70 |  | 1.20 |  |
| 50 | 2.90 |  | 1.45 |  |
| 65 | 5.25 |  | 2.15 |  |
| 80 | 7.70 |  | 4.10 |  |
|  |  | Tolerance 5% |  |  |

2.3.7 Foot Valve

Foot valve is generally placed at the lower and of the suction pipe of the centrifugal pump to prevent the suction pipe from empting. Vertical non-return valve may also be fixed in place of foot valve.

The foot valve shall confirm to IS: 038.

2.3.8 Water meters (Domestic Type)

Water meter up to 50mmm nominal size shall confirm to I:S 779. The meter body shall be bronze / Gun-Metal and marked to read in liters complete with registration box and lid. The water meters shall be provided with Strainers. Strainers shall be of material which is not

susceptible to electrolyte, clean and shall be fitted on the inlet side of water meter. It shall be possible to remove and clean the strainer and not permit disturbing the registration box. The offer should include the same. The water meters shall bear ISI Mark.

2.3.9 Bibcock and Stop Cock

These shall conform to I:S 781 bear ISI Mark. The Bib cock is a draw off tap with a horizontal inlet and free outlet and stopcock is a valve with a suitable means of connection for insertion in a pipeline for controlling or stopping the flow. This shall be of screw down type. The cocks shall open in anti-clockwise direction. The stopcocks should be C.P. concealed stopcocks and C.P. angle valves type as specified in tender schedule. Bib cocks should be also C.P. Brass hid cocks.

2.3.10 Full way Valve (Brass)

Full way valve is a valve with suitable means of connection for insertion in a pipeline for controlling or stepping the flow. The valve shall be of brass fitted with a cast-iron wheel and shall be of gate valve type confirming to I:S 780 brass rod latest one, opening full way and of the size as specified.

The approximate weight of the valves are indicated below for guidance.

| Dia in mm |  | Flanged End valves in Kg. |  | Screwed End valve in Kg. |
| --- | --- | --- | --- | --- |
| 15 |  | 1.021 |  | 0.567 |
| 20 |  | 1.503 | 0.680 |  |
| 25 |  | 2.498 | 1.077 |  |
| 32 |  | 5.232 | 1.559 |  |
| 40 |  | 6.082 | 2.268 |  |
| 50 |  | 6.691 | 3.232 |  |
| 65 |  | 10.149 | 6.840 |  |
| 80 |  | 13.381 | 8.845 |  |

2.3.11 Gun-Metal Full way Valve

This shall be of the Gun-Metal fitted with wheel and shall be of Gate-Valve type opening full way. This shall confirm to I:S 778. Class I. The valves should bear I.S.I. Mark.

2.4 TECHNICAL SPECIFICATION FOR STONE WARE PIPE ETC.

2.4.1 Stone ware pipes (Materials)

The S.W. Pipes and Fittings should be of Grade ‗A‘ confirming to I :S 651/1965. The pipes shall be sound free from visible defects such as fire crack or hair crack and flaw or blister. The pipes shall give a sharp clear line when struck with a light hammer and should be perfectly salt glazed.

| Pipe in mm. | Thickness of the |  | Weight of Each |  |  |
| --- | --- | --- | --- | --- | --- |
| ___________ | Barrel in mm. |  | Pipe in Kg. |  |  |
| 100 | 12 |  | 14 |  |  |
| 150 | 16 |  | 22 |  |  |
| 200 | 17 |  | 33 |  |  |
| 230 | 19 |  | 44 |  |  |
| 250 | 20 |  | 52 |  |  |
| 300 | 25 |  | 79 |  |  |
| 350 | 30 |  | 100 |  |  |
| 400 | 35 |  | 125 |  |  |

450 38 147 The length of pipes are 600 mm exclusive of the internal depth of Socket.

2.4.2 Excavation of Trench for Laying Sewer Pipes:

The trenches for the pipes shall be excavated to the lines and level as directed. The bed of the trench shall have to be evenly dressed throughout from one change of grade to the next. The gradient is to stout by means of sight rails and booing rods and the required depth the excavated at any point. The depth of the trench shall not be less than one meter, measured from top of the pipe to the surface of the ground under roads and not less than 0.75 mtr. elsewhere. The width of the trench shall be the nominal diameter of the pipe plus 400 mm. The bed of the trench if in soft or made up earth, shall be well watered and rammed before laying the pipes and the depressions if any shall be properly filled with sand and consolidated in 200 mm layer. Depending on soil condition piling way even be necessary if so desired by the consultant / Engineer-in-charge. If rock is met with, it shall be removed 150 mm below the level of the pipe and the trench will be refilled with sand and consolidated.

The excavated materials shall not be placed within one mtr. Or half of the depth of the trench which ever is greater, from the edge of the trench.

The trench shall be kept from water, shoring and shuttering shall be provided wherever required. Excavation below water table shall be done after dewatering the trenches.

After the excavation of the trench is completed foundation of cement concrete M20 in hard granite metal ( size 25 to 40 mm) shall be laid with proper level all along under the length of the pipe with hunching or all around concrete as per drawing.

Laying, jointing, hunching of the pipes and fittings. Drain Pipes( S.W. Pipes and other pipes used for drain and sewer) shall be laid in straight lines and to the even gradients as shown in the layout drawings.

The socket end of the pipes shall face upstream. Adequate care shall be exercised in setting out and determining the level of the pipes and the Contractor shall provide suitable instruments, templates, sight rails, boning rods and other equipments necessary for the purpose. In the case of pipes with joints to be made with loose collars. The collars shall be slipped on before the next pipe is laid. In those joints a tight ring of twisted jute tarred soaked in cement slurry filling to ensure proper alignment and prevent. Cement entering the pipes. Cement compound joints is to be finished with proportion 1:1 with 450 beveling. The joints are to be kept wet with wet bag until the same are properly set with beveling. The cement mortar joints shall be cured at least for 7 (seven) days.

In the case of S.W. Pipe joints (socket and Spigot), they should be caulked first with tarred jute (spun) of required diameter, almost quarter depth of the socket, after which cement mortar 1:3 is pushed in with wooden chisel and finishing beveled at outside at 450. Instead of jute of hemp rubber gasket of proper size may also be used. The whole joint must be cured for not less than three days. In case of pipes less than 250 mm dia, joints should be made at ground level with three pipes at a time and for larger ones two pipes at a time and after curing they should be soled in foundation with the help of the ropes. All pipes should be properly hunched with cement concrete 1:3:6 with hard granite metal of size 25 mm to 40

- or otherwise specified as shown in the drawing. Where the pipes are crossing the drain or road, all –round concrete 1:3:6 with H.G. Metal of size 25 mm to 40 mm is to be done to 150 mm thick over the barrel of the pipe.

The whole of the drain work shall be tested when laid, and at the completion of the contract, to the satisfaction of the consultant / Engineer-in-charge and shall be retested if necessary, until found satisfactory. The test shall be made by means of water under pressure at the highest point of the section under test and providing an air pipe at the lower end of the line. Maximum head of 5 )five) feet (1.5 Mtr ) must be maintained.

2.4.3 Excavation and refilling

Excavation for drain and pipe trenches shall be straight and to the correct depth and gradient. The trench bottom shall be of sufficient width to allow working space for pipe jointing.

Excavated materials shall be damped away from the side as directed by Engineer-in-charge. Suitable precautions are to be taken to prevent inflow of water into the excavated area, during construction.

The Contractor at his own expense shall pump out or otherwise remove any or all water, which during the continuance of contract, may be found in the excavated trenches to keep the trench clear of water during the work under progress.

No excavation for pipe line shall be filled and line covered, until the line therein has been passed and tested.

2.4.4 Burried Services

All pipes, cable mains and other services exposed by the excavations shall be effectively supported by timbering or other means for which no extra payment will be allowed. The Contractor shall be responsible for any damage occurring to buried services and make good the same at his own cost to the satisfaction of the Consultant / Engineer-in-charge.

2.4.5 Trench condition

Where a trench is excavated and refilled after laying the pipe, settlement of the earth in the refilled trench take place. The filling above the top of pipe, settles relatively, more than the sides of the trench, thereby developing frictional resistance. The contractor is required to take special precaution against this while refilling the trenches, procedure for back filling as stipulated earlier should be strictly followed.

2.4.6 Inspection chambers / Manholes

At every change of alignment, gradient or diameter of a drain, there shall be a manhole or inspection chamber. The maximum distance between Manhole Chamber shall be 30 Mtrs. For the lines laid straight.

All Manholes and inspection chambers shall have internal dimensions as shown on drawing and B.O.S. the depth of invert shall be according to the gradient.

The foundation for Manhole shall be 150 mm thick and with cement concrete M20 in hard granite well graded metal of 25 mm to 40 mm size. The concrete shall project 75 mm beyond the external faces of the brick work.

The brick masonry shall be done in cement mortar in the proportion of 1:4 and thickness of the brick wall should be 250 mm thick upto 1200 mm depth from Ground Level and beyond that the wall thickness shall be maintained 375 mm. Both the inside and outside surface of the walls of the chamber, shall be finished with cement plaster 1:4 – In addition to this, the inside surface should also be provided with cement punning.

On the top of base slab channeling on C.C. M20 with granite chips is to be done keeping the diameter equal to the dia of drain pipe and depth equal to ¼th of the dia of the pipe. The channel, should be done longitudinally at the center, connecting both the ends of the pipe. The channel is to be hunched up with concrete M20 with hard granite chips of size 20 mm and below) sloping upwards from the edge of channel to meet the side of chamber at gradient of 1:6. The channel and benching are to be finished smooth and cement mortar 1:4 and punning.

Sewers of un-equal sectional area and branch sewers shall not be jointed at the same invert in a Manhole inspection chamber unless it is unavoidable. The branch sewers should deliver sewage in the Manhole in the direction of main flow and the junction must be made with case so that the flow in the main is not impeded. Channels for drains coming from the side of the Manhole chamber, shall be curved to meet the main drainage channels.

The Manhole and Inspection Chambers shall be covered with R.C.C. cover slab or thickness 100 mm to 150 mm according to the requirement at site. One C.I. Manhole cover of diameter and weight as stipulated in the tender schedule shall be fixed, on the cover slab. Unless otherwise mentioned the C.I. cover and Frames and shall confirm to I:S 1726. Heavy duty covers etc., under heavy vehicular traffic condition and capable of bearing wheel loads up to 11.25 Tor are to be used and medium duty under light type wheel traffic loads and light duty for domestic premises are to be used. Covers and Frames shall be clearly cast, double water seal type and they shall be free from air and sand holes. The cover shall be gas

tight and water tight with proper water-seal. The C.I. Cover and Frame shall be coated with two coats of black bituminous paint. The frame of Manhole cover shall be fixed on the slab while the slab is casted.

2.4.7 Gully Trap chamber

The size of Chamber for 1500 x 100 mm S.W. Yard gully shall be 300 x 300 mm (inside). Foundation 100 mm thick in cement concrete m20 in hard granite metal of size 25 mm to 40

- The foundation should project 75 mm, from outer surface of wall. Brick work in cement mortar 1 :4 /125 mm thick, depth upto 600 mm maximum. The finishing of masonry walls both inside and outside should be done in cement mortar 1:4 Cement punning should be provided on the inner surface. One C.I. frame and cover of (Clear Opening 300 x 300 mm wt. 7 kg. ) shall be fixed on the top of Chamber, duly embedded in C.C. 1:2:4 with granite chips and finished with Cement Plaster 1:4. The trap should be buried in cement concrete M20 in H.G. Chips upto the mouth and one C.I. Grating of size 225 mm X 225 mm are to be fixed on the top of mouth of Gully Trap to arrest rubbishes.

List of Approved Makes/Brands for Material

The contractor shall quote for the best of the materials specified below with ISI mark wherever applicable. The contractor shall obtain prior approval from the Bank / Architect before placing order for the specific materials agencies, in case of non-availability of any of the approved/specified materials/agency. During the execution of the work, the Bank /Architect may approve suitable equivalent brand/agency and his decision shall be final and binding on the contractor and the price variations. If any shall be adjusted accordingly.

|  | S.No | Materials |  |  |  |  |  | Manufacturers |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1. | Grey Cement (43 or 53 Grade) |  |  |  |  |  | A.C.C, Ultratech, AMBUJA, |  |
|  |  | White Cement Putty |  |  |  |  |  | Birla White, J.K. |  |
|  |  |  |  |  |  |  |  | Birla White Putty |  |
|  | 2. | Steel |  | (Thermo |  | Mechanically |  | TATA, SAIL, RATHI |  |
|  |  | Treated |  | Steel) |  | High strength |  | or equivalent |  |
|  |  | deformed bars or mild steel |  |  |  |  |  |  |  |
|  | 3 | Bricks |  |  |  |  |  | Good quality locally available material approved |  |
|  |  |  |  |  |  |  |  | by Engineer / Architect |  |
|  | 4 | Flush Door Shutters |  |  |  |  |  | Century / Anchor / Kutty / Marino / Duro |  |
|  | 5 | Stainless steel fire check doors |  |  |  |  |  | Super steel |  |
|  | 6 | Water |  | proofing |  | material/ |  | SIKKA / CICO-I / Roff / STP or equivalent |  |
|  |  | compound. |  |  |  |  |  |  |  |
|  | 7 | Glazed Tiles |  |  |  |  |  | RAK / Kajaria / H R Johnson / Somany or |  |
|  |  |  |  |  |  |  |  | equivalent |  |
|  | 8 | Ceramic Tiles (Non-Skid) |  |  |  |  |  | RAK / Kajaria / H R Johnson / Somany or |  |
|  |  |  |  |  |  |  |  | equivalent |  |
|  | 9 | Vitrified Tiles |  |  |  |  |  | RAK / Kajaria / H R Johnson / Somany or |  |
|  |  |  |  |  |  |  |  | equivalent |  |
|  | 10 | Acrylic |  | emulsion |  | Asian Paint |  | Jonson &Nicholsan / Burger / Nerolac / ICI / or |  |
|  |  | (water based) |  |  |  |  |  | equivalent |  |
| 11 |  | Toilet partition |  |  |  |  |  | Marino / Greenlam or equivalent |  |
| 12 |  | Toilet Accessories |  |  |  |  |  | EURONICS OR EQUIVALENT |  |
| 13 |  | Hardeners |  |  |  |  |  | “Ironite” or equivalent. |  |
| 14 |  | Red Oxide |  |  |  |  |  | “Asian” or equivalent. |  |
| 15 |  | Waterproof cement paint |  |  |  |  |  | Snocem India, Nerolac, Nitcocem or equivalent. |  |
| 16 |  | Glazing |  |  |  |  |  | Asai / SantGobian, Emirates |  |
| 17 |  | Water | seal |  | (Epoxy-sterarate) |  |  | As approved by Architect / Engineer |  |
|  |  | compound. |  |  |  |  |  |  |  |
| 18 |  | Fiber-board in lieu of partitions |  |  |  |  |  | NUWOOD, MANGALAM or equivalent |  |
|  |  | panelled doors and flush doors. |  |  |  |  |  |  |  |
| 19 |  | Screws |  |  |  |  |  | GKM / mettle fold or equivalent |  |
| 20 |  | Hinges stainless steel |  |  |  |  |  | Hettich, Dorma, GEZE or Equivalent |  |
| 21 |  | Drawer sliding fitting |  |  |  |  |  | Hettich |  |
| 22 |  | Hardware |  |  |  |  |  | Dline / Hetich / Dorma |  |
| 23 |  | Ball Catch |  |  |  |  |  | Magnetic (M-2) / Brass or equivalent |  |
| 24 |  | 8, 10, 12& 18 mm thick MDF/ HDF |  |  |  |  |  | GREENPLY/ VENTURA |  |
|  |  | Board |  |  |  |  |  |  |  |
| 25 |  | Polyurethane foam |  |  |  |  |  | „U‟ foam or equivalent |  |

NOTE: Above makes of equipment are approved subject to their meeting the specifications. The contractor however shall seek approval of specific make from Consultant before commencing the work. The decision of Consultant shall be final & binding on the contractor in their respect.

LIST OF APPROVED MAKES OF SANITARY AND PLUMBING MATERIALS

| SL. | MATERIALS |  | BRAND NAME |
| --- | --- | --- | --- |
| NO. |  |  |  |
| 1. | SOIL, WASTE & RAIN WATER |  |  |
|  | PIPES |  |  |
|  | & FITTINGS |  |  |
| A) | CAST IRON PIPES |  | RIF / SRIF / KAJEEO (IS: 3989) |
| 2 | U.P.V.C |  | FINOLEX / SUPREME / PRINCE |
| 3 | P.V.C. PIPE |  | PRAKASH / JINDAL |
| 4 | GUN METAL VALVES |  | ZOLOTO/LEADER |
|  | (FULLWAY, CHECK AND GLOBE |  |  |
|  | VALVES) |  |  |
| 5 | G.I. PIPE |  | TATA / JINDAL / G.S.T. |
| 6 | G. I. FITTINGS |  | UNIK / KS |
| 7 | R.C.C PIPE |  | PRAGATI / USHA / JSP |
| 8 | C.I. MANHOLE COVER & FRAME |  | SRIF / RIF / K 11 |
| 9 | CLAMPS (GI), DASH FASTNESS, |  | CHILLY |
|  | PIPE SUPPORTS, HOLD FAST |  |  |

NOTES: -The approved makes mentioned above or equivalent makes as approved by the Architect / Engineer in Charge shall be used

All materials shall be used only after quality check / inspection / approval by architect.

MANUFACTURER AUTHORIZATION FORM

No. _____________ dated _______________

To

_______________

_______________

_______________

Dear Sir,

Bid No. ________________________

We __________________________________________ who are established and reputed

Manufacturer of ______________________________________________________ (name

and description of goods offered) having factories at  ___________________

(address of

factory)  with factory registration no. ------------------------------------------- do hereby authorize

M/s____________________________________ (Name and address of Agent) to submit a

bid, and sign the contract with you for the goods manufactured by us against the above bid.

Yours faithfully,

(Name)

(Name of manufacturers)

Note: This letter of authority should be on the letterhead of the manufacturer or OEM and should be signed by a person competent authority.

SECTION 6

FORMS OF SECURITIES

Forms of Securities

Acceptable forms of securities are annexed. Bidders should not complete the Performance and Advance Payment Security forms at this time. Only the successful Bidder will be required to provide Performance and Advance Payment Securities in accordance with one of the forms, or in a similar form acceptable to the Employer.

Annex A: Bid Security (Bank Guarantee) Annex B: Performance Bank Guarantee Annex C: Performance Bank Guarantee for Unbalanced Items Annex D: Bank Guarantee for Advance Payment

Annex A

BID SECURITY (BANK GUARANTEE)

WHEREAS, _______________________ [name of Bidder] (hereinafter called "the Bidder")

has  submitted  his  Bid  dated  _______________________  [date]  for  the  construction  of

_____________________________________  [name of  Contract]  (hereinafter  called  "the

Bid").

KNOW ALL PEOPLE by these presents that We ______________________________ [name

of  bank]  of  ____________________________  [name  of  country]  having  our  registered

office  at	___________________________________  (hereinafter  called  "the  Bank")	are

bound  unto  ______________________________[name  of  Employer]  (hereinafter	called

"the Employer") in the sum of ___________________1  for which payment well and truly to

be made to the said Employer the Bank binds itself, his successors and assigns by these presents.

SEALED with the Common Seal of the said Bank this _________ day of __________ 19____.

THE CONDITIONS of this obligation are:

- If after Bid opening the Bidder withdraws his bid during the period of Bid validity specified in the Form of Bid;

or

- If the Bidder having been notified of the acceptance of his bid by the Employer during the period of Bid validity:

- fails or refuses to execute the Form of Agreement in accordance with the Instructions to Bidders, if required; or

- fails or refuses to furnish the Performance Security, in accordance with the Instruction to Bidders; or

- does not accept the correction of the Bid Price pursuant to Clause 12;

we undertake to pay to the Employer up to the above amount upon receipt of his first written demand, without the Employer having to substantiate his demand, provided that in his demand the Employer will note that the amount claimed by him is due to him owing to the occurrence of one or any of the three conditions, specifying the occurred condition or conditions.

This Guarantee will remain in force up to and including the date ____________________2

days after the deadline for submission of Bids as such deadline is stated in the Instructions to Bidders or as it may be extended by the Employer, notice of which extension(s) to the Bank is hereby waived. Any demand in respect of this guarantee should reach the Bank not later than the above date.

DATE _______________

SIGNATURE OF THE BANK _________________________

WITNESS ____________

SEAL _______________________________________

_________________________________________________________________

[signature, name, and address]

___________________________

- The Bidder should insert the amount of the guarantee in words and figures denominated in Indian Rupees. This figure should be the same as shown in Clause 15.1 of the Instructions to Bidders.

- 45 days after the end of the validity period of the Bid.

Annex B

PERFORMANCE BANK GUARANTEE

To:	______________________________________________ [name of Employer]

_________________________________________ [address of Employer]

WHEREAS  _________________________  [name  and  address  of  Contractor]  (hereinafter

called	"the	Contractor")	has	undertaken,	in	pursuance	of	Contract	No.	_____	dated

________________  to  execute	__________________________  [name  of  Contract  and

brief description of Works] (hereinafter called "the Contract");

AND WHEREAS it has been stipulated by you in the said Contract that the Contractor shall furnish you with a Bank Guarantee by a recognized bank for the sum specified therein as security for compliance with his obligations in accordance with the Contract;

AND WHEREAS we have agreed to give the Contractor such a Bank Guarantee;

NOW THEREFORE we hereby affirm that we are the Guarantor and responsible to you, on behalf of the Contractor, up to a total of ____________________ [amount of

guarantee]1___________________________  [in  words],  such  sum  being  payable  in  the

types and proportions of currencies in which the Contract Price is payable, and we undertake to pay you, upon your first written demand and without cavil or argument, any sum or sums within the limits of ____________________ [amount of guarantee]1 as aforesaid without

your needing to prove or to show grounds or reasons for your demand for the sum specified therein.

We hereby waive the necessity of your demanding the said debt from the Contractor before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the Contract or of the Works to be performed thereunder or of any of the Contract documents which may be made between you and the Contractor shall in any way release us from any liability under this guarantee, and we hereby waive notice of any such change, addition or modification.

This guarantee shall be valid until ……… (i.e.) 28 days from the date of expiry of the Defects

Liability Period.

Signature and seal of the guarantor

Name of Bank

Address

Date

- An amount shall be inserted by the Guarantor, representing the percentage of the Contract Price specified in the Contract and denominated in Indian Rupees.

Annex C

PERFORMANCE BANK GUARANTEE (for unbalanced items)

To:	______________________________________________ [name of Employer]

_________________________________________ [address of Employer]

WHEREAS  _________________________  [name  and  address  of  Contractor]  (hereinafter

called	"the	Contractor")	has	undertaken,	in	pursuance	of	Contract	No.	_____	dated

________________  to  execute	__________________________  [name  of  Contract  and

brief description of Works] (hereinafter called "the Contract");

AND WHEREAS it has been stipulated by you in the said Contract that the Contractor shall furnish you with a Bank Guarantee by a recognized bank for the sum specified therein as security for compliance with his obligations in accordance with the Contract;

AND WHEREAS we have agreed to give the Contractor such a Bank Guarantee;

NOW THEREFORE we hereby affirm that we are the Guarantor and responsible to you, on behalf of the Contractor, up to a total of ____________________ [amount of

guarantee]1___________________________  [in  words],  such  sum  being  payable  in  the

types and proportions of currencies in which the Contract Price is payable, and we undertake to pay you, upon your first written demand and without cavil or argument, any sum or sums within the limits of ____________________ [amount of guarantee]1 as aforesaid without

your needing to prove or to show grounds or reasons for your demand for the sum specified therein.

We hereby waive the necessity of your demanding the said debt from the Contractor before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the Contract or of the Works to be performed thereunder or of any of the Contract documents which may be made between you and the Contractor shall in any way release us from any liability under this guarantee, and we hereby waive notice of any such change, addition or modification.

This guarantee shall be valid until …….. (i.e.) 28 days from the date of issue of the certificate

of completion of works.

Signature and seal of the guarantor

Name of Bank

Address

Date

- An amount shall be inserted by the Guarantor, representing additional security for unbalanced Bids, if any and denominated in Indian Rupees.

Annex D

BANK GUARANTEE FOR ADVANCE PAYMENT

To:	__________________________________________ [name of Employer]

__________________________________________ [address of Employer]

___________________________________________[name of Contract]

Gentlemen:

In  accordance  with  the  provisions  of  the  Conditions  of  Contract,  subclause  49.1

("Advance	Payment")	of	the	above-mentioned	Contract,

________________________________	[name	and	address	of	Contractor]	(hereinafter

called "the Contractor") shall deposit with ________________________ [name of Employer]

a bank guarantee to guarantee his proper and faithful performance under the said Clause of

the	Contract	in	an	amount	of	_____________	[amount	of

guarantee]1_________________________________ [in words].

We,	the	____________________	[bank	or	financial	institution],	as	instructed	by	the

Contractor, agree unconditionally and irrevocably to guarantee as primary obligator and not as Surety merely, the payment to ____________________ [name of Employer] on his first

demand without whatsoever right of objection on our part and without his first claim to the Contractor, in the amount not exceeding ____________________ [amount of guarantee]1

__________________________________ [in words].

We further agree that no change or addition to or other modification of the terms of the Contract or of Works to be performed thereunder or of any of the Contract documents which may be made between _____________________ [name of Employer] and the Contractor,

shall in any way release us from any liability under this guarantee, and we hereby waive notice of any such change, addition or modification.

This guarantee shall remain valid and in full effect from the date of the advance payment under the Contract until _________________________ [name of Employer] receives full

repayment of the same amount from the Contractor.

Yours truly,

Signature and seal:

Name of Bank/Financial Institution:

Address:

Date:

Part II

( B.O.Q )